APPROVED

Directorate

Directorate Chairman

Adrian-Constantin RUSU

Directorate Member				Directorate Member

Adrian –Mircea Teodorescu		Viorel Vasiu

Procedure endorsed by ANRE with

Endorsement no.

OPERATIONAL PROCEDURE

Registering, updating, withdrawing and cancelling a Balancing Responsible Party

CODE: TEL01.18.

Edition 1

Revision.0:

| No. | Data about responsibles | Name and surname | Office | Date | Signature |
| --- | --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 | 5 |
| 1.3 | Endorsed | Ion SMEEIANU | DMISS Director |  |  |
|  |  | Mihai CREMENESCU Ciprian DIACONU Eugen SANDU | Director, Operational Division Director, Metering Division OMEPA f’ Head Inspector DMI |  |  |
| 1.2 | Verified | Gheorghe Cristian VIȘAN | Director, Energy Markets Division |  |  |
| 1.1 | Drawn up | Marian OBRETIN | Head of Managed Markets Department |  |  |

Property right:

This procedure is the property of the National Power Grid Company TRANSELECTRICA SA. Reproduction and partial or total use of this document is only allowed with the written consent of TRANSELECTRICA SA.

- July 2018 -

National Power Grid Company

TRANSELECTRICA SA

AUDITU

## LISTA DE CONTROL A REVIZIILOR

2. SITUATIA EDITIILOR SI A REVIZIILOR

2. STATUS OF EDITIONS AND REVISIONS

Operational Procedure: Title: Registering, updating, withdrawing and cancelling a Balancing Responsible Party

Code TEL , edition 1, revision 0

| No. | The edition or, as the case may be, revision of the edition | Reviewed component | Mode of revision | Date which the provisions of the edition or of the revision apply by |
| --- | --- | --- | --- | --- |
| 1 | Edition 1, Revision 0 | Registering, updating, withdrawing and cancelling a Balancing Responsible Party | Initial draft | September 2018 |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

3. 	CIRCULATION LIST

Circulated document: Operational Procedure

Title: Registering, updating, withdrawing and cancelling a Balancing Responsible Party

Code TEL, edition 1, revision 0

| No. | Circulation purpose | Copy no. | Compartment | Office | Name and surname | Date of receipt | Signature |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| 3.1 | Endorsement | Original + Electronic format | ANRE | - | - | - | - |
| 3.2 | Application | Electronic format | DPE | DPE/ SPA |  | Site posting date |  |
| 3.3 | Informing | N/A |  |  |  | Site posting date | N/A |
| 3.4 | Keeping track of | original | DMISS-DMI-BMCM | IMC |  | … |  |
| 3.5 | Archiving | E1 (witness copy) | DPE/SPA | Head of department | Marian Obretin | … |  |
| 3.6 | Other purposes | - |  |  |  |  |  |

4.PURPOSE

The procedure specifies the conditions and manner of recording, updating, cancelling and withdrawing the registration for a Balancing Responsible Party.

5.APPLICATION DOMAIN

This procedure applies to CNTEE Transelectrica SA and licence holders who become active on the national power market.

6.REFERENCE DOCUMENTS

- The Law on Electricity and Natural Gas 123/2012, with later amendments and additions;

- Regulation for calculation and settlement of imbalances of the parties responsible for balancing approved by the ANRE President’s Order 31/31.01.2018, published in the Official Gazette of Romania 166 bis/22.02.2018, hereinafter referred to as the "PRE Regulation";

- Regulation on the functioning and settlement regulation of the balancing market approved by  order 31/31.01.2018 of the ANRE President, published in the Official Gazette of Romania 166bis/22.02.2018, hereinafter referred to as the "PPE Regulation";

- Order of the ANRE President no. 32/22.05.2013 regarding the approval of the Programming Regulation of Dispatchable Generation Units and Dispatchable Consumers, with later amendments and additions, hereinafter referred to as "RPUPCD";

- The Technical Code of the Electricity Transmission Network, the edition in force;

- The Electricity Measurement Code, the edition in force;

- Operational Procedure - "Establishing, Updating and Using Financial Guarantees on the Balancing Market", the current version, hereinafter referred to as "PO Guarantees";

- Operational Procedure - "Registration, Suspension, Withdrawal and Cancellation of a Participant to the Balancing Market", the current version;

- Order of ANRE President  12/2017 approving the Regulation of take-over by final suppliers of the demand facilities of the final consumer whose power suply is not insured from any other source and the modification of certain regulations in the power sector, the current version, hereinafter referred to as Take-over Regulation.

- The Framework Agreement for Taking Responsibility for Balancing, approved by ANRE, the edition in force.

- Order of ANRE President 105/2014 approving the Procedure for changing the power supplier by the final consumer and for amending the Annex to the Order 35/2010 of the President of the Romanian Energy Regulatory Authority on establishing certain rules regarding the power balancing market

- Order of ANRE President 93/2018 approving the Commercial Rules on the collection, aggregation and transmission of the power measured values

7.DEFINITIONS AND ABBREVIATIONS

For the purposes of this Procedure, the meanings of ther terms and expressions used are defined in the Law of Power and Natural Gas 123/2012, with later amendments and additions, in the Technical Code of the Electricity Transmission Network, in the Programming Regulation of generating units and dispatchable consumers, in the PPE Regulation, in the PRE Regulation and in the Electricity Measurement Code. In addition, the following terms are defined:

| No. | Phrase | Definition and/or, depending on the case, the papers that define the term |
| --- | --- | --- |
| 1 | Registered Balancing Responsible Party | PRE established by the licence holder who becomes active on the national power market and takes the financial responsibility for balancing with CNTEE Transelectrica by signing the PRE agreement. |
| 2 | Suspended Balancing Responsible Party (Suspended PRE/BRP) | Registered PRE, which takes the financial responsibility for balancing with CNTEE Transelectrica SA by transferring the assumption of financial responsibility to an active PRE. |
| 3 | Active Balancing Responsible Party (Active PRE) | registered PRE, established by a licence holder who takes the financial responsibility for balancing with CNTEE Transelectrica SA on his behalf or on his behalf and other registered PRE. |
| 4 | Withdrawing a PRE | the operation by which a Licence Holder shows the intention of not activating anymore on the national power market. |
| 5 | Cancelling a PRE | the operation by which CNTEE Transelectrica SA cancels the registration of a Licence Holder registered as a PRE from the PRE Registry. |

7.2 Abbreviations

| No. | Abreviere | What it stands for |
| --- | --- | --- |
| 1 | TEL | CNTEE Transelectrica SA |
| 2 | PRE | Balancing Responsible Party |
| 3 | OTS | Transmission System Operator |
|  | PE | Balancing Market |
| 4 | PPE | Balancing Market Participant |
| 4 | OPE | Balancing Market Operator- (distinct entity within CNTEE Transelectrica SA) |
| 5 | OMEPA | Metering Market Operator OMEPA, entity within CNTEE Transelectrica SA which is a measuring operator for measurement points in its own metering system while also aggregating the measured values ​​for the wholesale power market |
| 6 | OPCOM | Romanian Gas and Electricity Operator SA |
| 7 | ANRE | Romanian Energy Regulatory Authority |
| 8 | ODPE | Settlement operator (distinct entity within OPCOM) |
| 9 | EIC | ENTSO-E identification code |
| 10 | RPUPCD | Programming Regulation of Dispatchable Generation Units and Dispatchable Consumers |
| 11 | OR | grid operator |
| 12 | FUI | Final Supplier |
| 13 | VMA | Approved Metered Value |

8	MODE OF OPERATION

8.1 Generalities

1. Licence holders, who become active on the national power market, take responsibility for balancing with OTS for their entire generation, acquisition, import, consumption, sale and export of electricity by registering as a PRE.

2. Licence holders registered as PRE may fully transfer responsibility for the balancing to a PRE registered in the PRE Registry under the conditions of compliance with the PRE scope provided by the PRE Regulation. During the transfer period of the responsibility for balancing of the licence holder to another PRE, the PRE Agreement signed with TEL is suspended.

3. Licence holders cannot assume the responsibility for balancing through multiple PRE or transfer the responsibility for balancing to more PRE, even if they hold several types of licences, with the exceptions provided by the PRE Regulation.

  - Registering a Balancing Responsible Party

8.2.1. Licence Holders, who become active on the national power market, take contractual responsibility for balancing with OTS for their entire generation, acquisition, import, consumption, sale and export of electricity by signing the Balancing Accountability Agreement.

8.2.1.1. The existence of a signed Balancing Accountability Agreement is a prerequisite for registration of the Licence Holder as a PRE.

8.2.1.2. With the transfer of responsibility for balancing to another active PRE, registered in the PRE registry, the Balancing Accountability Agreement signed by the Licence Holder with TEL is suspended, with the suspension of the agreement automatically ending at the date agreed by TEL for the resumption of the responsibility for balancing on its own behalf.

8.2.1.3. The registration of a PRE in the PRE Registry is conditional upon the signing of the Balancing Accountability Agreement by the Licence Holder and TEL. Also, the Licence Holder will also sign the VMA Metering/Aggregation Agreement with OMEPA, an annex to the Balance Accountability Agreement, in accordance with item 8.2.1.1.

8.2.2 Technical, Licensing and Contract Requirements

To be registered as a Balancing Responsible Party, the Licence Holder requesting this must fulfill the following conditions:

1. have a valid licence issued by ANRE.

2. if applicable, have a transport contract concluded with TEL.

3. have concluded the VMA Metering/Aggregation Agreement with OMEPA; which will provide TEL with information on the measurement points it takes and the measuring equipment installed.

4. provide sufficient information to the measurement operators to ensure the correct measurement and aggregation of measured data according to the rules of the Electricity Measurement Code and the commercial rules for the collection, aggregation and transmission of information related to the measured values ​​of electricity.

8.2.3.  Application for EIC code allocation

1. Application for EIC code allocation

1. The applicant fills in the Application for EIC code allocation according to the template in TEL-01.18-01, available on TEL website: www.transelectrica.ro. This application is sent to OPE by fax 021 303 5630 or scanned at eic@transelectrica.ro.

2. The OPE shall fill in the Application for EIC code allocation and send it by fax/e-mail with acknowledgment of receipt, within a maximum of one working day of receipt of the request.

NOTE

The application for the EIC code allocation precedes the preparation of the PRE Registration Application and the required documentation, the EIC code being required  when filling in the forementioned application forms.

8.2.4 PRE Registration Form

The Licence Holder who becomes active on the national power market must request in writing to TEL the registration as a PRE. Thus, the Licence Holder who applies fills in the PRE Registration Form on the Romanian Wholesale Power Market, according to the template in TEL 01.18-02, also available on TEL website at https://www.transelectrica.ro/web/tel/piata-de-echilibrare.

8.2.5. Required documentation for registering as PRE

The applicant shall fill in and sign the following:

- Contact details, TEL-01.18-04 Form

This appendix will mention:

- the name and contact details of the persons responsible for notifications in the PE platform, authorised to act on behalf of the applicant,

- contact details of persons authorised to act on behalf of the applicant for the commercial implementation of the PRE Agreement;

- Generation forecast/consumption forecast, TEL 01.18-05 Form

This appendix will mention:

- Installed capacities of each generating unit that the applicant exploits;

- Installed capacities of each generating unit for which it takes the responsibility of balancing;

- Estimated generation/consumption values for one calendar year.

3.  Copy of the licence, including its associated conditions;

4.  Copy of the list of measurement points, document signed by the Distribution Operator (only if the PRE has generation/consumption)

5.  Copy of the Tax Registration Certificate;

6.  Present in original the proof of depositing the Financial Guarantee requested by TEL, according to the Operational Procedure: "Establishing, updating and using Financial Guarantees on the Balancing Market", in case it will act as an active PRE;

7. Will electronically send the registration template of the PRE to the e-mail address comercial.piata.echilibrare@transelectrica.ro according to the TEL 0.1.18-08 form.

8.  It will transmit the original Balancing Accountability Agreement downloaded from the website www.transelectrica.ro, signed in two copies (one for TEL and one for PRE).

IMPORTANT

If the applicant holds a manufacturer's licence and owns Dispatchable Units/Dispatchable Consumption Units, he must also be registered as a Balancing Market Participant, following the provisions of the Operational Procedure "Registration, Suspension, Withdrawal and Cancellation of a Balancing Market Participant", the edition in force.

8.2.6. Sending the application for registration as PRE and the required documentation

- The filled in application form, including the attached documentation, may be sent by post/courier and may also be delivered to the TEL registry at least 5 working days before the date specified in the application for registration as PRE.

- Additional information may be requested from TEL, at:

- e-mail address comercial.piata.echilibrare@transelectrica.ro,

- fax. 021.3035847,

- phone numbers: 021 303 5806, 021 303 5732,021 303 5723.

8.2.7.	Checking the application and documentation for registering a PRE

- TEL checks the data submitted by the applicant and sets, within 2 working days of receipt of the request, the amount of the initial financial guarantee to be provided by the applicant and informs the applicant of its amount.

- In the event of missing or insufficient information, TEL shall send to the applicant a notification to fill in the documentation submitted. The deadline for approval of the registration form will be extended by 2 working days from receipt of missing information by TEL.

- TEL will verify if the applicant has transferred the responsibility for balancing to another actively registered PRE or if it’s already transferred.

8.2.8	Completing the registration process of a PRE

- If the applicant has timely and accurately submitted all the necessary data and information, TEL shall approve the registration as PRE within a maximum of 5 working days of receipt of the request or the on the date specified by the applicant in the application.

- If the request was reasonably rejected due to lack of information or failure to provide the financial guarantee, TEL shall approve the registration as PRE within a maximum of 10 working days of receipt of the request, if the applicant submitted the missing or required information.

- Once approved as PRE:

  - TEL signs the Balancing Accountability Agreement with the Licence Holder who becomes active on the balancing market and submits a copy to the applicant;

  - Registers the new PRE in the PRE Registry;

  - Sends an official confirmation of the registration in the PRE Registry and informs ODPE, OD, OPE, OMEPA of the registration of the new PRE, as well as the date from which the new PRE can operate.

- TEL updates the information entered in the PRE Registry and publishes on its own website www.transelectrica.ro the PRE Registry with the date from which the new PRE can operate.

- The new PRE may exercise its rights and obligations following TEL’s approval of the request for establishment and its registration in the PRE Registry.

### Withdrawing and Cancelling the PRE registration

8.3.1	Withdrawing the PRE registration

- If a Licence Holder registered as PRE ceases to operate on the national power market, it will fill in and send the TEL 01.18-.07 form to notify TEL of his withdrawal as PRE. It will also inform all licence holders for which it has assumed the responsibility for balancing, about the withdrawal as PRE.

- PRE registration will expire after 9 working days from the request of the licence holder.

- Within one working day of receipt of the PRE withdrawal request, TEL shall announce on www.transelectrica.ro the date from which the withdrawal as PRE of the licence holder will take effect.

- In the case of withdrawal of a registered PRE, participants whose responsibility for balancing was provided by the PRE in question, may transfer responsibility for balancing to another active PRE or they can assume responsibility for balancing by activating their own suspended PRE.

- TEL sends an official confirmation of the withdrawal of the PRE and informs ODPE, OD, OPE, OMEPA of its withdrawal.

- TEL updates the information registered in the PRE Registry and publishes on its own website www.transelectrica.ro the PRE Registry, with the date from which the withdrawal of the licence holder as PRE shall take effect.

    - Cancelling the PRE registration

- TEL may decide on its own initiative to cancel a PRE by canceling its registration in PRE Registry for the following reasons:

- the licence holder failed to increase the level of the financial guarantees to the amount requested within 9 working days from the date TEL made a request in this respect;

- the licence holder has not reduced the size of the PRE within the time limit set out in item (i), so that the financial guarantees set up are sufficient;

- PRE fails to meet any of the payment obligations specified in the PRE Agreement;

- the licence holder has not transferred within 9 business days the responsibility for balancing to another PRE that has increased its financial guarantees to the amount requested by TEL.

- the Licence Holder registered as PRE in the PRE Registry has repeatedly failed to meet the obligations arising from the PRE Regulation and/or the RPUPCD ,in case of significant and/or frequent irregularities.

- TEL has the right to cancel a PRE only after prior notification to the licence holder, 12 working days prior to commencing the cancellation procedure.

- If the reasons for cancellation subsist, after 2 working days from the prior notification, TEL will notify ODPE, all distributors in the grids where PRE had measurement points, licence holders registered as PRE and manufacturers exempt by law from the licensing obligation, who were responsible for the balancing transferred to this PRE, regarding the possibility and deadline of cancellation, and publishes on www.transelectrica.ro a reminder in this respect.

- If the reasons for cancellation have been removed before the commencement of the cancellation procedure as PRE, TEL shall immediately publish on www.transelectrica.ro an update regarding the licence holder continuining as PRE.

- If the reasons for cancellation have not been removed by the notified cancellation deadline, the next day, TEL cancels the PRE and takes the following steps:

A. not later than 09:00, it publishes on the website www.transelectrica.ro the cancellation as PRE of the licence holder;

B. TEL sends a notice on the PRE Cancellation to ODPE, OPE, OR, OMEPA;

C. TEL erases the PRE in question from the PRE Registry and publishes the updated version of the registry;

D. if applicable, TEL shall transmit to ANRE the information provided in the Take-over Regulation, in order to trigger the procedure of taking over by the final supplier of final consumer sites for which the PRE no longer fulfills the condition of financial responsibility accountability for payment of imbalances.

E. TEL requests ANRE to withdraw/suspend the licence of the cancelled participant.

6. In cases where TEL becomes aware of the bankruptcy or liquidation of the licence holder or ANRE informs TEL about the expiration/withdrawal/suspension of the licence/right of trading of the licence holder in question, the cancellation shall take effect on the date of withdrawal/suspension/expiry of the licence or the date of bankruptcy of the licence holder.

7. The cancellation of a PRE shall take effect from the day following the publication of the updated version of the PRE Registry.

8.4. Transferring balancing responsibility

8.4.1.Generalities

- A licence holder that becomes active on the national power market and registers as PRE or a licence holder with a suspended PRE Agreement, called REQUESTING PRE, may transfer responsibility for balancing to an active PRE, called RECEIVING PRE, for its own connection points or of the final consumers’, on any day of a calendar month, having the obligation to provide all the necessary information to the grid operators, the central metering operator (OMEPA) and the OPE, at least two working days before the calendar day from which the statute in question applies, subject to compliance with the PRE size specified in item 8.4.4

- REQUESTING PRE, prior to transferring the responsibility for balancing to RECEIVING PRE, must inform all licence holders with whom he/she has contractual exchanges of power and the OR involved, regarding the identity of RECEIVING PRE and the date from which he/she wishes to make the transfer, as well as any other necessary information.

- RECEIVING PRE requests the updating of the PRE outline generated by the transfer of the PRE APPLICANT, by sending to TEL the request for updating the PRE outline.

- Following the receipt by TEL of the request for transfer of responsibility for balancing transferred by RECEIVING PRE, TEL makes the following steps:

- informs the ABANDONED PRE, within two working days of receipt of the RECEIVING PRE request, that REQUESTING PRE wishes to transfer its responsibility to RECEIVING PRE;

- asks RECEIVING PRE to update the financial guarantee in accordance with the new size;

- Any registration of a PRE requesting to transfer its responsibility for balancing to an active PRE is made by updating the reference data of the PRE in question and its outline.

- TEL approves the transfer of responsibility for balancing within a maximum of 2 working days if:

    - on the date when the transfer of responsibility for balancing is applied, RECEIVING PRE is registered in the PRE Registry;

    - ABANDONED PRE confirms receipt of transfer information;

    - REQUESTING PRE, RECEIVING PRE AND ABANDONED PRE have provided the OR in areas where REQUESTING PRE has consumption/generation sites, with all the information required by them to be allocated on PRE and to be aggregated the measured values related to the measurement points of each.

- In the event that TEL does not approve the transfer of responsibility for balancing, TEL shall reasonedly inform the REQUESTING PRE, the RECEIVING PRE and the ABANDONED PRE.

If OTS’S refusal is motivated by the lack of information or the non-provision of the guarantees to the required level by RECEIVING PRE, the approval deadline specified in item (6) will be extended by 2 working days from the receipt by TEL of the missing information or until the financial guarantee requested is done and informs, without delay, REQUESTING PRE, RECEIVING PRE and ABANDONED PRE. The approval deadline specified in item (6) may not be extended to more than 9 working days.

    - Requested Documentation for the Transfer of Responsibility for Balancing

- Any licence holder registered as PRE in an active PRE may transfer responsibility for balancing from one active PRE to another.

The documentation requested by TEL in this case is the following:

ABANDONED PRE of which APPLICANT PRE withdraws, fills in and sends:

- TEL-01.18-06 form – Application for updating the active PRE reference data. The form specifies the exit from the ABANDONED PRE outline of the REQUESTING PRE (the one requesting the transfer)

RECEIVING PRE accepting REQUESTING PRE, fills in and sends:

- TEL.01.18-06 form – Application for updating the active PRE reference data. The application specifies the entry into the RECEIVING PRE outline of REQUESTING PRE (requesting the transfer).

- TEL01.18.03. form – Transfer of Responsibility for Balancing, signed by RECEIVING PRE and REQUESTING PRE, in original.

    - Confirming Transfer of Responsibillity for Balance

- After confirming the update of the Financial Guarantee by RECEIVING PRE, as requested by TEL, and after updating the VMA Metering and Aggregation Agreements concluded by each of the two PRE with OMEPA, TEL will operate the necessary changes in the PRE Registry.

- If the two PRE have timely and accurately sent all the necessary data and information, TEL agrees to update the outline of the two PRE and operates the changes in the PRE Registry with at least 2 working days before the change of status.

- At the request of the participant, TEL shall send by fax/e-mail a formal confirmation of the registration of the REQUESTING PRE in the new active PRE.

    - The PRE size needed to achieve the transfer of responsibility for balancing

- The necessary conditions regarding the PRE size in order to achieve the transfer of responsibility for balancing from Requesting PRE to Receiving PRE are as follows:

  - the annual forecast for the generation sites registered in PRE should not exceed 30% of the total net generation injected in SEN in the previous year;

  - the annual consumption forecast for the consumption sites of all consumers for which PRE has assumed the responsibility for balancing does not exceed 30% of the total SEN consumption in the previous year.

- If the Licence Holder registered as PRE does no longer meet the conditions for compliance with the PRE size specified in item 8.4.4.1, TEL shall notify PRE regarding the limitation of PRE to assume the responsibility for balancing for other licence holders and shall ask PRE to fit again within the PRE size, within a period of 6 months since the notification.

- The determination of the PRE size (DPRE) for net generation is based on the aggregate values of the information provided by the OR regarding:

a)the aggregate value of the estimated annual generation, for which PRE has assumed the responsibility for balancing; (VPextimatPRE)

b)total net generation injected into SEN in the previous year. (VPsen n-1)

    - DPRE PN= (VPextimatPRE/ VPsen n-1 ) %

Where:

DPREPN –PRE size for net generation

PextimatPRE – the aggregate value of the estimated annual generation, for which PRE has assumed the responsibility for balancing

VPsen n-1- total net generation injected into SEN in the previous year.

- The determination of the PRE size for net consumption is based on the aggregate values of the information provided by the OR regarding:

a)the aggregate value of the estimated annual consumption, for power consumers, for which PRE has assumed the responsibility for balancing;

b)SEN total net consumption in the previous year.

DPRE CN= (VCextimatPRE/ CTsen n-1) %

Where:

DPREPN –PRE size for net consumption;

VCextimatPRE - the aggregate value of the estimated annual consumption, for power consumers, for which PRE has assumed the responsibility for balancing

CTsen n-1- SEN total net consumption in the previous year

## 8.5. Exclusion from PRE

8.5.1.	In order for an active PRE to unilaterally give up the assumption of responsibility for balancing for a licence holder registered as PRE, it must do the following:

- The active PRE shall notify the licence holder registered as PRE for the exclusion decision from PRE at least 10 working days before the date on which it intends not to assume the responsibility for balancing anymore;

- The active PRE informs TEL on the same date as the exclusion notification, communicating the information related to:

- consumul de la locurile de consum ale titularului de licență,

- procurements and contractual sales;

- the level of the licence holder’s debts to PRE; if applicable;

- the date from which it doesn’t assume the responsibility for balancing anymore.

- Active PRE informs the grid operator (OR) where the licence holder has measurement points corresponding to the consumption/generation sites under its responsibility;

- Active PRE informs ANRE whether the licence holder has final consumers or not,

- Active PRE informs the other active PRE with which the licence holder had commercial exchanges notified as block exchanges, if applicable.

8.5.2.	Requested documentation for exclusion from PRE

- To exclude a licence holder registered as PRE from his outline, an active PRE should submit to TEL the TEL01.18-08 form – the Application form for updating the active PRE reference data, accompanied by the notice of ending of the representation contract and by the documents referred to in item 8.5.1, para 2.

8.5.3  The licence holder who is the subject of the exclusion is cancelled by TEL, if within 9 working days from the date of the exclusion notification from PRE, he/she does not transfer his/her responsibility to another PRE and does not have the OTS’s approval for assuming the responsibility for balancing on its own behalf. TEL also asks ANRE to activate FUI, if applicable, under the Take-Over Regulation and to take away the licence of the excluded PRE, with appropriate justification.

## 8.6 Updating PRE Reference Data

- Modification of the PRE Reference Data or of the licence holders within PRE outline for which PRE has assumed the responsibility for balancing

If any of the technical, commercial, financial, or contact data of a registered PRE has changed, PRE must immediately inform TEL in writing, by post, fax or e-mail, by forwarding the specific annex where the reference data has been changed. TEL verifies this data and confirms to PRE their acceptance if they are correct or informs PRE about rejecting the changes, including the reasons.

- If PRE has timely and accurately sent all the data and information required to be modified, TEL must update the reference data of the PRE in question at the date specified in the application or at least 2 working days prior to the date of status change, if they have timely and accurately sent all the necessary data and information.

## Administration of the PRE Registry

8.7.1	TEL draws up, fills in and updates the PRE Registry.

8.7.2.	The Registry for the Parties Responsible for Balancing will be organised in the manner to provide the necessary information on the technical and commercial data of the Parties Responsible for Balancing.

8.7.3	The PRE Registry contains, for each PRE, the following information:

- Full name;

- EIC code;

- Headquarters;

- phone number, fax, e-mail of the Licence Holder;

- date and registration number of the PRE Agreement;

- PRE identification code;

- phone number, fax, e-mail of the contact persons;

- name and contact details of the persons responsible with the notifications in the PE platform, authorised to act on behalf of the applicant;

- name, phone number, fax, e-mail of the persons authorised to act on behalf of the applicant for the commercial development of the PRE Agreement;

- EIC code and the name of the active PRE to which it has transferred the responsibility for balancing, the transfer date, if applicable;

- EIC code and the name of the suspended PRE for which it has taken the responsibility for balancing, the transfer date, if applicable;

- the grid operators (OR) where PRE has consumption/generation sites for which they take responsibility for balancing and their list.

8.7.4	TEL informs 2 days before the change of status of any licence holder on the national power market, by e-mail, ODPE, OPE, OMEPA and OR regarding the changes made in the PRE Registry;

8.7.5	TEL shall make available to all participants on the national power market information from the PRE Registry, the registration of a new PRE or any modification within the PRE Registry by publishing it on the website www.translectrica.ro at https://www.transelectrica.ro/web/tel/piata-de-echilibrare.

8.7.6	Any registered PRE has the right to consult the PRE Registry and to request the correction of any inaccuracies concerning it.

8.8.	Appeal

- Differences that may arise in registering, withdrawing or cancelling the parties responsible for balancing are settled by the Competent Authority.

8.9.	Transitional provisions

- Licence holders who, at the date of coming into force of the PRE Regulation, have transferred the responsibility for balancing to a registered PRE, but are not themselves registered as PRE, must take the steps for registration as PRE until 01.03.2019.

- During the period 01.09.2018 – 01.03.2019, any transfer of responsibility for balancing of the licence holders who did not take the registration steps as PRE, will be made with the prior registration as PRE.

- RESPONSIBILITIES

9.1. Licence Holders

9.1.1. They register as PRE in order to activate on the national power market, to take financial responsibility for the impact of their actions on the power market.

9.1.2.  The legal representative of the Licence Holder wishing to register as PRE to operate on the national power market:

- calls for the allocation of the EIC code to OPE in the absence of such a code;

- signs the VMA Metering/Aggregation Agreement with OMEPA and updates it as necessary;

- designates the person(s) who will prepare the Application for Registration, the Update of Reference Data, the Withdrawal, the Transfer of Responsibility for Balancing;

- verifies and signs the application for Registration/Update of reference/Withdrawal data as PRE;

- downloads, fills in and signs the Balancing Accountability Agreement available on www.transelectrica.ro and submits it for signning to TEL;

- designates the person(s) responsible for the PE platform notifications authorised to act on behalf of the applicant;

- sends the names, phone number, fax, e-mail of the persons authorised to act on behalf of the applicant for the commercial running of the PRE Agreement;

- sends the EIC code and the name of the suspended PRE for which it has assumed the responsibility for balancing, the transfer date, if applicable;

- sends information regarding the OR where PRE has consumption/generation sites for which it takes the responsibility for balancing and their list.

9.1.3	 The licence holder who has failed to register as PRE or has been cancelled as PRE will have all the responsibilities of a registered PRE, without having the right to participate to the power market.

9.2. CNTEE Transelectrica SA

- Receives the PRE registration/withdrawal applications and verifies the accuracy of the information provided by the applicant;

- Approves the applications for PRE registration;

- Ensures that each Licence Holder requesting the registration of a PRE has concluded a VMA Metering and Aggregation Agreement with OMEPA;

- Confirms the registration/update/cancellation as PRE and sends an informative note to OPE, OPCOM, OMEPA and ANRE;

- Updates and publishes on www.transelectrica.ro the PRE Registry;

- Immediately sends the changes made to the PRE Registry, by e-mail, to OPE, OPCOM, OMEPA and ANRE;

- TEL keeps track of the changes made in the PRE Registry for at least 12 months;

- Monthly sends, by e-mail, the list of dispatchable units to OPE, OPCOM, OMEPA and ANRE , the changes compared to the previous month being highlighted;

- Establishes and updates, whenever necessary, the level of the Financial Guarantee;

- Ensures that the active PRE has established/updated the Financial Guarantee at the calculated level;

- Submits the Balancing Accountability Agreement signed by TEL representatives to the requesting PRE;

- Notifies PRE about the cancellation as PRE and sends an informative note to OPE, OPCOM, OMEPA, ANRE and other Licence Holders;

- Timely submits to the OPE the PRE reference/update dates.

9.3. OMEPA

- Concludes/Updates the VMA Metering and Aggregation Agreement with the applicant Licence Holder for registration as an active PRE;

- Informs TEL about the conclusion of the VMA Metering and Aggregation Agreement;

- Based on the PRE Registry, the List of Dispatchable Units and the VMA Metering and Aggregation Agreement, it processes the documentation related to the active PRE in order to make the settlement calculations.

9.4. Balancing Market Operator

- Assigns EIC codes for the Licence Holders who have submitted a request in this respect and transmits the EIC code assigned to TEL and the Licence Holder;

- Implements within PE’s IT platform the reference data/update data of the accepted PRE.

9.5. Grid operators

- send monthly information to TEL from their own licensing area on:

- the aggregate amount of the estimated annual generation, broken down monthly, for the generating units for which the PRE has assumed the responsibility for balancing;

- the aggregate amount of estimated annual consumption, broken down monthly, for power consumers, for which PRE has assumed the responsibility for balancing;

- ANNEXES, ENTRIES, ARCHIVING

10.1 Annexes

- form code TEL01.18-01

- form code TEL 01.18-02

- form code TEL 01.18-03

- form code TEL01.18-04

- form code TEL 01.18-05

- form code TEL01.18-06

- form code TEL 01.18-07

- form code TEL 01.18-08

10.2. ENTRIES

- Application for EIC code allocation, form code TEL01.18-01

- Application for registration as PRE on the national power market, form code TEL01.18-02

- Transfer of Responsibility for Balancing, form code TEL01.18-03

- Contact information , form code TEL.04

- Generation forecast/consumption forecast, form code TEL01.18-05

- Application for Updating PRE Reference Data, form code TEL01.18-06

- Application for Withdrawal of Registration of a PRE, form code TEL01.18-07

8	PRE registration template, according to form code TEL01.18-08

10.3. ARCHIVING

The archiving of this procedure and of other documented information is made in accordance with the current Archive Nomenclature and the provisions of TEL-03.24: Compiling files, inventory preparation and archiving.

11. TABLE OF CONTENTS

| Number of the component in the procedure | Name of the component in the procedure | Page |
| --- | --- | --- |
| 1. | Cover Page | 1 |
| 2. | Status of editions and revisions | 2 |
| 3. | Circulation list | 3 |
| 4. | Purpose | 4 |
| 5. | Application domain | 4 |
| 6. | Reference documents | 4 |
| 7. | Definitions and abbreviations | 4-5 |
| 8. | Mode of operation | 5-13 |
| 9. | Responsibilities | 13-14 |
| 10. | Annexes, entries, archiving | 14-15 |
| 11. | Table of contents | 15 |