## 2015
C.N.T.E.E. TRANSELECTRICA - S.A.
PROGRAMUL ANUAL DE RETRAGERE DIN EXPLOATARE
A ECHIPAMENTELOR SI INSTALATIILOR DIN RET, PENTRU EXECUTAREA PROGRAMELOR DE MENTENANTA SI INVESTITII, IN ANUL 2015
Maintenanca plan fo 2015
Prima saptamana a anului 2015 incepe cu ziua de luni - 29.12.2014,
First 2015 week begins with the Monday 29.12.2014
Nr. | Denumire echipament |  |  | Luna/saptamana |  | ianuarie |  |  |  |  | februarie |  |  |  | martie |  |  |  | aprilie |  |  |  |  | mai |  |  |  | iunie |  |  |  | iulie |  |  |  |  | august |  |  |  | septembrie |  |  |  | octombrie |  |  |  |  | noiembrie |  |  |  | decembrie
crt | Equipment |  |  |  |  | January |  |  |  |  | February |  |  |  | March |  |  |  | April | [5 empty] | May |  |  | June |  |  |  |  | July |  |  |  |  | August |  |  | September |  |  |  | October |  |  |  |  | November |  |  |  | December
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
LEA 750 kV
1 | Isaccea-Ucraina Sud |  | Ucraina Sud
LEA 400 kV
1 | Gutinas-Brasov |  |  |  |  | April 18: 7; April 19: 7; August 35: 7; September 36: 7
2 | Gutinas-Smardan
3 | Gutinas-Bacau S |  |  |  |  | March 11: 3
4 | Bacau Sud-Roman Nord |  |  |  |  | March 13: 3; July 32: 1; August 33: 1
5 | Roman N-Suceava | bar: July 32 to August 33
6 | BucurestiSud-Pelicanu |  |  |  |  | August 34: 7
7 | BucurestiSud-Domnesti |  |  |  |  | April 19: 4
8 | BucurestiSud-Slatina |  |  |  |  | April 16: 2
9 | Cernavoda-Pelicanu |  |  |  |  | July 32: 7; August 33: 7
10 | Urechesti-Domnesti |  |  |  |  | May 20: 4; May 21: 7
11 | Domnesti-BraziV
12 | BraziV-Darste
13 | Cernavoda-Gura Ialomitei 1 |  |  |  |  | April 19: 2
14 | Cernavoda-Gura Ialomitei 2 |  |  |  |  | June 24: 7; June 25: 7; June 26: 7
15 | BucurestiSud-Gura Ialomitei
16 | G Ialomitei-L Sarat |  |  |  |  | January 2: 7; January 3: 3; November 48: 7; December 49: 7; December 50: 7
17 | Smardan-L Sarat
18 | Isaccea-LSarat
19 | Lacu Sărat - G4
20 | Cernavoda-Constanta Nord |  |  |  |  | April 14: 3
21 | Tariverde-Tulcea Vest
22 | Constanta Nord-Tariverde |  |  |  |  | April 14: 4
23 | Cernavoda-Medgidia Sud |  |  |  |  | September 36: 6; September 37: 7; September 38: 7; September 39: 7; October 40: 4
24 | Racord T1 Cernavoda |  |  |  |  | April 19: 2
25 | Racord T2 Cernavoda
26 | Racord U2-Cernavoda |  |  |  |  | May 21: 7
27 | Tulcea Vest-Isaccea |  |  |  |  | May 20: 7; May 21: 7; May 22: 7
28 | Isaccea-Stupina |  |  |  | ROMANIA
29 | Stupina-Varna |  |  |  |  | April 15: 7; April 16: 7; September 38: 7
30 | Isaccea-Smardan 1
31 | Isaccea-Smardan 2
32 | Isaccea-Rahman |  |  |  | ROMANIA | January 3: 4; January 4: 7; January 5: 6; June 27: 7; July 28: 7; July 29: 7; July 30: 7
33 | Rahman-Dobrudja |  |  |  |  | March 10: 7; March 11: 7; March 12: 5; October 41: 7; October 42: 7; October 43: 7; October 44: 7
34 | Bradu-Brasov |  |  |  |  | January 1: 7; January 2: 7; January 3: 7; January 4: 7; January 5: 7; February 6: 7; April 15: 4; April 16: 3; May 20: 2; July 29: 3
35 | Tantareni-Slatina |  |  |  |  | July 29: 2
36 | Tantareni-Bradu |  |  |  |  | October 43: 7
37 | Tantareni-Sibiu |  |  |  |  | February 7: 7; February 8: 7; May 22: 7
38 | Portile de Fier-Slatina |  |  |  |  | March 10: 7
39 | Portile de Fier-Urechesti |  |  |  |  | April 18: 7
40 | Portile de Fier-Djerdap |  |  |  |  | March 13: 7; April 14: 7
41 | Urechesti-Tantareni |  |  |  |  | November 46: 7; November 47: 7; November 48: 7
42 | Urechesti - Rovinari G3+4 |  |  |  |  | September 39: 7; October 40: 7
43 | Urechesti - Rovinari G5+6 |  |  |  |  | July 28: 7; July 29: 7
44 | Tantareni-Kozlodui 1 |  |  |  |  | June 23: 7; June 24: 3
45 | Tantareni-Kozlodui 2 |  |  |  |  | June 23: 3; June 24: 7; June 25: 4
Nr. | Denumire echipament |  |  | Luna/saptamana |  | January 1: ianuarie; February 6: februarie; March 10: martie; April 14: aprilie; April 19: mai; June 23: iunie; June 27: iulie; July 32: august; September 36: septembrie; October 40: octombrie; November 45: noiembrie; December 49: decembrie
crt | Equipment |  |  |  |  | January 1: January; February 6: February; March 10: March; April 14: April; May 20: May; June 23: June; July 28: July; August 33: August; September 36: September; October 40: October; November 45: November; December 49: December
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
46 | Tântãreni - Turceni G1+2 |  |  |  |  | August 34: 7; August 35: 7
47 | Tântãreni - Turceni G3+4 |  |  |  |  | August 34: 7; August 35: 7
48 | Tântãreni - Turceni G5+6 |  |  |  |  | September 37: 7; September 38: 7
49 | Tântãreni - Turceni G7+8 |  |  |  |  | September 37: 7; September 38: 7
50 | Rosiori - Oradea Sud
51 | Iernut-Gadalin
52 | Gadalin-Rosiori
53 | Cluj E -Gadalin |  |  |  |  | June 23: 2
54 | Iernut-Sibiu |  |  |  |  | May 21: 7
55 | Sibiu-Brasov
56 | Mintia-Sibiu |  |  |  |  | September 39: 7
57 | Arad-Mintia
58 | Darste-Brasov
59 | Slatina -Draganesti Olt | bar: April 16
60 | Arad-Sandorfalva
61 | Nadab-Bekescsaba
62 | Arad-Nadab
63 | Rosiori-Mukachevo |  |  |  |  | April 16: 6; April 17: 4; September 37: 7; September 38: 3
64 | Isaccea-Vulkanesti
| TOTAL |  |  |  |  | October 40: TOTAL LINII 400kV
LEA 220 KV
1 | Suceava-FAI
2 | FAI -Gutinas
3 | Munteni-Gutinas
4 | Gutinas-Dumbrava |  |  |  |  | July 28: 7
5 | FAI-Munteni
6 | Dumbrava-Stejaru |  |  |  |  | June 25: 7; June 26: 7; June 27: 7
7 | Stejaru-Gheorgheni
8 | Gutinas - TA7 Borzesti |  |  |  |  | April 14: 2
9 | Gutinas - TA8 Borzesti |  |  |  |  | April 14: 2
10 | LEA 220kV Gutinas-AT1 |  |  |  |  | March 13: 2
11 | LEA 220kV Gutinas-AT2 |  |  |  |  | March 13: 2
12 | L.Sărat - G1
13 | L.Sărat - G2
14 | L.Sărat - G3
15 | LSarat-Filesti |  |  |  |  | November 46: 7; November 47: 7
16 | Filesti-Barbosi |  |  |  |  | November 46: 7
17 | Barbosi-Focsani Vest
18 | Focsani Vest-Gutinas
19 | Fundeni-Bucuresti Sud 1 |  |  |  |  | April 18: 3
20 | Fundeni-Bucuresti Sud 2 |  |  |  |  | April 18: 3
21 | Fundeni- Brazi V 1 |  |  |  |  | May 22: 7; June 23: 7; June 24: 7; June 25: 7
22 | Fundeni- Brazi V 2 |  |  |  |  | May 22: 7; June 23: 7; June 24: 7; June 25: 7
23 | Buc S- Ghizdaru1 -deriv Most. |  |  |  |  | July 30: 2; August 35: 2
24 | BucS -Ghizdaru 2 |  |  |  |  | April 14: 4; April 15: 7
Nr. | Denumire echipament |  |  | Luna/saptamana |  | January 1: ianuarie; February 6: februarie; March 10: martie; April 14: aprilie; April 19: mai; June 23: iunie; June 27: iulie; July 32: august; September 36: septembrie; October 40: octombrie; November 45: noiembrie; December 49: decembrie
crt | Equipment |  |  |  |  | January 1: January; February 6: February; March 10: March; April 14: April; May 20: May; June 23: June; July 28: July; August 33: August; September 36: September; October 40: October; November 45: November; December 49: December
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
25 | Targoviste- Brazi V 1
26 | Targoviste- Brazi V 2
27 | Brazi Vest-Teleajen
28 | Teleajen-Stalpu
29 | Târgoviste - Doicesti C1
30 | Târgoviste - Doicesti C2
31 | Târgoviste - Cuptoare 1+3 |  |  |  |  | March 13: 3
32 | Târgoviste - Cuptoare 2 |  |  |  |  | March 13: 2
33 | Ghizdaru-Tr. Magurele |  |  |  |  | March 13: 7; April 14: 3
34 | Targoviste-Bradu 1 |  |  |  |  | March 11: 3; December 51: 1
35 | Targoviste-Bradu 2 |  |  |  |  | March 11: 3
36 | Bradu-Pitesti Sud
37 | Bradu-Stuparei
38 | Stuparei-Raureni |  |  |  |  | September 36: 7; September 37: 7; September 38: 7; September 39: 7; October 40: 7; October 41: 7; October 42: 7; October 43: 7; October 44: 7; November 45: 7; November 46: 7; November 47: 7; November 48: 7; December 49: 7; December 50: 7; December 51: 7; December 52: 7; December 53: 7
39 | Raureni-Arefu |  |  |  |  | September 36: 7; September 37: 7; September 38: 7; September 39: 7; October 40: 7; October 41: 7; October 42: 7; October 43: 7; October 44: 7; November 45: 7; November 46: 7; November 47: 7; November 48: 7; December 49: 7; December 50: 7; December 51: 7; December 52: 7; December 53: 7
40 | Stuparei-Arefu |  |  |  |  | September 36: 1; September 39: Pif linia lunga 220 kV Stuparei - Arefu
41 | Arefu - CHE Arges C1
42 | Arefu - CHE Arges C2
43 | Bradu-Arefu
44 | Craiova N -Slatina
45 | Isalnita-Gradiste |  |  |  |  | September 39: 7; October 40: 7
46 | Slatina - SRA Slatina C1 |  |  |  |  | July 30: 2
47 | Slatina - SRA Slatina C2 |  |  |  |  | June 25: 2
48 | Gradiste-Slatina
49 | Craiova-Tr. Magurele
50 | Craiova N - Isalnita 1
51 | Craiova N - Isalnita 2
52 | Urechesti-Sardanesti
53 | Sardanesti-CraiovaN
54 | Tg Jiu-Urechesti
55 | Paroseni-Tg Jiu
56 | P. de Fier - Tr. Severin C1
57 | P. de Fier - Tr. Severin C2
58 | Portile de Fier - Cetate c1
59 | Portile de Fier - Cetate c2
60 | Cetate-Calafat
61 | Portile de Fier-Resita 1
62 | Portile de Fier-Resita 2
63 | Iaz - Reşiţa 1
64 | Iaz - Reşiţa 2
65 | Resita-Timisoara 1
66 | Resita-Timisoara 2
Nr. | Denumire echipament |  |  | Luna/saptamana |  | January 1: ianuarie; February 6: februarie; March 10: martie; April 14: aprilie; April 19: mai; June 23: iunie; June 27: iulie; July 32: august; September 36: septembrie; October 40: octombrie; November 45: noiembrie; December 49: decembrie
crt | Equipment |  |  |  |  | January 1: January; February 6: February; March 10: March; April 14: April; May 20: May; June 23: June; July 28: July; August 33: August; September 36: September; October 40: October; November 45: November; December 49: December
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
75 | Resita - Otelarie
67 | Timisoara-Arad
68 | Timisoara-Sacalaz
69 | Sacalaz-Calea Aradului
70 | Calea Aradului-Arad
71 | Timisoara-Mintia
72 | Mintia-Pestis 1
73 | Mintia-Pestis 2
74 | Hasdat-Mintia
75 | AlbaIulia-Mintia |  |  |  |  | July 32: 7; August 33: 3
76 | Hasdat-Baru Mare
77 | BaruMare-Paroseni
78 | Pestis-Hasdat
79 | Hasdat-Retezat |  |  |  |  | July 32: 7; August 33: 7; August 34: 7; August 35: 7
80 | Lotru - Sibiu Sud circ. 1
81 | Lotru - Sibiu Sud circ. 2
82 | Galceag - Alba Iulia |  |  |  |  | August 33: 4; August 34: 6
83 | Sugag - Alba Iulia |  |  |  |  | July 32: 7; August 33: 3
84 | BaiaMare3-Rosiori 1
85 | BaiaMare3-Rosiori 2
86 | Baia Mare-Iernut
87 | Rosiori-Vetis |  |  |  |  | October 40: 7; October 41: 7; October 42: 7
88 | Tihau-Cluj Fl |  |  |  |  | January 4: 1; March 10: 6
89 | Tihau-Salaj |  |  |  |  | January 4: 1; March 11: 3
90 | Baia M 3 -Tihau |  |  |  |  | January 4: 1; March 11: 7
91 | Cluj Fl.-Baia Mare 3- Salaj |  |  |  |  | January 4: 1; January 5: pif LEA 3 capete
92 | Alba I-Cluj Floresti |  |  |  |  | August 33: 4; August 34: 6
93 | Cluj Fl.-Campia Turzii |  |  |  |  | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
94 | Campia turzii - Iernut |  |  |  |  | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
95 | ClujFl. - Iernut (linie provizorat)
96 | Ungheni-Iernut 1
97 | Ungheni-Iernut 2
98 | Gheorgheni-Fantanele |  |  |  |  | July 29: 4
99 | Fantanele-Ungheni
100 | Cluj Floresti - Mãriselu
101 | Mãriselu – CHE Mãriselu TH1
102 | Mãriselu – CHE Mãriselu TH2
103 | Mãriselu – CHE Mãriselu TH3
| TOTAL LINII 220 - 400kV |  |  |  |  | October 40: TOTAL LINII 220 - 400kV
LEA 110 KV
1 | Stânca - Costesti |  |  |  |  | April 15: 7; April 16: 7; April 17: 7; April 18: 7; April 19: 7; May 20: 7; May 21: 7; May 22: 7
2 | Tutora – Ungheni
3 | Husi – Cioara
4 | Gura Vãii – Sip
5 | Jimbolia – Kikinda
6 | Tihau-Salaj
| TOTAL LINII 110 - 400kV |  |  |  |  | October 40: TOTAL LINII 110 - 400kV
Nr. | Denumire echipament |  |  | Luna/saptamana |  | January 1: ianuarie; February 6: februarie; March 10: martie; April 14: aprilie; April 19: mai; June 23: iunie; June 27: iulie; July 32: august; September 36: septembrie; October 40: octombrie; November 45: noiembrie; December 49: decembrie
crt | Equipment |  |  |  |  | January 1: January; February 6: February; March 10: March; April 14: April; May 20: May; June 23: June; July 28: July; August 33: August; September 36: September; October 40: October; November 45: November; December 49: December
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
| T, AT, CS, BC | Trafo +AT + BC + CS
1 | AT 5 400MVA Gutinas |  |  |  |  | May 22: 3
2 | AT 6 400MVA Gutinas |  |  |  |  | April 19: 3
3 | AT3 220/110 kV Gutinas |  |  |  |  | June 27: 3
4 | AT4 220/110 kV Gutinas |  |  |  |  | July 28: 3
5 | Dumbrava AT1 220/110kV |  |  |  |  | April 14: 7; April 15: 4
6 | Dumbrava AT2 220/110kV |  |  |  |  | July 29: 7
7 | Bacau Sud T 400/110kV
8 | Roman Nord T 400/110kV |  |  |  |  | April 15: 1; May 22: 1; July 32: 1; August 33: 1; October 43: 3
9 | Stejaru AT 220/110kV |  |  |  |  | February 9: 1; October 40: 4; October 43: 1
10 | Suceava AT 220/110kV
11 | Suceava T 400/110kV |  |  |  |  | May 20: 3
12 | Suceava BC 400 kV |  |  |  |  | May 20: 2
13 | FAI AT1 220/110kV |  |  |  |  | October 40: 3
14 | FAI AT2 220/110kV |  |  |  |  | October 41: 3
15 | Munteni AT 220/110kV
16 | Gutinas BC 400kV |  |  |  |  | July 31: 2
17 | Focsani AT 220/110kV
18 | AT3 400/220kV Brazi V
19 | AT 1 220/110kV BraziV |  |  |  |  | April 16: 4
20 | AT 2 220/110kV BraziV |  |  |  |  | April 15: 4
21 | AT 3 400/220kV Buc S |  |  |  |  | July 28: 3
22 | AT 4 400/220kV Buc S |  |  |  |  | July 28: 3
23 | Bucuresti S AT1 220/ 110 kV
24 | Bucuresti S AT2 220/110 kV
25 | BC 400kV Bucurest Sud
26 | Domnesti T1 - 400/110 kV
27 | Domnesti T2 - 400/110 kV
28 | Domnesti T5 - 400/110 kV
29 | Fundeni AT 1 220/110kV
30 | Fundeni AT 2 220/110kV
31 | Ghizdaru AT1 -220/110 kV
32 | Ghizdaru AT2 -220/110 kV |  |  |  |  | November 45: 7; November 46: 7; November 47: 7
33 | G. Ialomitei T3-400/110 kV
34 | G. Ialomitei T4-400/110 kV
35 | Mostistea AT 220/110kV |  |  |  |  | July 30: 7; July 31: 7; July 32: 7; August 33: 7; August 34: 7; August 35: 7
36 | Pelicanu T1 - 400/110 kV
37 | Pelicanu T2 - 400/110 kV
38 | Stalpu AT1-220/110kV
39 | Teleajen AT - 220/110 kV |  |  |  |  | April 14: 4
40 | Targoviste AT1 - 220/110kV |  |  |  |  | April 16: 4
41 | Targoviste AT2 - 220/110kV
42 | Targoviste AT3 - 220/110kV
43 | Tr. Magurele AT1 -220/110kV |  |  |  |  | June 27: 7; July 28: 7; July 29: 5
44 | Tr. Magurele AT2 -220/110kV
45 | Tr. Magurele AT3 -220/110kV
46 | Lacu Sãrat AT3 - 400/220 kV |  |  |  |  | August 33: 3; August 34: 7
47 | Lacu Sãrat AT4 - 400/220 kV |  |  |  |  | July 32: 7; August 33: 2
Nr. | Denumire echipament |  |  | Luna/saptamana |  | January 1: ianuarie; February 6: februarie; March 10: martie; April 14: aprilie; April 19: mai; June 23: iunie; June 27: iulie; July 32: august; September 36: septembrie; October 40: octombrie; November 45: noiembrie; December 49: decembrie
crt | Equipment |  |  |  |  | January 1: January; February 6: February; March 10: March; April 14: April; May 20: May; June 23: June; July 28: July; August 33: August; September 36: September; October 40: October; November 45: November; December 49: December
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
48 | Lacu Sãrat AT1 - 220/110 kV |  |  |  |  | June 27: 7
49 | Lacu Sãrat AT2 - 220 / 110 kV |  |  |  |  | July 29: 7
50 | Smârdan T1 - 400/110 kV |  |  |  |  | April 15: 2; September 39: 7
51 | Smârdan T2 - 400/110 kV |  |  |  |  | April 16: 2; October 41: 7
52 | Smârdan BC 400 kV
53 | Barbosi AT1 220/110kV
54 | Barbosi AT2 220/110kV
55 | Filesti AT 220/110kV
56 | Constanta Nord T1 - 400/110kV |  |  |  |  | April 14: 2; August 35: 7
57 | Constanta Nord T2 - 400/110kV |  |  |  |  | April 14: 3; August 34: 7
58 | Medgidia Sud - T1 - 400/110kV |  |  |  |  | October 40: 3; October 41: 7; October 42: 7; October 43: 7; October 44: 7; November 45: 7; November 46: 7; November 47: 7; November 48: 7; December 49: 7; December 50: 5; December 51: 7; December 52: 7; December 53: 7
59 | Medgidia Sud - T2 - 400/110kV |  |  |  |  | July 28: 7; September 36: 6; September 37: 7; September 38: 7; September 39: 7; October 40: 4
60 | Tariverde T1 - 400/110kV
61 | Tariverde T2 - 400/110kV
62 | Tariverde T3 - 400/110kV
63 | Tulcea Vest T1 - 400/110 kV |  |  |  |  | April 17: 2
64 | Tulcea Vest T2 - 400/110 kV |  |  |  |  | April 17: 2
65 | Tulcea Vest T3 - 400/110 kV |  |  |  |  | April 17: 2
66 | Isaccea BC1 750 kV |  |  |  |  | August 33: 7; August 34: 7; August 35: 7; September 36: 7; September 37: 7
67 | Isaccea BC2 750 kV |  |  |  |  | September 36: 7; September 37: 7; September 38: 7; September 39: 7; October 40: 7
68 | Cernavodã BC1 400 kV |  |  |  |  | January 1: 7; January 2: 7; January 3: 7; January 4: 7; January 5: 7; February 6: 7; February 7: 7; February 8: 7; February 9: 7; March 10: 7; March 11: 5
69 | Cernavodã BC2 400kV |  |  |  |  | March 13: 7; April 14: 7; April 15: 7; April 16: 7; April 17: 7; April 18: 7; April 19: 7; May 20: 7; May 21: 7; May 22: 7; June 23: 7; June 24: 7; June 25: 7; June 26: 7; June 27: 7; July 28: 7; July 29: 7; July 30: 7; July 31: 7; July 32: 5
70 | Portile de Fier AT1 400/220 kV |  |  |  |  | July 28: 7; July 29: 7; July 30: 7
71 | Portile de Fier AT2-400/220 kV |  |  |  |  | March 13: 7; April 14: 7; April 15: 7; April 16: 7
72 | Portile de Fier AT3-400/220 kV |  |  |  |  | January 5: 1; February 6: 7; February 7: 7; February 8: 7; February 9: 7; March 10: 7; March 11: 1
73 | AT 400MVA Urechesti
74 | AT 200MVA Urechesti
75 | Urechesti BC 400 kV
76 | CraiovaN AT1 200MVA
77 | CraiovaN AT2 200MVA
78 | Tr. Severin Est AT1-220/110 kV
79 | Tr. Severin Est AT2 - 220/110 kV
80 | Cetate AT 200MVA
81 | Calafat AT 200MVA
82 | Sãrdãnesti AT - 220/110 kV
83 | Tg.Jiu AT 200MVA
84 | AT1 200MVA Isalnita
85 | AT2 200MVA Isalnita
86 | Tantareni BC-A-400kV
87 | Tantareni BC-B-400kV
88 | AT1 400/220kV Slatina | bar: July 30 to July 31
89 | AT2 400/220kV Slatina | bar: June 25; July 29
90 | Slatina AT3 220/1101kV | bar: March 12
91 | Slatina AT4 220/1101kV | bar: June 27
92 | AT 220/110kV Stuparei
93 | AT 220/110kV Raureni
94 | AT 220/110kV Pitesti Sud
95 | AT1 220/110kV Arefu | bar: March 12
96 | AT2 220/110kV Arefu | bar: March 12
Nr. | Denumire echipament |  |  | Luna/saptamana |  | January 1: ianuarie; February 6: februarie; March 10: martie; April 14: aprilie; April 19: mai; June 23: iunie; June 27: iulie; July 32: august; September 36: septembrie; October 40: octombrie; November 45: noiembrie; December 49: decembrie
crt | Equipment |  |  |  |  | January 1: January; February 6: February; March 10: March; April 14: April; May 20: May; June 23: June; July 28: July; August 33: August; September 36: September; October 40: October; November 45: November; December 49: December
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
97 | AT 1 220/110kV Bradu | bar: March 13
98 | AT 2 220/110kV Bradu |  |  |  |  | March 13: 1; May 20: 2; December 51: 1
99 | AT 3 400 MVA Bradu |  |  |  |  | July 30: 7; July 31: 7; July 32: 7; August 33: 7; August 34: 7; August 35: 7; September 36: 7; September 37: 7; September 38: 7; September 39: 7; October 40: 7; October 41: 7; October 42: 7; October 43: 7; October 44: 7; November 45: 7; November 46: 7; November 47: 7; November 48: 7; December 49: 7; December 50: 7; December 51: 7; December 52: 7; December 53: 7
100 | AT 4 400 MVA Bradu |  |  |  |  | April 14: 5; April 15: 3; May 20: 3
101 | Gradiste AT1-200MVA
102 | Gradiste AT2-200MVA |  |  |  |  | January 1: 7; January 2: 7; January 3: 7; January 4: 7; January 5: 7; February 6: 7; February 7: 7; February 8: 7; February 9: 7; March 10: 7; March 11: 7
103 | T 250 MVA Draganesti Olt
104 | AT 5 Sibiu 400/220kV
105 | AT 6 Sibiu400/220kV
106 | T 4 Sibiu 400/110kV
107 | Brasov T1 400/110kV
108 | Brasov T2 400/110kV
109 | Dârste T2 - 400/110 kV
110 | Dârste BC 400 kV
111 | AT 1 400MVA Iernut
112 | AT 3 200 MVA Iernut
113 | Gheorgheni AT1 220/110 kV
114 | Gheorgheni AT2 220/110 kV
115 | Fantanele AT 220/110 kV
116 | Ungheni AT1 220/110 kV
117 | Ungheni AT2 220/110 kV |  |  |  |  | October 43: 7; October 44: 7
118 | Alba Iulia AT1 220/110 kV
119 | Alba Iulia AT2 220/110 kV
120 | Arad AT3 400/220 kV |  |  |  |  | March 11: 6; March 12: 7
121 | Arad AT1 220/110 kV |  |  |  |  | August 35: 7; September 36: 7; September 37: 7
122 | Arad T 400/110 kV
123 | Arad BC 400 kV
124 | AT3 400/220kV Mintia
125 | AT4 400/220kV Mintia
126 | Mintia BC 400kV
127 | CS 60MVAr Timisoara
128 | Cluj Floresti AT1-220/110 kV
129 | Cluj Floresti AT2-220/110 kV
130 | Cluj Est T 7- 400/110 kV
131 | Baia Mare AT1 -220/110kV
132 | Baia Mare AT2 -220/110kV
133 | Vetis AT 220/110kV
134 | Salaj AT 220/110 kV
135 | Tihau AT1 220/110kV |  |  |  |  | January 4: 5; January 5: 7; February 6: 7; February 7: 7; February 8: 7; February 9: 7; March 10: 7; March 11: 7
136 | AT 400MVA Rosiori
137 | Rosiori BC 400kV
138 | Gadalin BC 400kV
139 | Oradea T 1 400/110 kV
140 | Oradea T 2 400/110 kV
141 | Oradea BC 400 kV
Nr. | Denumire echipament |  |  | Luna/saptamana |  | January 1: ianuarie; February 6: februarie; March 10: martie; April 14: aprilie; April 19: mai; June 23: iunie; June 27: iulie; July 32: august; September 36: septembrie; October 40: octombrie; November 45: noiembrie; December 49: decembrie
crt | Equipment |  |  |  |  | January 1: January; February 6: February; March 10: March; April 14: April; May 20: May; June 23: June; July 28: July; August 33: August; September 36: September; October 40: October; November 45: November; December 49: December
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
142 | AT1 Resita 220/110 kV
143 | AT2 Resita 220/110 kV
144 | AT1 Iaz 220/110 kV
145 | AT2 Iaz 220/110 kV
146 | AT1 Mintia 220/110 kV
147 | AT2 Mintia 220/110 kV
148 | AT Baru Mare 220/110 kV
149 | AT1 Hasdat 220/110 kV |  |  |  |  | January 1: 7; January 2: 7; January 3: 7; January 4: 7; January 5: 7; February 6: 7; February 7: 7; February 8: 7; February 9: 7; March 10: 7; March 11: 7; March 12: 7; March 13: 7; April 14: 2
150 | AT2 Hasdat 220/110 kV
151 | AT1 Pestis 220/110 kV
152 | AT2 Pestis 220/110 kV
153 | AT1 Timisoara 220/110 kV
154 | AT2 Timisoara 220/110 kV
155 | AT Sacalaz 220/110 kV
156 | AT Paroseni 220/110kV
|  |  | TOTAL AT |  |  | November 47: TOTAL AT
Nota cand nu este specificat nr. de zile intr-o celula excel, atunci acesta este de 5 zile lucratoare