## Jan-Dec 2011 - Moldavia
AUCTION DATE and deadline for bidding |  | 23.11.2011, 13 hour (RO) |  | RO = CET+1
IMPORTANT !!! The auction was organised following the special request of the participants, in accordance with the Operational Procedure CODE TEL 01.06, rev-4, chapter No.2, art 6.
NTC VALUES FOR JANUARY - DECEMBER 2012 ; OPERATION IN PASSIVE CONSUMPTION ISLAND
Available Transfer Capacity on the NPS's interconection lines with the neigbouring systems
Section |  | OHL | PERIOD | NTC
IMPORT | MOLDAVIA --> ROMANIA * | OHL 110 kV Stânca – Costeşti | 01.01- 31.12.2012 | 70
| MOLDAVIA --> ROMANIA * | OHL 110 kV Cioara - Husi | 01.01- 31.12.2012 | 55
| MOLDOVA --> ROMANIA * | LEA 400 kV Issacea-Vulkanesti | 01.01- 31.12.2010
* For bidding the capacity, the participants must own the written approval of the distribution operator of the island.
TEL reserves the right to change the value of these capacities and the revision periods, according to the operational conditions of operation in SEN
OPERATIONAL PROCEDURE - COD TEL 01.06, rev.4, Chapter 2, art.6 :" Power cross-border exchanges through these lines are realised by operation in passive consumption islands, with the approval of the distribution operator of the island…"