## YEARLY 2015
AUCTION DATE and deadline for bidding |  | 27.11.2014, 13:00 hour (RO), except for the border with SERBIA and HUNGARY |  | EET,RO = CET+ 1
YEARLY ATC FOR 2015
Available transfer capacity on the tie-lines of the Romanian Power System with it's neighbouring Systems
Section |  | LEA | Period | TTC | TRM | NTC | AAC | ATC
IMPORT | Bulgaria - Romania common auction for 100% of the ATC, held by TEL | LEA 400 kV Isaccea – Dobrudja | 01 JAN - 31 DEC 2015 | 200 | 100 |  | 0 | 100
|  | LEA d.c. 400 kV Ţânţăreni – Kozlodui |  | 200 |  | 100
|  | LEA 750 kV Isaccea – Varna* (după punerea în funcţiune la 400 kV) |  | 0
| Serbia - Romania ** common auction for 100% of the ATC, held by EMS | LEA 400 kV Porţile de Fier – Djerdap | 01 JAN - 31 DEC 2015 | 250 | 100 | 150 | 0 | 150 | H
LEA 110 kV Ostrovul Mare – Kusjak
LEA 110 kV Gura Văii – Şip
LEA 110 kV Jimbolia – Kikinda
| Hungary - Romania (HU-RO) common auction for 100% of the ATC, held by MAVIR | LEA 400 kV Arad – Sandorfalva | 01 JAN - 31 DEC 2015 | 350 | 100 | 250 | 0 | 250
|  | LEA 400 kV Nadab – Bekescsaba | [6 empty] | H
| Ukraine - Romania * (UA-RO) ** |  | 01 JAN - 31 DEC 2015 | 150 | 100 | 50 | 0 | 50
LEA 400 kV Roşiori – Mukacevo
| Moldavia - Romania | LEA 400 kV Isaccea – Vulcăneşti | - | - | - |  | - | -
LEA 110 kV Stânca – Costeşti
LEA 110 kV Cioara – Huşi
LEA 110 kV Ţuţora – Ungheni
EXPORT | Romania - Bulgaria common auction for 100% of the ATC, held by TEL | LEA 400 kV Isaccea – Dobrudja | 01 JAN - 31 DEC 2015 | 200 | 100 |  | 0 | 100
|  | LEA d.c. 400 kV Ţânţăreni – Kozlodui |  | 200 |  | 100
|  | LEA 750 kV Isaccea – Varna * (după punerea în funcţiune la 400 kV) |  | 0
| Romania - Serbia ** common auction for 100% of the ATC, held by EMS | LEA 400 kV Porţile de Fier – Djerdap | 01 JAN - 31 DEC 2015 | 300 | 100 | 200 | 0 | 200 | H
LEA 110 kV Ostrovul Mare – Kusjak
LEA 110 kV Gura Văii – Şip
LEA 110 kV Jimbolia – Kikinda
| Romania - Hungary (RO - HU) common auction for 100% of the ATC, held by MAVIR | LEA 400 kV Arad – Sandorfalva LEA 400 kV Nadab – Bekescsaba | 01 JAN - 31 DEC 2015 | 400 | 100 | 300 | 0 | 300 | H
| Romania - Ukraine * (RO - UA) ** | LEA 400 kV Roşiori – Mukacevo | 01 JAN - 31 DEC 2015 | 0 | 0 | 50 | 0 | 50
| Romania - Moldavia | LEA 400 kV Isaccea – Vulcăneşti | - | - | - | - | - | -
LEA 110 kV Stânca – Costeşti
LEA 110 kV Cioara – Huşi
LEA 110 kV Ţuţora – Ungheni
* The participant must have the written approval of Ukraine's TSO - Ukrenergo - in order to use the capacity obtained by this auction.
Yearly values with Ukraine are not guaranteed. It is possible that they suffer changes, so please check regularly the website www.transelectrica.ro --> Transparency --> Capacity Auction and Use data --> Details on TTC, TRM, NTC, AAC and ATC for each capacity allocation session.
** - Where there is only one interconnection line between the TSO's, the yearly NTC is guaranteed as long as the line is in working order.

## ANNOUNCEMENT
IMPORTANT ANNOUNCEMENT
We announce that on 27.11.2014 Transelectrica will organize the 2015 yearly ATC auction, for the borders with BULGARIA (allocation 100% from ATC) and UKRAINE (allocation of 100% from ATC).
The offers should be submitted between 09:00 and 13:00 (RO); (RO) = CET + 1
Yearly values with Ukraine are not guaranteed.
It is possible that they suffer changes, so please check regularly the website www.transelectrica.ro --> Transparency --> Capacity Auction and Use data --> Details on TTC, TRM, NTC, AAC and ATC for each capacity allocation session.
In the period of 22.12.2015 - 05.01.2015, TEL will NOT accept transfers / renouncements of capacity.
The annual and monthly auctions on Serbian border for 2015 will be organized by EMS. For more information please consult our partners site : www.ems.rs . The annual and monthly auctions on Hungarian border for 2015 will be organized by MAVIR. For more information please consult our partners site : www.mavir.hu .