## Plan RET
MONTHLY MAINTENANCE PLAN OF THE TRANSMISSION LINES AND EQUIPMENTS
MONTH AUGUST 2025 - VERSION 0
| Name of equipment | week
|  | 31 | 32 | 33 | 34 | 35
OHL 750 kV
OHL 400 kV
1 | Roman Nord-Suceava | 28.07-01.08
2 | Brazi Vest-Domnesti | 28.07-01.08
3 | Isaccea-Tulcea Vest | 21.07-01.08
4 | Gutinas-Lacu Sarat provizorat(Gutinas-Smardan veche) |  |  |  | 18-22.08
5 | Brasov-Gutinas |  |  |  |  | 25.08-07.09
6 | Cernavoda-Gura Ialomitei C1 |  |  | 11-13.08
7 | Cernavoda-Gura Ialomitei C2 |  |  |  |  | 25.08-05.09 (no weekend)
8 | Rosiori-Oradea Sud |  |  |  |  | 25-29.08
9 | Cernavoda-Lacu Sarat derivatie Gura Ialomitei | 01-24.08
10 | Constanta Nord-Tariverde |  |  |  | 18-22.08 | 25-29.08
11 | Racord Cernavoda Tr.2 |  | 4-15.08
12 | Isaccea-Smardan C1 |  |  |  | 18-22.08(a day in interval)
13 | Isaccea-Smardan C2 |  |  |  | 18-22.08(a day in interval)
14 | Isaccea-Tulcea Vest |  |  |  | 18-22.08(a day in interval)
15 | Isaccea-Lacu Sarat |  |  |  | 18-22.08(a day in interval)
16 | Isaccea-Rahman |  |  |  | 18-22.08(a day in interval)
17 | Lacu Sarat- TA4 Braila |  |  |  |  | 25-29.08
18 | Porti de Fier-Djerdap |  | 5-8.08
19 | Tantareni-Kozlodui C2 |  |  |  |  | 25-29.08
20 | Tantareni-Kozlodui C1 |  |  |  | 18-22.08
21 | Arad-Sandorfalva | 28.07-01.08
OHL 220 kV
1 | Stejaru-Gheorgheni |  | 4-8.08
2 | Gutinas-Munteni |  |  | 11-14.08
3 | Brazi Vest-Targoviste C2 |  |  |  | 18-22.08
4 | Brazi Vest-Targoviste C1 |  |  |  |  | 25-29.08
5 | Paroseni-Tg.Jiu Nord | 28.07-01.08
6 | Cluj Floresti-Mariselu | 28.07-01.08
7 | Mariselu-CHE Mariselu TH2 | 28.07-01.08
8 | Mariselu-CHE Mariselu TH3 | 28.07-01.08
9 | Baia Mare 3-Tihau |  | 4-15.08
10 | Targoviste-Bradu |  | 4-8.08
11 | Arefu-UHE 1 |  |  | 11-14.08
12 | Arefu-UHE 2 |  |  |  | 18-22.08
13 | Arefu-Pitesti Sud-deriv Bradu |  |  |  |  | 25-29.08
14 | Sugag-Alba Iulia |  | 4-8.08
15 | Mintia-Alba Iulia |  |  | 11-22.08
16 | Galceag-Alba Iulia |  |  |  | 18-22.08
17 | Porti de Fier-Resita C2 |  | 4-14.08
18 | Resita-Timisoara C2 |  |  |  | 18-29.08
19 | Sacalaz-Calea Aradului |  |  | 11.08
20 | Sacalaz-Timisoara |  |  | 11.08
OHL 110 KV interconnection
1 | Stanca-Costesti |  | 4.08
T +AT + BC + CS
1 | Gutinas AT3 200 MW |  | 4-7.08
2 | Gutinas AT4 200 MW |  |  | 11-14.08
3 | Dumbrava AT2 200 MVA |  |  |  | 18-22.08
4 | Tr.Magurele AT1 200 MVA |  | 4-6.08
5 | Targoviste AT3 200 MVA | 28.07-01.08 |  |  |  | 25-29.08
6 | Gura Ialomitei Tr.3 250 MVA |  |  |  | 18-22.08
7 | Gura Ialomitei Tr.4 250 MVA |  | 4-8.08
8 | Bucuresti Sud AT1 200 MVA |  |  | 11-14.08
9 | Tr.Magurele AT3 200 MVA |  |  |  |  | 25-29.08
10 | Pelicanu Tr.1 250 MVA |  |  |  | x
11 | Pelicanu Tr.2 250 MVA |  |  |  |  | 25-29.08
12 | Oradea Sud Tr.1 250 MVA |  |  | 11-14.08
13 | Oradea Sud Tr.2 250 MVA |  | 4-8.08
14 | Campia Turzii AT 200 MVA |  |  |  | 18-22.08
15 | Tariverde Tr.3 250 MVA | 28.07-01.08
16 | Constanta Nord Tr.1 250 MVA |  |  |  |  | 25.08
17 | Constanta Nord Tr.2 250 MVA
18 | Cernavoda BC2 100 MVAr |  |  |  |  | 25.08-05.09 (no weekend)
19 | Lacu Sarat AT4 400 MVA |  | 4-8.08
20 | Barbosi AT2 200 MVA |  |  |  | 18-22.08
21 | Sardanest AT 200 MVA |  |  |  | 18-22.08
22 | Portile de Fier AT1 500 MVA |  |  |  | 18-22.08
23 | Portile de Fier AT2 500 MVA |  |  |  |  | 25-29.08
24 | Stuparei AT 200 MVA |  | 5-7.08
25 | Raureni AT 200 MVA |  |  |  | 19-21.08
26 | Pitesti Sud AT 200 MVA |  |  |  |  | 25-29.08
27 | Bradu BC 100 MVAr |  |  |  | 18-22.08
28 | Darste Tr.2 250 MVA | 28.07-08.08(fara weekend)
29 | Gheorgheni AT1 200 MVA |  |  | 11-22.08
30 | Gheorgheni AT2 200 MVA |  |  |  |  | 25-29.08
31 | Mintia AT3 400 MVA | 28.07-8.08
32 | Mintia BC 100 MVAr |  |  |  | 18-22.08
33 | Sacalaz AT2 200 MVA |  | 4-14.08
34 | Isaccea BC1 100 MVAr |  |  |  | 18-22.08(a day in interval)
35 | Isaccea BC2 100 MVAr |  |  |  | 18-22.08(a day in interval)
36 | Calafat AT 200 MVA |  | x
37 | Iernut AT1 400 MVA |  |  |  | x
withdrawn in accordance with the yearly maintenance plan
withdrawn in period deferred over maintenance plan (full or partial)
withdrawn in addition with the yearly maintenance plan
permanent withdrawn from operation
x | it is not withdrawn, although it was in the yearly maintenance plan
withdrawn unavailable
T | transformer
AT | autotransformer
BC | shunt
CS | syncronous compensator