## YEARLY AUCTION 2017
AUCTION DATE and deadline for bidding |  | 16.11.2017 -13:00 (RO) |  | (EET/RO = CET+1)
YEARLY ATC for 2018
Available transfer capacity on the tie-lines of the Romanian Power System with its neighbouring Systems
Section |  | LEA | Period | TTC | TRM | NTC | AAC | Yearly ATC
IMPORT | Bulgaria - Romania common auction for 100% of the ATC, held by TEL | LEA 400 kV Isaccea – Dobrudja; LEA d.c. 400 kV Ţânţăreni – Kozlodui; LEA 750 kV Isaccea – Varna | 01 IAN - 31 DEC 2018 | 200 | 100 | 100 | 0 | 100
| Serbia - Romania common auction for 100% of the ATC, held by TEL | LEA 400 kV Porţile de Fier – Djerdap; * | 01 IAN - 31 DEC 2018 | 400 | 100 | 150 | 0 | 150
| Hungary - Romania common auction for 100% of the ATC, held by MAVIR | LEA 400 kV Nadab – Bekescsaba; LEA 400 kV Arad – Sandorfalva | 01 IAN - 31 DEC 2018 | 450 | 100 | 350 | 0 | 350
| Ukraine - Romania * | LEA 400 kV Roşiori – Mukacevo | 01 IAN - 31 DEC 2018 | 100 | 100 | 0 | 0 | 0
EXPORT | Romania - Bulgaria common auction for 100% of the ATC, held by TEL | LEA 400 kV Isaccea – Dobrudja; LEA d.c. 400 kV Ţânţăreni – Kozlodui; LEA 750 kV Isaccea – Varna | 01 IAN - 31 DEC 2018 | 200 | 100 | 100 | 0 | 100
| Romania - Serbia common auction for 100% of the ATC, held by TEL | LEA 400 kV Porţile de Fier – Djerdap; * | 01 IAN - 31 DEC 2018 | 500 | 100 | 200 | 0 | 200
| Romania - Hungary common auction for 100% of the ATC, held by MAVIR | LEA 400 kV Nadab – Bekescsaba; LEA 400 kV Arad – Sandorfalva | 01 IAN - 31 DEC 2018 | 450 | 100 | 350 | 0 | 350
| Romania - Ukraine * | LEA 400 kV Roşiori – Mukacevo | 01 IAN - 31 DEC 2018 | 100 | 100 | 0 | 0 | 0
*- Where there is only one interconnection line between the TSO's, the yearly NTC is guaranteed as long as the line is in working order.
Yearly values with Ukraine are not guaranteed. Its possible that the values may be changed, so please check regularly the website www.transelectrica.ro --> Transparency --> Capacity Auction --> Details on TTC, TRM, NTC, AAC and ATC for each capacity allocation session.