## Fossil Fuels-Coal
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2017-04-01
Index | Name | Name UD | PI | Ci | Pneta | Rpp | Pd | Administrator | Observation | Environment authorization
1 | BACAU | BACAU 1 | 60 | 0 |  | 60 | 0 | THERMOENERGY GROUP BACAU |  | Valid until 31. 01.2023
2 | IASI II | IASC | 60 | 60 | 46 | 1 | 59 | VEOLIA ENERGIE ROMANIA SA | P turbina 50MW | Valid until 24.12.2023
3 | CRAIOVA II | CRAIOVA 1 | 150 | 150 | 122 | 7 | 143 | CEO SE CRAIOVA |  | Valid until 07.07.2024
4 | CRAIOVA II | CRAIOVA 2 | 150 | 150 | 122 | 7 | 143 | CEO SE CRAIOVA |  | Valid until 07.07.2025
5 | ISALNITA | ISALNITA 7 | 315 | 315 | 292 | 3 | 312 | CEO SE ISALNITA |  | Valid until 23.01.2024
6 | ISALNITA | ISALNITA 8 | 315 | 315 | 280 | 15 | 300 | CEO SE ISALNITA |  | Valid until 23.01.2024
7 | ROVINARI | ROVINARI 3 | 330 | 330 | 290 | 10 | 320 | CEO SE ROVINARI |  | Valid until 31.12.2017
8 | ROVINARI | ROVINARI 4 | 330 | 330 | 294 | 10 | 320 | CEO SE ROVINARI |  | Valid until 31.12.2017
9 | ROVINARI | ROVINARI 5 | 330 | 0 | 0 | 330 | 0 | CEO SE ROVINARI | Reabilitation | Valid until 31.12.2017
10 | ROVINARI | ROVINARI 6 | 330 | 330 | 294 | 10 | 320 | CEO SE ROVINARI |  | Valid until 31.12.2017
11 | TURCENI | TURCENI 1 | 330 | 0 | 0 | 330 | 0 | CEO SE TURCENI |  | It does not have environment authorization
12 | TURCENI | TURCENI 3 | 330 | 330 | 292 | 15 | 315 | CEO SE TURCENI |  | Valid until 10.03.2024
13 | TURCENI | TURCENI 4 | 330 | 330 | 298 | 15 | 315 | CEO SE TURCENI |  | Valid until 10.03.2024
14 | TURCENI | TURCENI 5 | 330 | 330 | 298 | 15 | 315 | CEO SE TURCENI |  | Valid until 10.03.2024
15 | TURCENI | TURCENI 6 | 330 | 0 | 0 | 330 | 0 | CEO SE TURCENI |  | It does not have environment authorization
16 | TURCENI | TURCENI 7 | 330 | 330 | 295 | 15 | 315 | CEO SE TURCENI |  | Authorization environmental review procedure
17 | GOVORA | GOVORA 3 | 50 | 50 | 41 | 0 | 50 | CET GOVORA |  | Pending approval
18 | GOVORA | GOVORA 4 | 50 | 50 | 41 | 0 | 50 | CET GOVORA |  | Pending approval
19 | DROBETA | DROBETA 1 | 60 | 60 | 50 | 0 | 60 | ROMAG TERMO | 39<Pd<63 MW | It does not have environment authorization
20 | DROBETA | DROBETA 4 | 60 | 60 | 50 | 0 | 60 | ROMAG TERMO | Pnom turb=50MW | It does not have environment authorization
21 | DROBETA | DROBETA 5 | 60 | 60 | 50 | 0 | 60 | ROMAG TERMO | Pnom turb=50MW | It does not have environment authorization
22 | DROBETA | DROBETA 6 | 60 | 60 | 20 | 35 | 25 | ROMAG TERMO | Pnom turb=25MW | It does not have environment authorization
23 | PAROSENI | PAROSENI | 150 | 150 | 133 | 0 | 150 | ELECTROCENTRALE PAROSENI |  | It does not have environment authorization
24 | MINTIA | MINTIA 2 | 210 | 210 | 180 | 15 | 195 | ELECTROCENTRALE DEVA |  | It does not have environment authorization
25 | MINTIA | MINTIA 3 | 235 | 235 | 210 | 10 | 225 | ELECTROCENTRALE DEVA |  | It does not have environment authorization
26 | MINTIA | MINTIA 4 | 210 | 210 | 180 | 15 | 195 | ELECTROCENTRALE DEVA |  | It does not have environment authorization
27 | MINTIA | MINTIA 5 | 210 | 210 | 180 | 15 | 195 | ELECTROCENTRALE DEVA |  | It does not have environment authorization
28 | MINTIA | MINTIA 6 | 210 | 210 | 180 | 15 | 195 | ELECTROCENTRALE DEVA |  | It does not have environment authorization
|  | Total | 5915 | 4865 | 4238 | 1278 | 4637

## Fossil Fuels-Natural Gas
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2017-04-01
Index | Name | Name UD | PI | Ci | Pneta | Rpp | Pd | Administrator | Observation | Environment authorization
1 | Borzesti | BORZESTI 7 | 210 | 0 | 0 | 210 | 0 | SE BORZESTI |  | It does not have environment authorization
2 | Braila | BRAILA 1 | 227 | 0 | 0 | 227 | 0 | CEO SE BRAILA |  | Valid until 27.02.2025
3 | Braila | BRAILA 2 | 210 | 0 | 0 | 210 | 0 | CEO SE BRAILA |  | Valid until 27.02.2025
4 | Galati | GALATI 3 | 105 | 105 | 97.5 | 0 | 105 | SC ELECTROCENTRALE GALATI SA |  | Valid until 23.02.2024
5 | Galati | GALATI 4 | 60 | 60 | 56.5 | 0 | 60 | SC ELECTROCENTRALE GALATI SA |  | Valid until 23.02.2024
6 | Galati | GALATI 5 | 105 | 105 | 97.5 | 0 | 105 | SC ELECTROCENTRALE GALATI SA |  | Valid until 23.02.2024
7 | Galati | GALATI 6 | 105 | 105 | 97.5 | 0 | 105 | SC ELECTROCENTRALE GALATI SA |  | Valid until 23.02.2024
8 | Iasi I | IASI 12 | 28.6 | 0 | 0 | 28.6 | 0 | VEOLIA ENERGIE ROMANIA SA | Conservation | Valid until 19.08.2023
9 | Iasi I | IASI 3 | 60 | 0 |  | 60 | 0 | Unitatea administrativ teritoriala MUNICIPIUL IASI | Conservation | It does not have environment authorization
10 | Iasi I | IASI 4 | 60 | 0 |  | 60 | 0 | Unitatea administrativ teritoriala MUNICIPIUL IASI | Conservation | It does not have environment authorization
11 | BUCURESTI SUD | BUCURESTI SUD 1 | 50 | 0 |  | 50 | 0 | ELECTROCENTRALE BUCURESTI | Out of operatin | It does not have environment authorization
12 | BUCURESTI SUD | BUCURESTI SUD 2 | 50 | 0 |  | 50 | 0 | ELECTROCENTRALE BUCURESTI | Out of operatin | Valid until december 2023
13 | BUCURESTI SUD | BUCURESTI SUD 3 | 100 | 100 | 84 | 0 | 100 | ELECTROCENTRALE BUCURESTI |  | Valid until december 2023
14 | BUCURESTI SUD | BUCURESTI SUD 4 | 100 | 100 | 84 | 0 | 100 | ELECTROCENTRALE BUCURESTI |  | Valid until december 2023
15 | BUCURESTI SUD | BUCURESTI SUD 5 | 125 | 125 | 102 | 10 | 115 | ELECTROCENTRALE BUCURESTI |  | Valid until december 2023
16 | BUCURESTI SUD | BUCURESTI SUD 6 | 125 | 0 |  | 125 | 0 | ELECTROCENTRALE BUCURESTI | Out of operatin | Valid until december 2023
17 | BUCURESTI VEST | BUCURESTI VEST 1 | 125 | 0 |  | 125 | 0 | ELECTROCENTRALE BUCURESTI |  | It does not have environment authorization
18 | BUCURESTI VEST | BUCURESTI VEST 2 | 125 | 125 | 102.7 | 10 | 115 | ELECTROCENTRALE BUCURESTI |  | Valid until december 2023
19 | BUCURESTI VEST | BUCURESTI VEST C.C. 3+4 | 195 | 195 | 185 | 0 | 195 | ELECTROCENTRALE BUCURESTI |  | Valid until december 2023
20 | GROZAVESTI | GROZAVESTI 1 | 50 | 50 | 41 | 2 | 48 | ELECTROCENTRALE BUCURESTI |  | Valid until october 2017
21 | GROZAVESTI | GROZAVESTI 2 | 50 | 50 | 41 | 2 | 48 | ELECTROCENTRALE BUCURESTI |  | Valid until october 2017
22 | PROGRESU | PROGRESU 1 | 50 | 0 |  | 50 | 0 | ELECTROCENTRALE BUCURESTI | Out of operatin | It does not have environment authorization
23 | PROGRESU | PROGRESU 2 | 50 | 0 |  | 50 | 0 | ELECTROCENTRALE BUCURESTI | The rotor of the turbine is not working | Valid until december 2023
24 | PALAS | PALAS 1 | 50 | 0 | 0 | 50 | 0 | ELECTROCENTRALE CONSTANTA | Conservation from 01.11.2015 | Valid until 20.12.2023
25 | PALAS | PALAS 2 | 50 | 50 | 42.5 | 0 | 50 | ELECTROCENTRALE CONSTANTA |  | Valid until 20.12.2023
26 | BRAZI | BRAZI 5 | 105 | 105 | 98 | 0 | 105 | VEOLIA ENERGIE ROMANIA SA |  | Valid until 31.10.2017
27 | BRAZI | BRAZI 6 | 105 | 105 | 98 | 0 | 105 | VEOLIA ENERGIE ROMANIA SA |  | Valid until 31.10.2017
28 | BRAZI | BRAZI 8 | 25 | 25 | 24 | 0 | 25 | VEOLIA ENERGIE ROMANIA SA |  | Valid until 31.10.2017
29 | CECC Brazi | CCCC BRAZI | 885 | 885 | 850.356 | 0 | 885 | OMV Petrom |  | Valid until 26.06.2021
30 | ORADEA I | ORADEA 1 | 25 | 25 | 18 | 3 | 22 | Societatea Termoficare Oradea SA |  | Pending approval
31 | ORADEA I | ORADEA 2 | 25 | 25 | 18 | 25 | 0 | Societatea Termoficare Oradea SA | Can operate with C1 at Pd = 22 MW. | It does not have environment authorization
32 | ORADEA I | ORADEA 5 | 50 | 50 | 18 | 50 | 0 | Societatea Termoficare Oradea SA | Can operate with C1 at Pd = 22 MW. | It does not have environment authorization
33 | ARAD | ARAD | 50 | 50 | 36 | 4 | 46 | SC CET ARAD SA |  | Valid until 2026
34 | IERNUT | IERNUT 1 | 100 | 100 | 93.7 | 0 | 100 | SPEE IERNUT |  | Valid until 30.06.2020
35 | IERNUT | IERNUT 2 | 100 | 0 | 0 | 100 | 0 | SPEE IERNUT |  | It does not have environment authorization
36 | IERNUT | IERNUT 3 | 100 | 0 | 0 | 100 | 0 | SPEE IERNUT |  | It does not have environment authorization
37 | IERNUT | IERNUT 4 | 100 | 100 | 93.7 | 0 | 100 | SPEE IERNUT |  | Valid until 30.06.2020
38 | IERNUT | IERNUT 5 | 200 | 200 | 188 | 0 | 200 | SPEE IERNUT |  | Valid until 30.06.2020
39 | IERNUT | IERNUT 6 | 200 | 200 | 188 | 0 | 200 | SPEE IERNUT |  | Valid until 30.06.2020
|  | Total | 4535.6 | 3040 | 2754.956 | 1601.6 | 2934

## Hydro Power
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2017-04-01
Index | Name | Name UD | PI | Ci | Pneta | Rpp | Pd | Administrator
1 | STEJARU (DIMITRIE LEONIDA) | STEJARU 1 | 27.5 | 27.5 | 24.79 | 2.5 | 25 | S.H.BISTRITA
2 | STEJARU (DIMITRIE LEONIDA) | STEJARU 2 | 27.5 | 27.5 | 24.79 | 2.5 | 25 | S.H.BISTRITA
3 | STEJARU (DIMITRIE LEONIDA) | STEJARU 3 | 27.5 | 27.5 | 22.79 | 4.5 | 23 | S.H.BISTRITA
4 | STEJARU (DIMITRIE LEONIDA) | STEJARU 4 | 27.5 | 27.5 | 22.79 | 4.5 | 23 | S.H.BISTRITA
5 | STEJARU (DIMITRIE LEONIDA) | STEJARU 5 | 50 | 50 | 48.02 | 1.5 | 48.5 | S.H.BISTRITA
6 | STEJARU (DIMITRIE LEONIDA) | STEJARU 6 | 50 | 50 | 48.02 | 1.5 | 48.5 | S.H.BISTRITA
7 | PANGARATI | BISTRITA AVAL 1 | 23 | 23 | 22.82 | 0 | 23 | S.H.BISTRITA
8 | VADURI | BISTRITA AVAL 1 | 44 | 44 | 43.68 | 0 | 44 | S.H.BISTRITA
9 | PIATRA NEAMT | BISTRITA AVAL 2 | 11 | 11 | 8.92 | 2 | 9 | S.H.BISTRITA
10 | VANATORI | BISTRITA AVAL 2 | 14 | 14 | 11.08 | 2.8 | 11.2 | S.H.BISTRITA
11 | ROZNOV | BISTRITA AVAL 2 | 14 | 14 | 11.88 | 2 | 12 | S.H.BISTRITA
12 | ZANESTI | BISTRITA AVAL 2 | 14 | 14 | 11.88 | 2 | 12 | S.H.BISTRITA
13 | COSTISA | BISTRITA AVAL 2 | 14 | 14 | 11.88 | 2 | 12 | S.H.BISTRITA
14 | BUHUSI | BISTRITA AVAL 2 | 11 | 11 | 10.96 | 0 | 11 | S.H.BISTRITA
15 | RACOVA | BISTRITA AVAL 3 | 23 | 23 | 23 | 0 | 23 | S.H.BISTRITA
16 | GARLENI | BISTRITA AVAL 3 | 23 | 23 | 22.82 | 0 | 23 | S.H.BISTRITA
17 | LILIECI | BISTRITA AVAL 3 | 23 | 23 | 22.82 | 0 | 23 | S.H.BISTRITA
18 | BACAU | BISTRITA AVAL 3 | 30 | 30 | 27.72 | 2 | 28 | S.H.BISTRITA
19 | GALBENI | BISTRITA AVAL 4 | 29.5 | 29.5 | 29.1 | 0 | 29.5 | S.H.BISTRITA
20 | RACACIUNI | BISTRITA AVAL 4 | 45 | 45 | 44.66 | 0 | 45 | S.H.BISTRITA
21 | BERESTI | BISTRITA AVAL 4 | 43.5 | 43.5 | 43.18 | 0 | 43.5 | S.H.BISTRITA
22 | CALIMANESTI | BISTRITA AVAL 4 | 40 | 40 | 39.7 | 0 | 40 | S.H.BISTRITA
23 | MOVILENI | BISTRITA AVAL 4 | 33.9 | 33.9 | 33.76 | 0 | 33.9 | S.H.BISTRITA
24 | STANCA COSTESTI | BISTRITA AVAL 5 | 15 | 15 | 14.89 | 0 | 15 | S.H.BISTRITA
25 | NEHOIASU | NEHOIASU | 42 | 42 | 40.77 | 0 | 42 | S.H.CURTEA DE ARGES
26 | CINDESTI | BUZAU | 11.45 | 11.2 | 10.82 | 0.25 | 11.2 | S.H.CURTEA DE ARGES
27 | VERNESTI | BUZAU | 11.8 | 11.8 | 11.46 | 0 | 11.8 | S.H.CURTEA DE ARGES
28 | SIMILEASCA | BUZAU | 11.7 | 11.7 | 11.3 | 0 | 11.7 | S.H.CURTEA DE ARGES
29 | DOBRESTI | IALOMITA | 16 | 16 | 16 | 0 | 16 | S.H.CURTEA DE ARGES
30 | MOROIENI | IALOMITA | 15 | 15 | 15 | 0 | 15 | S.H.CURTEA DE ARGES
31 | PALTINU | TELEAJEN | 10.4 | 10.4 | 10.34 | 0 | 10.4 | S.H.CURTEA DE ARGES
32 | SCROPOASA | IALOMITA | 12 | 12 | 11.8 | 0 | 12 | S.H.CURTEA DE ARGES
33 | MANECIU | TELEAJEN | 10 | 10 | 9.88 | 0 | 10 | S.H.CURTEA DE ARGES
34 | IZVOARELE | TELEAJEN | 16 | 16 | 15.8 | 0 | 16 | S.H.CURTEA DE ARGES
35 | VALENII DE MUNTE | TELEAJEN | 10 | 10 | 9.9 | 0 | 10 | S.H.CURTEA DE ARGES
36 | VIDRARU | CORBENI 1+2 | 110 | 110 | 109.7 | 0 | 110 | S.H.CURTEA DE ARGES
37 | VIDRARU | CORBENI 3+4 | 110 | 110 | 109.7 | 0 | 110 | S.H.CURTEA DE ARGES
38 | CUMPANITA | ARGES AVAL | 4.8 | 4.8 | 4.69 | 0 | 4.8 | S.H.CURTEA DE ARGES
39 | VALSAN | ARGES AVAL | 5 | 5 | 4.87 | 0 | 5 | S.H.CURTEA DE ARGES
40 | OIESTI | ARGES AVAL | 15 | 15 | 14.88 | 0 | 15 | S.H.CURTEA DE ARGES
41 | ALBESTI | ARGES AVAL | 15 | 15 | 14.87 | 0 | 15 | S.H.CURTEA DE ARGES
42 | CERBURENI | ARGES AVAL | 15 | 15 | 14.86 | 0 | 15 | S.H.CURTEA DE ARGES
43 | VALEA IASULUI | ARGES AVAL | 15 | 15 | 14.98 | 0 | 15 | S.H.CURTEA DE ARGES
44 | CURTEA DE ARGES | ARGES AVAL | 7.7 | 7.7 | 6.6 | 0 | 7.7 | S.H.CURTEA DE ARGES
45 | NOAPTES | ARGES AVAL | 15.4 | 15.4 | 15.18 | 0 | 15.4 | S.H.CURTEA DE ARGES
46 | ZIGONENI | ARGES AVAL | 15.4 | 15.4 | 15.24 | 0 | 15.4 | S.H.CURTEA DE ARGES
47 | BAICULESTI | ARGES AVAL | 15.4 | 15.4 | 15.24 | 0 | 15.4 | S.H.CURTEA DE ARGES
48 | MANICESTI | ARGES AVAL | 11.5 | 11.5 | 11.42 | 0 | 11.5 | S.H.CURTEA DE ARGES
49 | VALCELE | ARGES AVAL | 15.4 | 15.4 | 15.32 | 0 | 15.4 | S.H.CURTEA DE ARGES
50 | MERISANI | ARGES AVAL | 11.5 | 11.5 | 11.42 | 0 | 11.5 | S.H.CURTEA DE ARGES
51 | BASCOV | ARGES AVAL | 7.7 | 7.7 | 7.62 | 0 | 7.7 | S.H.CURTEA DE ARGES
52 | PITESTI | ARGES AVAL | 7.7 | 7.7 | 7.64 | 0 | 7.7 | S.H.CURTEA DE ARGES
53 | BUDEASA | ARGES AVAL | 11.5 | 11.5 | 11.42 | 0 | 11.5 | S.H.CURTEA DE ARGES
54 | GOLESTI | ARGES AVAL | 8 | 8 | 7.96 | 0 | 8 | S.H.CURTEA DE ARGES
55 | SCHITU GOLESTI | ARGES AVAL | 1.55 | 1.55 | 1.283 | 0.25 | 1.3 | S.H.CURTEA DE ARGES
56 | CALUGARITA | ARGES AVAL | 0.63 | 0 |  | 0.63 | 0 | S.H.CURTEA DE ARGES
57 | LERESTI | ARGES AVAL | 19 | 19 | 18.78 | 0 | 19 | S.H.CURTEA DE ARGES
58 | VOINESTI | ARGES AVAL | 5.2 | 5.2 | 5.05 | 0 | 5.2 | S.H.CURTEA DE ARGES
59 | CLABUCET | DAMBOVITA | 64 | 64 | 49.504 | 14 | 50 | S.H.CURTEA DE ARGES
60 | RUCAR | DAMBOVITA | 23 | 23 | 22.84 | 0 | 23 | S.H.CURTEA DE ARGES
61 | DRAGOSLAVELE | DAMBOVITA | 7.7 | 7.7 | 7.64 | 0 | 7.7 | S.H.CURTEA DE ARGES
62 | FRASIN | DAMBOVITA | 0.6 | 0.6 | 0.6 | 0 | 0.6 | S.H.CURTEA DE ARGES
63 | MOTRU | MOTRU | 50 | 50 | 49.06 | 0 | 50 | S.H.PORTILE DE FIER
64 | TISMANA | TISMANA | 106 | 106 | 104.82 | 0 | 106 | S.H.PORTILE DE FIER
65 | VADENI | JIU | 11.8 | 11.8 | 10.28 | 0.8 | 11 | S.H.PORTILE DE FIER
66 | TG.JIU | JIU | 11.8 | 11.8 | 11.08 | 0 | 11.8 | S.H.PORTILE DE FIER
67 | CIUNGET | LOTRU 1 | 170 | 170 | 169.57 | 0 | 170 | S.H.RAMNICU VALCEA
68 | CIUNGET | LOTRU 2 | 170 | 170 | 169.57 | 0 | 170 | S.H.RAMNICU VALCEA
69 | CIUNGET | LOTRU 3 | 170 | 170 | 169.57 | 0 | 170 | S.H.RAMNICU VALCEA
70 | MALAIA | MALAIA | 18 | 18 | 17.94 | 0 | 18 | S.H.RAMNICU VALCEA
71 | BRADISOR | BRADISOR | 57.5 | 57.5 | 49.504 | 7.5 | 50 | S.H.RAMNICU VALCEA
72 | GURA LOTRULUI | OLT MIJLOCIU | 24.9 | 24.9 | 24.8 | 0 | 24.9 | S.H.RAMNICU VALCEA
73 | TURNU | OLT MIJLOCIU | 70 | 70 | 69.84 | 0 | 70 | S.H.RAMNICU VALCEA
74 | CALIMANESTI | OLT MIJLOCIU | 38 | 38 | 37.88 | 0 | 38 | S.H.RAMNICU VALCEA
75 | DAESTI | OLT MIJLOCIU | 37 | 37 | 36.88 | 0 | 37 | S.H.RAMNICU VALCEA
76 | Rm.VALCEA | OLT MIJLOCIU | 46 | 46 | 45.84 | 0 | 46 | S.H.RAMNICU VALCEA
77 | RAURENI | OLT MIJLOCIU | 48 | 48 | 47.86 | 0 | 48 | S.H.RAMNICU VALCEA
78 | GOVORA | OLT MIJLOCIU | 45 | 45 | 44.86 | 0 | 45 | S.H.RAMNICU VALCEA
79 | BABENI | OLT MIJLOCIU | 37 | 37 | 36.86 | 0 | 37 | S.H.RAMNICU VALCEA
80 | IONESTI | OLT MIJLOCIU | 38 | 38 | 37.88 | 0 | 38 | S.H.RAMNICU VALCEA
81 | ZAVIDENI | OLT MIJLOCIU | 38 | 38 | 37.86 | 0 | 38 | S.H.RAMNICU VALCEA
82 | DRAGASANI | OLT MIJLOCIU | 45 | 45 | 44.86 | 0 | 45 | S.H.RAMNICU VALCEA
83 | STREJESTI | OLT INFERIOR | 50 | 50 | 48.86 | 0 | 50 | S.H.RAMNICU VALCEA
84 | ARCESTI | OLT INFERIOR | 38 | 38 | 34.791 | 3 | 35 | S.H.RAMNICU VALCEA
85 | SLATINA | OLT INFERIOR | 26 | 26 | 12.85 | 13 | 13 | S.H.RAMNICU VALCEA
86 | IPOTESTI | OLT INFERIOR | 53 | 53 | 52.72 | 0 | 53 | S.H.RAMNICU VALCEA
87 | DRAGANESTI | OLT INFERIOR | 53 | 53 | 52.72 | 0 | 53 | S.H.RAMNICU VALCEA
88 | FRUNZARU | OLT INFERIOR | 53 | 53 | 52.72 | 0 | 53 | S.H.RAMNICU VALCEA
89 | RUSANESTI | OLT INFERIOR | 53 | 53 | 52.76 | 0 | 53 | S.H.RAMNICU VALCEA
90 | IZBICENI | OLT INFERIOR | 53 | 53 | 52.76 | 0 | 53 | S.H.RAMNICU VALCEA
91 | PORTILE DE FIER I | PORTILE DE FIER 1 | 194.4 | 194.4 | 193.465 | 0 | 194.4 | S.H.PORTILE DE FIER
92 | PORTILE DE FIER I | PORTILE DE FIER 2 | 194.4 | 194.4 | 193.465 | 0 | 194.4 | S.H.PORTILE DE FIER
93 | PORTILE DE FIER I | PORTILE DE FIER 3 | 194.4 | 194.4 | 193.465 | 0 | 194.4 | S.H.PORTILE DE FIER
94 | PORTILE DE FIER I | PORTILE DE FIER 4 | 194.4 | 194.4 | 193.465 | 0 | 194.4 | S.H.PORTILE DE FIER
95 | PORTILE DE FIER I | PORTILE DE FIER 5 | 194.4 | 194.4 | 193.465 | 0 | 194.4 | S.H.PORTILE DE FIER
96 | PORTILE DE FIER I | PORTILE DE FIER 6 | 194.4 | 194.4 | 193.465 | 0 | 194.4 | S.H.PORTILE DE FIER
97 | PORTILE DE FIER II | PORTILE DE FIER II 1+2 | 58.4 | 58.4 | 31.2 | 27 | 31.4 | S.H.PORTILE DE FIER
98 | PORTILE DE FIER II | PORTILE DE FIER II 3+4 | 62.8 | 62.8 | 62.4 | 0 | 62.8 | S.H.PORTILE DE FIER
99 | PORTILE DE FIER II | PORTILE DE FIER II 5+6 | 62.8 | 62.8 | 62.4 | 0 | 62.8 | S.H.PORTILE DE FIER
100 | PORTILE DE FIER II | PORTILE DE FIER II 7+8 | 62.8 | 62.8 | 62.4 | 0 | 62.8 | S.H.PORTILE DE FIER
101 | GOGOSU | GOGOSU | 54 | 54 | 53.32 | 0 | 54 | S.H.PORTILE DE FIER
102 | REMETI | REMU | 100 | 100 | 95.47 | 4 | 96 | S.H.CLUJ
103 | MUNTENI I | REMU | 58 | 58 | 57.4 | 0 | 58 | S.H.CLUJ
104 | LUGASU | CRIS AVAL | 18 | 18 | 9.9 | 8 | 10 | S.H.CLUJ
105 | TILEAGD | CRIS AVAL | 18 | 18 | 17.78 | 0 | 18 | S.H.CLUJ
106 | SACADAT | CRIS AVAL | 10 | 10 | 9.94 | 0 | 10 | S.H.CLUJ
107 | FUGHIU | CRIS AVAL | 10 | 10 | 9.94 | 0 | 10 | S.H.CLUJ
108 | RAUL MARE | RAUL MARE 1 | 167.5 | 167.5 | 110.89 | 55.5 | 112 | S.H.HATEG
109 | RAUL MARE | RAUL MARE 2 | 167.5 | 167.5 | 99.0099 | 67.5 | 100 | S.H.HATEG
110 | CLOPOTIVA | RAUL MARE AVAL | 14 | 14 | 9.9008 | 4 | 10 | S.H.HATEG
111 | OSTROVU MIC | RAUL MARE AVAL | 15.9 | 15.9 | 9.9 | 5.9 | 10 | S.H.HATEG
112 | OSTROVU MARE | RAUL MARE AVAL | 15.9 | 15.9 | 15.88 | 0 | 15.9 | S.H.HATEG
113 | CARNESTI I | RAUL MARE AVAL | 15.9 | 15.9 | 15.88 | 0 | 15.9 | S.H.HATEG
114 | CARNESTI II | RAUL MARE AVAL | 11.5 | 11.5 | 11.48 | 0 | 11.5 | S.H.HATEG
115 | PACLISA | RAUL MARE AVAL | 15.9 | 15.9 | 12.87 | 2.9 | 13 | S.H.HATEG
116 | TOTESTI I | RAUL MARE AVAL | 15.9 | 15.9 | 15.88 | 0 | 15.9 | S.H.HATEG
117 | TOTESTI II | RAUL MARE AVAL | 15.9 | 15.9 | 15.88 | 0 | 15.9 | S.H.HATEG
118 | HATEG | RAUL MARE AVAL | 15.9 | 15.9 | 12.87 | 2.9 | 13 | S.H.HATEG
119 | ORLEA | RAUL MARE AVAL | 11.5 | 11.5 | 11.48 | 0 | 11.5 | S.H.HATEG
120 | SUBCETATE | RAUL MARE AVAL | 12.22 | 12.22 | 12.16 | 0 | 12.22 | S.H.HATEG
121 | PLOPI | RAUL MARE AVAL | 12 | 12 | 12 | 0 | 12 | S.H.HATEG
122 | RUIENI | RUIENI 1 | 70 | 70 | 68.87 | 0 | 70 | S.H.HATEG
123 | RUIENI | RUIENI 2 | 70 | 70 | 68.87 | 0 | 70 | S.H.HATEG
124 | RAUL ALB | RAUL ALB | 41 | 41 | 38.2888 | 2.2 | 38.8 | S.H.HATEG
125 | GALCEAG | GALCEAG 1 | 75 | 75 | 74.19 | 0 | 75 | S.H.SEBES
126 | GALCEAG | GALCEAG 2 | 75 | 75 | 74.52 | 0 | 75 | S.H.SEBES
127 | SUGAG | SUGAG 1 | 75 | 75 | 74.49 | 0 | 75 | S.H.SEBES
128 | SUGAG | SUGAG 2 | 75 | 75 | 74.55 | 0 | 75 | S.H.SEBES
129 | SASCIORI | SEBES AVAL | 42 | 42 | 41.48 | 0 | 42 | S.H.SEBES
130 | PETRESTI | SEBES AVAL | 4.25 | 4.25 | 3.698 | 0.07 | 4.18 | S.H.SEBES
131 | MARISELU | MARISELU 1 | 73.5 | 73.5 | 69.3069 | 3.5 | 70 | S.H.CLUJ
132 | MARISELU | MARISELU 2 | 73.5 | 73.5 | 72.86 | 0 | 73.5 | S.H.CLUJ
133 | MARISELU | MARISELU 3 | 73.5 | 73.5 | 72.86 | 0 | 73.5 | S.H.CLUJ
134 | TARNITA | SOMES AVAL | 45 | 45 | 44.7 | 0 | 45 | S.H.CLUJ
135 | SOMES CALD | SOMES AVAL | 12 | 12 | 11.91 | 0 | 12 | S.H.CLUJ
136 | COLIBITA | COLIBITA | 21 | 21 | 20.87 | 0 | 21 | S.H.CLUJ
137 | VOILA | OLT SUPERIOR | 14.2 | 14.2 | 14.14 | 0 | 14.2 | S.H.SEBES
138 | VISTEA | OLT SUPERIOR | 14.2 | 14.2 | 14.14 | 0 | 14.2 | S.H.SEBES
139 | ARPASU | OLT SUPERIOR | 14.2 | 14.2 | 14.14 | 0 | 14.2 | S.H.SEBES
140 | SCOREIU | OLT SUPERIOR | 14.2 | 14.2 | 14.14 | 0 | 14.2 | S.H.SEBES
141 | AVRIG | OLT SUPERIOR | 14.2 | 14.2 | 14.12 | 0 | 14.2 | S.H.SEBES
142 | RACOVITA | OLT SUPERIOR | 31.5 | 31.5 | 31.4 | 0 | 31.5 | S.H.SEBES
|  | Total | 6093.9 | 6093.02 | 5797.8864 | 252.7 | 5841.2

## Wind Power
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2017-04-01
Index | Name | Name UD | PI | Ci | Pneta | Rpp | Pd | Administrator
1 | ELECTRICA SERV 1 | ESERV1 | 8 | 8 | 8 | 0 | 8 | ELECTRICA SERV
2 | ELECTRICA SERV 2 | ESERV2 | 6 | 6 | 6 | 0 | 6 | ELECTRICA SERV
3 | VARLEZI | VARLEZI | 6 | 6 | 5.94 | 0 | 6 | EOL ENERGY MOLDOVA
4 | VUTCANI | VUTC | 24 | 24 | 23.62 | 0 | 24 | VS WIND FARM
5 | SCHELA 3 | SCHELA3 | 8 | 8 | 7.792 | 0 | 8 | SMART CLEAN POWER
6 | GEMENELE | GEME | 48.3 | 48.3 | 47.5 | 0 | 48.3 | BRAILA WINDS
7 | CUDALBI | CUDALBI | 10 | 10 | 10 | 0 | 10 | BRIDGECONSTRUCT
8 | CORNI | CORNI | 70 | 70 | 68.5 | 0 | 70 | CORNI EOLIAN SRL
9 | INSURATEI | INSURATEI | 10 | 10 | 9.655 | 0 | 10 | SOFT GROUP
10 | CUZA VODA | CUZAVODA | 6 | 6 | 5.94 | 0 | 6 | GREEN ENERGY FARM
11 | PECHEA 2 | PECHEA2 | 6 | 6 | 5.94 | 0 | 6 | DAN HOLDING MGM
12 | ALBESTI | ALBE | 28 | 28 | 27.23 | 0 | 28 | SIBIOARA WIND FARM
13 | BALENI | BALE | 50 | 50 | 50 | 0 | 50 | ALIZEU EOLIAN
14 | DUDESTI | DUDESTI | 8 | 8 | 7.936 | 0 | 8 | KELAVENT CHARLIE
15 | FRUMUSITA 1 (APOLO) | FRUMUSITA1 | 6 | 6 | 5.92 | 0 | 6 | SMARTBREEZE
16 | VANATORI | VANATORI | 10 | 10 | 9 | 1 | 9 | CATALAN ELECTRIC
17 | BAIA 4 | BAIA4 | 10 | 10 | 9.8 | 0 | 10 | HOLROM RENEWABLE ENERGY
18 | FANTANELE EST | FANTE | 85 | 85 | 84.1 | 0 | 85 | MW TEAM INVEST
19 | FANTANELE VEST | FANTV | 262.5 | 262.5 | 259.72 | 0 | 262.5 | SC TOMIS
20 | COGEALAC | COGEALAC | 252.5 | 252.5 | 249.83 | 0 | 252.5 | OVIDIU DEVELOPMENT
21 | MIREASA 2 | MIREASA2 | 10 | 10 | 10 | 0 | 10 | ECO POWER WIND
22 | SILISTEA 1 | SILI | 25 | 25 | 24.7 | 0 | 25 | ROMCONSTRUCT TOP
23 | CERNAVODA 1 | CECR1 | 69 | 69 | 68.1 | 0 | 69 | CERNAVODA POWER
24 | CERNAVODA 2 | CECR2 | 69 | 69 | 68.15 | 0 | 69 | CERNAVODA POWER
25 | SARICHIOI | SARI | 33 | 33 | 32.5 | 0 | 33 | VS WIND FARM
26 | PESTERA | PTER | 90 | 90 | 89.01 | 0 | 90 | PESTERA WIND FARM
27 | DOROBANTU | DORB | 45 | 45 | 42.72 | 0 | 45 | OMV PETROM WIND POWER
28 | SALBATICA 1 | SALB1 | 70 | 70 | 68.95 | 0 | 70 | ENEL GREEN POWER
29 | SALBATICA 2 | SALB2 | 70 | 70 | 68.95 | 0 | 70 | BLUE LINE VALEA NUCARILOR
30 | CORUGEA | CORG | 70 | 70 | 69 | 0 | 70 | ENEL GREEN POWER
31 | VALEA NUCARILOR | VANU | 34 | 34 | 33.49 | 0 | 34 | ENEL GREEN
32 | TORTOMANU 2 | TORTOMANU2 | 8 | 8 | 8 | 0 | 8 | ELEKTRA GREEN POWER
33 | CASIMCEA 2 | CASIMCEA2 | 6 | 6 | 5.8 | 0.2 | 5.8 | INTERTRANS KARLA
34 | TOPLICENI | TOPLICENI | 10 | 10 | 10 | 0 | 10 | M 2008
35 | MIHAI VITEAZU 1 | MIHV1 | 80 | 80 | 78 | 0 | 80 | EOLICA DOBROGEA
36 | BAIA 3 | BAIA3 | 10 | 10 | 9.96 | 0 | 10 | BLUE PLANET INVESTMENTS
37 | GREBANU | GREB | 10 | 10 | 9.9 | 0.1 | 9.9 | SC EOLIAN CENTER
38 | CAS SUD 2 | CAS SUD2 | 75.9 | 75.9 | 73.6 | 0 | 75.9 | SC CAS REGENARABILE SRL
39 | ALPHA WIND NORD 1+3 | ALPHAWN1 | 81.3 | 81.3 | 78.95 | 0 | 81.3 | SC ALPHA WIND SRL
40 | BABADAG I | BABG1 | 33.6 | 33.6 | 33 | 0 | 33.6 | EVIVA NALBANT
41 | BABADAG II | BABA2 | 8.4 | 8.4 | 8.2 | 0 | 8.4 | EVIVA NALBANT
42 | MIHAI VITEAZU 2 | MIHV 2 | 13.8 | 13.8 | 13.8 | 0 | 13.8 | WIND FARM MVI
43 | TARGUSOR | TARG | 119.6 | 119.6 | 119.49 | 0 | 119.6 | ENEL GREEN POWER
44 | TOPOLOG | TOPO | 27 | 27 | 26.62 | 0 | 27 | ENEL GREEN POWER
45 | PANTELIMON 3 | PANT | 7.5 | 7.5 | 4.8 | 2.7 | 4.8 | EOLIAN PROJECT
46 | PANTELIMON | PANT | 123 | 123 | 122.754 | 0 | 123 | EWIND
47 | COBADIN 1 | COBA | 26 | 26 | 25.58 | 0 | 26 | EDP RENEWABLES
48 | TORTOMANU 3 | TORTOMANU3 | 8 | 8 | 8 | 0 | 8 | ELEKTRA WIND POWER
49 | PECINEAGA 2 | PECINEAGA2 | 6 | 6 | 6 | 0 | 6 | WIND PARK INVEST
50 | NICOLAE BALCESCU-TARGUSOR | NICOLAE BALCESCU-TARGUSOR | 59.8 | 59.8 | 59.748 | 0 | 59.8 | ENEL GREEN POWER
51 | VENTUS NORD 2 | VENTUS | 69 | 69 | 68.65 | 0 | 69 | VENTUS RENEW ROMANIA
52 | NICOLAE BALCESCU 1 | NBAL1 | 10 | 10 | 9.8 | 0 | 10 | GENERAL CONCRETE
53 | HORIA | HORIA | 7.5 | 7.5 | 7.446 | 0 | 7.5 | HORIA GREEN
54 | CHIRNOGENI | CHIR | 80 | 80 | 76 | 4 | 76 | EP WIND PROJECT (ROM) SIX
55 | STEJARU | STEJ | 34.5 | 34.5 | 34 | 0.5 | 34 | ECOENERGIA
56 | CAIERAC BESTEPE 2 | BESTEPE2 | 6.15 | 6.15 | 6.136 | 0 | 6.15 | SC BLUE LINE ENERGY
57 | TOPOLOG-DOROBANTU | TOPDOR | 84 | 84 | 84 | 0 | 84 | LAND POWER
58 | MIHAI BRAVU | MIHBRV | 6 | 6 | 5.94 | 0 | 6 | EOL ENERGY
59 | CERNA | CERNA | 17.5 | 17.5 | 13.79 | 3.5 | 14 | ENERGIA VERDE VENTUNO
60 | NALBANT | NALB | 13.75 | 13.75 | 13.4 | 0 | 13.75 | ENEX
61 | CRUCEA NORD | CRUCEA | 108 | 108 | 108 | 0 | 108 | CRUCEA WIND FARM
62 | FACAENI | FACAENI | 132 | 132 | 132 | 0 | 132 | IALOMITA POWER
63 | MIREASA 1 | MIREASA1 | 50 | 50 | 48.8 | 0 | 50 | MIREASA ENERGIES
64 | POGOANELE | POGO | 8 | 8 | 7.936 | 0 | 8 | KELAVENT ECHO
65 | CASIMCEA 1 | CASIMCEA 1 | 10 | 10 | 10 | 0 | 10 | ELECTRICOM
66 | ORAVITA | ORAV | 9 | 9 | 9 | 0 | 9 | LC BUSINESS
67 | SFANTA ELENA | SFEL | 48.3 | 48.3 | 48.258 | 0 | 48.3 | ENEL GREEN POWER
68 | Babadag III | BABG3 | 30 | 30 | 30 | 0 | 30 | Ground Investment Corp
69 | CURCUBATA MARE | Curcubata Mare | 15 | 15 | 11.5 | 3.5 | 11.5 | ENERGO PROIECT
|  | Total | 2951.9 | 2951.9 | 2904.851 | 15.5 | 2936.4

## Biomass
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2017-04-01
Index | Name | Name UD | PI | Ci | Pneta | Rpp | Pd | Administrator
1 | BIOENERGY SUCEAVA | BIOENERGY SUCEAVA | 29.65 | 29.65 | 27.65 | 0 | 29.65 | BIOENERGY SUCEAVA
|  | Total | 29.65 | 29.65 | 27.65 | 0 | 29.65

## Solar Power
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2017-04-01
Index | Name | Name UD | PI | Ci | Pneta | Rpp | Pd | Administrator
1 | PAULESTI | PAUL2 | 6.824 | 6.824 | 5.8 | 1.024 | 5.8 | BLUE SAND INVESTMENT
2 | STANESTI | STANESTI | 7.5 | 7.5 | 6.8 | 0.7 | 6.8 | LONG BRIDGE MILENIUM
3 | ISACCEA | RA-RA | 8.749 | 8.749 | 6.3 | 2.449 | 6.3 | RA-RA PARC
4 | UIESTI 2 | UIESTI II | 8.03 | 8.03 | 7.63 | 0.4 | 7.63 | MARTIN SOLAR ENERGY
5 | IZVORU | IZVORU | 8.8 | 8.8 | 7.81 | 0.99 | 7.81 | POWER L.I.V.E. ONE
6 | VIERU | VIERU | 6.45 | 6.45 | 5.6 | 0.85 | 5.6 | SIMICO PROD FACTORY
7 | SLOBOZIA | SLOB | 38.4 | 38.4 | 38.4 | 0 | 38.4 | LJG GREEN SOURCE ENERGY ALPHA
8 | FRASINET 2 | FRASI2 | 8.28 | 8.28 | 7.94 | 0.34 | 7.94 | SOLAR ELECTRIC FRASINET
9 | UIESTI 1 | UIESTI | 9.46 | 9.46 | 8.99 | 0.47 | 8.99 | TINMAR GREEN ENERGY
10 | COSTESTII DIN VALE | COSTESTI | 7.47 | 7.47 | 7.396 | 0 | 7.47 | ECOSFER ENERGY
11 | PANTAZI | PANTAZI | 6 | 6 | 5.85 | 0.145 | 5.855 | TIS ENERGY
12 | BABA ANA | BANA | 7.4 | 7.4 | 6.5 | 0.9 | 6.5 | GREENLIGHT SOLUTIONS
13 | IZVOARELE 1 | FIZVO | 17.28 | 17.28 | 17.28 | 0 | 17.28 | LJG GREEN SOURCE ENERGY BETA
14 | GOGOSARI | GOGOSARI | 7.8 | 7.8 | 7 | 0.8 | 7 | SPECTRUM TECH
15 | IZVOARELE 2 | FIZVO2 | 42.5 | 42.5 | 42.5 | 0 | 42.5 | LJG GREEN SOURCE ENERGY GAMMA
16 | BERCENI 1 | BERCENI1 | 9.8 | 9.8 | 8.5 | 1.3 | 8.5 | ENEL GREEN POWER
17 | BERCENI 2 | BERCENI2 | 9.4 | 9.4 | 8.2 | 1.2 | 8.2 | ENEL GREEN POWER
18 | COLIBASI | COLIBASI | 6.5 | 6.5 | 5.4 | 1.1 | 5.4 | ENEL GREEN POWER
19 | ARICESTII RAHTIVANI 6 | ARICESTI6 | 8 | 8 | 6.8 | 1.2 | 6.8 | CASA CRANG
20 | ARICESTII RAHTIVANI 4 | ARICESTI4 | 8.496 | 8.496 | 6.8 | 1.696 | 6.8 | FORT GREEN ENERGY
21 | ARICESTII RAHTIVANI 5 | ARICESTI5 | 8 | 8 | 6.8 | 1.2 | 6.8 | SOLAR FUTURE ENERGY
22 | CHIRIACU | CHIRIACU | 6 | 6 | 5.636 | 0.364 | 5.636 | LEMAR GRUP
23 | ARICESTII RAHTIVANI 3 | ARAH3 | 9.457 | 9.457 | 7 | 2.457 | 7 | VAROKUB ENERGY DEVELOPMENT
24 | BUTIMANU | BUTI | 6.09 | 6.09 | 5.375 | 0.69 | 5.4 | KENTAX ENERGY
25 | PETROTEL LUKOIL | PETROTEL | 9 | 9 | 8.63 | 0.37 | 8.63 | SC LUKOIL ENERGY & GAS ROMANIA S.R.L.
26 | LEHLIU 3 | LEHL3 | 9.196 | 9.196 | 7.2 | 1.996 | 7.2 | VRISH PRO IVESTMENTS
27 | FUNDULEA | FUNDULEA | 6.285 | 6.285 | 5.85 | 0.435 | 5.85 | WDP DEVELOPMENT RO
28 | CORABIA | CORABIA | 7 | 7 | 6 | 1 | 6 | CORABIA SOLAR
29 | DABULENI | DABULENI | 7.5 | 7.5 | 6.5 | 1 | 6.5 | POTELU SOLAR
30 | GROJDIBODU | GROJDIBODU | 9.96 | 9.96 | 8.8 | 1.16 | 8.8 | STUDINA SOLAR
31 | CUJMIR 1 | CUJMIR1 | 6 | 6 | 5.25 | 0.75 | 5.25 | CUJMIR SOLAR
32 | CUJMIR 2 | CUJMIR2 | 6 | 6 | 5.25 | 0.75 | 5.25 | CUJMIR SOLAR
33 | VANJU MARE | VANJUMARE | 9.36 | 9.36 | 7.8 | 1.56 | 7.8 | VANJU MARE SOLAR
34 | OSICA DE SUS | OSICA | 7.5 | 7.5 | 6.8 | 0.7 | 6.8 | ARINNA DEVELOPMENT
35 | TG CARBUNESTI 1 - NORD | TGCARB | 9.9877 | 9.9877 | 9.84 | 0.14767 | 9.84 | EYE MALL
36 | TG CARBUNESTI 2 - SUD | TG CARBUNESTI 2 - SUD | 9.9877 | 9.9877 | 9.84 | 0.14767 | 9.84 | EYE MALL
37 | SIMNICUL DE SUS | SIMN | 7.92 | 7.92 | 7.5 | 0.39 | 7.53 | SOLPRIM
38 | BURILA MICA | BURILA | 7.491 | 7.491 | 6.6 | 0.867 | 6.624 | FOTON EPSILON
39 | PODARI | PODARI | 10 | 10 | 8.145 | 1.855 | 8.145 | ENEL GREEN POWER MANAGEMENT BUILDINGS COMPANY
40 | CARACAL | CARACAL | 6.4 | 6.4 | 5.76 | 0.64 | 5.76 | CARACAL SOLAR ALPHA
41 | LEU 1 | LEU | 5.44 | 5.44 | 4.3 | 0.99 | 4.45 | XALANDINE ENERGY
42 | BOBICESTI - ROMKUMULO | BOBIC | 9.54 | 9.54 | 8.2 | 1.34 | 8.2 | ROMKUMULO
43 | GOIESTI | GOIESTI | 5.24 | 5.24 | 4.7 | 0.43 | 4.81 | IZVOR DE LUMINA
44 | MOZACENI 1 | MOZACENI 1 | 9 | 9 | 5.45 | 3.55 | 5.45 | SUN ENERGY COMPLETE
45 | SEBIS 2 | SEBIS2 | 7.5 | 7.5 | 6.54 | 0.96 | 6.54 | GAMA ENERGY
46 | SEBIS 1 | SEBIS1 | 7.5 | 7.5 | 6.54 | 0.96 | 6.54 | DELTA ENERGY
47 | CIUPERCENI | FCIUP | 44.8 | 44.8 | 39 | 5.69 | 39.11 | GPSB SOLARIS 48
48 | UCEA DE SUS 1 | UCEA1 | 28 | 28 | 28 | 0 | 28 | GREEN VISION SEVEN
49 | UCEA DE SUS 2 | UCEA2 | 18 | 18 | 18 | 0 | 18 | GREEN VISION SEVEN
50 | HARMAN 1 | HARMAN | 6.6 | 6.6 | 5.5 | 1.1 | 5.5 | CLUE SOLAR
51 | MIERCUREA SIBIULUI | MSIBIU | 23.09 | 23.09 | 21 | 2.09 | 21 | XPV
52 | HOGHIZ | HOGHIZ | 16.772 | 16.772 | 14.4059 | 2.222 | 14.55 | VIS SOLARIS 2011
53 | URZICUTA 1 | URZICUTA 1 | 7.6704 | 7.6704 | 6.3 | 1.3704 | 6.3 | SOLARIA GREEN ENERGY
54 | IZVIN | IZVIN | 6 | 6 | 4.865 | 1.135 | 4.865 | URDEL ENERGY
55 | ONESTI | ONESTI | 17.28 | 17.28 | 15.9 | 1.38 | 15.9 | SKYBASE ENERGY
|  | Total | 604.7057 | 604.7057 | 546.7729 | 57.2607 | 547.445

## Nuclear Fuels
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2017-04-01
Index | Name | Name UD | PI | Ci | Pneta | Rpp | Pd | Administrator
1 | CERNAVODA | U 1 | 706.5 | 706.5 | 650 | 0 | 706.5 | Sucursala CNE CERNAVODA
2 | CERNAVODA | U 2 | 706.5 | 706.5 | 650 | 0 | 706.5 | Sucursala CNE CERNAVODA
|  | Total | 1413 | 1413 | 1300 | 0 | 1413

## Definitions
DEFINITIONS
Pi = Installed power – rated active power specified in the technical documentation of the manufacturer, marked on the equipment plate or given by the manufacturer. Ci = Installed capacity – is equal to the installed power (Pi) of generator, for those in operation or 0 MW for mothballed units.
Pneta = Net Active Power – the unit active power delivered to the electricity network.It’s the difference between the available power and: the auxiliary services consumption plus the unit transformer losses.
Rpp = Permanent unavailable power – difference between installed capacity (Pi) of power plants and available power (Pd), if this reduction in power can not be eliminated in a shorter period of one year. For mothballed units the reduction in power is equal with installed power (Pi).
Pd = Available power – gross lasting maximum active power that a generating unit can provide under safe mechanical and electric conditions. Pd = Pi - Rpp