## Fossil Fuels-Coal
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2016-10-01
Index | UDId | UdName | PI | Ci | Pneta | Rpp | Pd | Gestionar | Observation
1 | 1 | BACAU 1 | 60 | 0 |  | 60 | 0 | THERMOENERGY GROUP BACAU
2 | 10 | ISALNITA 7 | 315 | 315 | 292 | 8 | 307 | CEO SE ISALNITA
3 | 11 | ISALNITA 8 | 315 | 315 | 280 | 15 | 300 | CEO SE ISALNITA
4 | 12 | ORADEA 1 | 25 | 25 | 22 | 0 | 25 | Societatea Termoficare Oradea SA | Changed the administration.
5 | 13 | ORADEA 2 | 25 | 25 | 21 | 0 | 25 | Societatea Termoficare Oradea SA | Changed the administration.
6 | 15 | ORADEA 5 | 50 | 50 | 44 | 0 | 50 | Societatea Termoficare Oradea SA | Changed the administration.
7 | 16 | ROVINARI 3 | 330 | 330 | 294 | 10 | 320 | CEO SE ROVINARI
8 | 17 | ROVINARI 4 | 330 | 330 | 289 | 10 | 320 | CEO SE ROVINARI
9 | 18 | ROVINARI 5 | 330 | 0 | 0 | 330 | 0 | CEO SE ROVINARI | Reabilitation
10 | 19 | ROVINARI 6 | 330 | 330 | 294 | 10 | 320 | CEO SE ROVINARI
11 | 2 | CRAIOVA 1 | 150 | 150 | 122 | 9 | 141 | CEO SE CRAIOVA
12 | 20 | TURCENI 1 | 330 | 0 | 0 | 330 | 0 | CEO SE TURCENI
13 | 21 | TURCENI 3 | 330 | 330 | 294 | 15 | 315 | CEO SE TURCENI
14 | 22 | TURCENI 4 | 330 | 330 | 298 | 15 | 315 | CEO SE TURCENI
15 | 23 | TURCENI 5 | 330 | 330 | 298 | 15 | 315 | CEO SE TURCENI
16 | 24 | TURCENI 6 | 330 | 0 |  | 330 | 0 | CEO SE TURCENI
17 | 25 | TURCENI 7 | 330 | 330 | 302 | 15 | 315 | CEO SE TURCENI
18 | 26 | IASC | 60 | 60 | 42.5 | 5 | 55 | VEOLIA ENERGIE ROMANIA SA | P turbine 50MW
19 | 27 | MINTIA 2 | 210 | 210 | 180 | 15 | 195 | ELECTROCENTRALE DEVA
20 | 28 | MINTIA 3 | 235 | 235 | 210 | 10 | 225 | ELECTROCENTRALE DEVA
21 | 29 | MINTIA 4 | 210 | 210 | 180 | 15 | 195 | ELECTROCENTRALE DEVA
22 | 3 | CRAIOVA 2 | 150 | 150 | 122 | 9 | 141 | CEO SE CRAIOVA
23 | 30 | MINTIA 5 | 210 | 210 | 180 | 15 | 195 | ELECTROCENTRALE DEVA
24 | 31 | MINTIA 6 | 210 | 210 | 180 | 15 | 195 | ELECTROCENTRALE DEVA
25 | 32 | PAROSENI | 150 | 150 | 133 | 0 | 150 | ELECTROCENTRALE PAROSENI
26 | 4 | DROBETA 1 | 60 | 60 | 50 | 0 | 60 | ROMAG TERMO | 39<Pd<63 MW
27 | 5 | DROBETA 4 | 60 | 60 | 50 | 0 | 60 | ROMAG TERMO | Pr turb=50MW
28 | 6 | DROBETA 5 | 60 | 60 | 50 | 0 | 60 | ROMAG TERMO | Pr turb=50MW
29 | 7 | DROBETA 6 | 60 | 60 | 20 | 35 | 25 | ROMAG TERMO | Pr turb=25MW
30 | 8 | GOVORA 3 | 50 | 50 | 41 | 0 | 50 | CET GOVORA
31 | 9 | GOVORA 4 | 50 | 50 | 41 | 0 | 50 | CET GOVORA
32 |  | Total | 6015 | 4965 | 4329.5 | 1291 | 4724

## Fossil Fuels-Natural Gas
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2016-10-01
Index | UDId | UdName | PI | Ci | Pneta | Rpp | Pd | Gestionar | Observation
1 | 35 | ARAD | 60 | 60 | 48 | 3 | 57 | SC CET ARAD SA
2 | 36 | BORZESTI 7 | 210 | 210 | 194 | 0 | 210 | SE BORZESTI
3 | 37 | BRAILA 1 | 227 | 0 | 0 | 227 | 0 | CEO SE BRAILA
4 | 38 | BRAILA 2 | 210 | 0 | 0 | 210 | 0 | CEO SE BRAILA
5 | 39 | BRAZI 5 | 105 | 105 | 98 | 0 | 105 | VEOLIA ENERGIE ROMANIA SA
6 | 40 | BRAZI 6 | 105 | 105 | 98 | 0 | 105 | VEOLIA ENERGIE ROMANIA SA
7 | 41 | BRAZI 8 | 25 | 25 | 24 | 0 | 25 | VEOLIA ENERGIE ROMANIA SA
8 | 42 | BUCURESTI SUD 1 | 50 | 0 |  | 50 | 0 | ELECTROCENTRALE BUCURESTI | Out of operatin
9 | 43 | BUCURESTI SUD 2 | 50 | 0 |  | 50 | 0 | ELECTROCENTRALE BUCURESTI | Out of operation
10 | 44 | BUCURESTI SUD 3 | 100 | 100 | 84 | 0 | 100 | ELECTROCENTRALE BUCURESTI
11 | 45 | BUCURESTI SUD 4 | 100 | 100 | 84 | 0 | 100 | ELECTROCENTRALE BUCURESTI
12 | 46 | BUCURESTI SUD 5 | 125 | 125 | 102 | 10 | 115 | ELECTROCENTRALE BUCURESTI
13 | 47 | BUCURESTI SUD 6 | 125 | 0 |  | 125 | 0 | ELECTROCENTRALE BUCURESTI | Out of operation
14 | 48 | BUCURESTI VEST 1 | 125 | 0 |  | 125 | 0 | ELECTROCENTRALE BUCURESTI
15 | 49 | BUCURESTI VEST 2 | 125 | 125 | 102.7 | 10 | 115 | ELECTROCENTRALE BUCURESTI | Can be put back in operation with in max 48h
16 | 50 | BUCURESTI VEST C.C. 3+4 | 195 | 195 | 185 | 0 | 195 | ELECTROCENTRALE BUCURESTI
17 | 51 | GALATI 3 | 105 | 105 | 96 | 0 | 105 | SC ELECTROCENTRALE GALATI SA
18 | 52 | GALATI 4 | 60 | 60 | 58 | 0 | 60 | SC ELECTROCENTRALE GALATI SA
19 | 53 | GALATI 5 | 105 | 105 | 96 | 0 | 105 | SC ELECTROCENTRALE GALATI SA
20 | 54 | GALATI 6 | 105 | 105 | 96 | 0 | 105 | SC ELECTROCENTRALE GALATI SA
21 | 55 | GROZAVESTI 1 | 50 | 50 | 41 | 2 | 48 | ELECTROCENTRALE BUCURESTI
22 | 56 | GROZAVESTI 2 | 50 | 50 | 41 | 2 | 48 | ELECTROCENTRALE BUCURESTI
23 | 57 | IASI 12 | 28.6 | 0 | 0 | 28.6 | 0 | VEOLIA ENERGIE ROMANIA SA | Conservation
24 | 58 | IASI 3 | 60 | 0 |  | 60 | 0 | Unitatea administrativ teritoriala MUNICIPIUL IASI | Conservation
25 | 59 | IASI 4 | 60 | 0 |  | 60 | 0 | Unitatea administrativ teritoriala MUNICIPIUL IASI | Conservation
26 | 60 | IERNUT 1 | 100 | 100 | 93.7 | 0 | 100 | SPEE IERNUT
27 | 61 | IERNUT 2 | 100 | 0 | 0 | 100 | 0 | SPEE IERNUT | Conservation
28 | 62 | IERNUT 3 | 100 | 0 | 0 | 100 | 0 | SPEE IERNUT | Conservation
29 | 63 | IERNUT 4 | 100 | 100 | 93.7 | 0 | 100 | SPEE IERNUT
30 | 64 | IERNUT 5 | 200 | 200 | 188 | 0 | 200 | SPEE IERNUT
31 | 65 | IERNUT 6 | 200 | 200 | 188 | 0 | 200 | SPEE IERNUT
32 | 66 | PALAS 1 | 50 | 0 | 0 | 50 | 0 | ELECTROCENTRALE BUCURESTI | Conservation from 01.11.2015
33 | 67 | PALAS 2 | 50 | 50 | 42.5 | 0 | 50 | ELECTROCENTRALE BUCURESTI
34 | 68 | PROGRESU 1 | 50 | 0 |  | 50 | 0 | ELECTROCENTRALE BUCURESTI | Out of operation
35 | 69 | PROGRESU 2 | 50 | 0 |  | 50 | 0 | ELECTROCENTRALE BUCURESTI | The rotor of the turbine is not working
36 | 70 | CCCC BRAZI | 885 | 885 | 858 | 0 | 885 | OMV Petrom
37 |  | Total | 4445.6 | 3160 | 2911.6 | 1312.6 | 3133

## Hydro Power
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2016-10-01
Index | UdName | PI | Ci | Pneta | Rpp | Pd | Gestionar | Observation
1 | OLT INFERIOR | 379 | 379 | 373.14 | 25.5 | 353.5 | S.H.RAMNICU VALCEA
2 | OLT MIJLOCIU | 466.9 | 466.9 | 462.89 | 2.5 | 464.4 | S.H.RAMNICU VALCEA
3 | OLT SUPERIOR | 102.5 | 102.5 | 102.08 | 0 | 102.5 | S.H.SEBES
4 | PORTILE DE FIER 1 | 194.4 | 194.4 | 193.465 | 0 | 194.4 | S.H.P.FIER
5 | PORTILE DE FIER 2 | 194.4 | 194.4 | 193.465 | 0 | 194.4 | S.H.P.FIER
6 | PORTILE DE FIER 3 | 194.4 | 194.4 | 193.465 | 0 | 194.4 | S.H.P.FIER
7 | PORTILE DE FIER 4 | 194.4 | 194.4 | 193.465 | 0 | 194.4 | S.H.P.FIER
8 | PORTILE DE FIER 5 | 194.4 | 194.4 | 193.465 | 0 | 194.4 | S.H.P.FIER
9 | PORTILE DE FIER 6 | 194.4 | 194.4 | 193.465 | 0 | 194.4 | S.H.P.FIER
10 | PORTILE DE FIER II 1+2 | 58.4 | 31.4 | 31.2 | 27 | 31.4 | S.H.P.FIER
11 | PORTILE DE FIER II 3+4 | 62.8 | 62.8 | 62.4 | 0 | 62.8 | S.H.P.FIER
12 | PORTILE DE FIER II 5+6 | 62.8 | 62.8 | 62.4 | 0 | 62.8 | S.H.P.FIER
13 | PORTILE DE FIER II 7+8 | 62.8 | 62.8 | 62.4 | 0 | 62.8 | S.H.P.FIER
14 | RAUL ALB | 41 | 41 | 38.47 | 2.2 | 38.8 | S.H.HATEG
15 | REMU | 158 | 158 | 152.87 | 4 | 154 | S.H.CLUJ
16 | RAUL MARE 1 | 167.5 | 167.5 | 99.86 | 57.5 | 110 | S.H.HATEG
17 | RAUL MARE 2 | 167.5 | 167.5 | 99.86 | 67.5 | 100 | S.H.HATEG
18 | RAUL MARE AVAL | 172.52 | 172.52 | 156.56 | 15.7 | 156.82 | S.H.HATEG
19 | RUIENI 1 | 70 | 70 | 68.87 | 0 | 70 | S.H.HATEG
20 | RUIENI 2 | 70 | 70 | 68.87 | 0 | 70 | S.H.HATEG
21 | SEBES AVAL | 46.25 | 46.25 | 45.25 | 0.07 | 46.18 | S.H.SEBES
22 | SOMES AVAL | 57 | 57 | 56.61 | 0 | 57 | S.H.CLUJ
23 | STEJARU 1 | 27.5 | 27.5 | 24.79 | 2.5 | 25 | S.H.BISTRITA
24 | STEJARU 2 | 27.5 | 27.5 | 24.79 | 2.5 | 25 | S.H.BISTRITA
25 | STEJARU 3 | 27.5 | 27.5 | 22.79 | 4.5 | 23 | S.H.BISTRITA
26 | STEJARU 4 | 27.5 | 27.5 | 22.79 | 4.5 | 23 | S.H.BISTRITA
27 | STEJARU 5 | 50 | 50 | 48.13 | 1.5 | 48.5 | S.H.BISTRITA
28 | STEJARU 6 | 50 | 50 | 48.13 | 1.5 | 48.5 | S.H.BISTRITA
29 | SUGAG 1 | 75 | 75 | 74.49 | 0 | 75 | S.H.SEBES
30 | SUGAG 2 | 75 | 75 | 74.55 | 0 | 75 | S.H.SEBES
31 | TELEAJEN | 46.4 | 46.4 | 45.92 | 0 | 46.4 | S.H.CURTEA DE ARGEŞ
32 | TISMANA | 106 | 106 | 104.82 | 0 | 106 | S.H.P.FIER
33 | ARGES AVAL | 223.38 | 222.75 | 219.52 | 0.88 | 222.5 | S.H.C.ARGES
34 | BRADISOR | 57.5 | 57.5 | 57.4 | 7.5 | 50 | S.H.RAMNICU VALCEA
35 | BISTRITA AVAL 1 | 67 | 67 | 66.5 | 0 | 67 | S.H.BISTRITA
36 | BISTRITA AVAL 2 | 78 | 78 | 66.8 | 10.8 | 67.2 | S.H.BISTRITA
37 | BISTRITA AVAL 3 | 99 | 99 | 96.4 | 2 | 97 | S.H.BISTRITA
38 | BISTRITA AVAL 4 | 191.9 | 191.9 | 190.4 | 0 | 191.9 | S.H.BISTRITA
39 | BISTRITA AVAL 5 | 15 | 15 | 14.89 | 0 | 15 | S.H.BISTRITA
40 | BUZAU | 34.95 | 34.7 | 33.83 | 0.25 | 34.7 | S.H.CURTEA DE ARGEŞ
41 | COLIBITA | 21 | 21 | 20.87 | 0 | 21 | S.H.CLUJ
42 | CORBENI 1+2 | 110 | 110 | 109.7 | 0 | 110 | S.H.C.ARGES
43 | CORBENI 3+4 | 110 | 110 | 109.7 | 0 | 110 | S.H.C.ARGES
44 | CRIS AVAL | 56 | 56 | 47.46 | 8 | 48 | S.H.CLUJ
45 | DAMBOVITA | 95.3 | 95.3 | 94.68 | 14 | 81.3 | S.H.C.ARGES
46 | GALCEAG 1 | 75 | 75 | 74.19 | 0 | 75 | S.H.SEBES
47 | GALCEAG 2 | 75 | 75 | 74.52 | 0 | 75 | S.H.SEBES
48 | GOGOSU | 54 | 54 | 53.32 | 0 | 54 | S.H.P.FIER
49 | IALOMITA | 43 | 43 | 42.8 | 0 | 43 | S.H.CURTEA DE ARGEŞ
50 | JIU | 23.6 | 22.8 | 22.16 | 0.8 | 22.8 | S.H.P.FIER
51 | LOTRU 1 | 170 | 170 | 169.57 | 0 | 170 | S.H.RAMNICU VALCEA
52 | LOTRU 2 | 170 | 170 | 169.57 | 0 | 170 | S.H.RAMNICU VALCEA
53 | LOTRU 3 | 170 | 170 | 169.57 | 0 | 170 | S.H.RAMNICU VALCEA
54 | MALAIA | 18 | 18 | 17.94 | 0 | 18 | S.H.RAMNICU VALCEA
55 | MARISELU 1 | 73.5 | 73.5 | 70 | 3.5 | 70 | S.H.CLUJ
56 | MARISELU 2 | 73.5 | 73.5 | 72.86 | 0 | 73.5 | S.H.CLUJ
57 | MARISELU 3 | 73.5 | 73.5 | 72.86 | 0 | 73.5 | S.H.CLUJ
58 | MOTRU | 50 | 50 | 49.06 | 0 | 50 | S.H.P.FIER
59 | NEHOIASU | 42 | 42 | 40.77 | 0 | 42 | S.H.CURTEA DE ARGEŞ
60 | Total | 6093.9 | 6065.22 | 5823.06 | 266.7 | 5827.2

## Wind Power
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2016-10-01
Index | UdName | PI | Ci | Pneta | Rpp | Pd | Gestionar
1 | PTER | 90 | 90 | 89.01 | 0 | 90 | PESTERA WIND FARM
2 | VANU | 34 | 34 | 33.49 | 0 | 34 | ENEL GREEN
3 | COGEALAC | 252.5 | 252.5 | 249.83 | 0 | 252.5 | OVIDIU DEVELOPMENT
4 | SILI | 25 | 25 | 25.5 | 0 | 25 | ROMCONSTRUCT TOP
5 | CECR1 | 69 | 69 | 68.1 | 0 | 69 | CERNAVODA POWER
6 | DORB | 45 | 45 | 42.72 | 0 | 45 | OMV PETROM WIND POWER
7 | CECR2 | 69 | 69 | 68.15 | 0 | 69 | CERNAVODA POWER
8 | SALB1 | 70 | 70 | 68.5 | 0 | 70 | ENEL GREEN POWER
9 | MIHV1 | 80 | 80 | 79 | 0 | 80 | EOLICA DOBROGEA
10 | SALB2 | 70 | 70 | 68.5 | 0 | 70 | BLUE LINE VALEA NUCARILOR
11 | CORG | 70 | 70 | 69 | 0 | 70 | ENEL GREEN POWER
12 | SARI | 33 | 33 | 32.5 | 0 | 33 | EDP RENEWABLES
13 | VUTC | 24 | 24 | 23.62 | 0 | 24 | EDP RENEWABLE ROMANIA VS Wind Farm
14 | CAS SUD2 | 75.9 | 75.9 | 73.6 | 0 | 75.9 | SC CAS REGENARABILE SRL
15 | ALPHAWN1 | 81.3 | 81.3 | 78.95 | 0 | 81.3 | SC ALPHA WIND SRL
16 | BABG1 | 33.6 | 33.6 | 33 | 0 | 33.6 | EVIVA NALBANT
17 | MIHV 2 | 13.8 | 13.8 | 13.8 | 0 | 13.8 | WIND FARM MVI
18 | SFEL | 48.3 | 48.3 | 47.35 | 0 | 48.3 | ENEL GREEN POWER
19 | GEME | 48.3 | 48.3 | 47.5 | 0.8 | 47.5 | BRAILA WINDS
20 | CORNI | 70 | 70 | 68.5 | 0 | 70 | CORNI EOLIAN SRL
21 | TARG | 119.6 | 119.6 | 119 | 0 | 119.6 | ENEL GREEN POWER
22 | TOPO | 27 | 27 | 27 | 0 | 27 | ENEL GREEN POWER
23 | PANT | 123 | 123 | 120 | 0 | 123 | EWIND
24 | COBA | 26 | 26 | 25.58 | 0 | 26 | EDP RENEWABLES
25 | ESERV1 | 8 | 8 | 8 | 0 | 8 | ELECTRICA SERV
26 | ESERV2 | 6 | 6 | 6 | 0 | 6 | ELECTRICA SERV
27 | VARLEZI | 6 | 6 | 5.793 | 0 | 6 | GLOBAL WIND POWER RO EOL ENERGY MOLDOVA
28 | SCHELA3 | 8 | 8 | 7.724 | 0 | 8 | SMART CLEAN POWER
29 | CUDALBI | 10 | 10 | 10 | 0 | 10 | BRIDGECONSTRUCT
30 | INSURATEI | 10 | 10 | 9.655 | 0 | 10 | SOFT GROUP
31 | CUZAVODA | 6 | 6 | 5.79 | 0 | 6 | GREEN ENERGY FARM
32 | PECHEA2 | 6 | 6 | 5.79 | 0 | 6 | DAN HOLDING MGM
33 | ALBE | 28 | 28 | 27.23 | 0 | 28 | SIBIOARA WIND FARM
34 | BAIA4 | 10 | 10 | 9.8 | 0 | 10 | HOLROM RENEWABLE ENERGY
35 | MIREASA2 | 10 | 10 | 9.8 | 0 | 10 | ECO POWER WIND
36 | TORTOMANU2 | 8 | 8 | 8 | 0 | 8 | ELEKTRA GREEN POWER
37 | CASIMCEA2 | 5.8 | 5.8 | 5.8 | 0 | 5.8 | INTERTRANS KARLA
38 | TOPLICENI | 10 | 10 | 10 | 0 | 10 | M 2008
39 | BAIA3 | 10 | 10 | 9.96 | 0 | 10 | BLUE PLANET INVESTMENTS
40 | GREB | 10 | 10 | 9.9 | 0 | 10 | SC EOLIAN CENTER
41 | BABA2 | 8.4 | 8.4 | 8.2 | 0 | 8.4 | EVIVA NALBANT
42 | TORTOMANU3 | 8 | 8 | 8 | 0 | 8 | ELEKTRA WIND POWER
43 | PECINEAGA2 | 6 | 6 | 5.9 | 0 | 6 | WIND PARK INVEST
44 | NICOLAE BALCESCU-TARGUSOR | 59.8 | 59.8 | 58 | 0 | 59.8 | ENEL GREEN POWER
45 | VENTUS | 69 | 69 | 68.65 | 0 | 69 | VENTUS RENEW ROMANIA
46 | BALE | 50 | 50 | 50 | 0 | 50 | ALIZEU EOLIAN
47 | NBAL1 | 10 | 10 | 9.8 | 0 | 10 | GENERAL CONCRETE
48 | CHIR | 80 | 80 | 75.9 | 4 | 76 | EP WIND PROJECT (ROM) SIX
49 | STEJ | 34.5 | 34.5 | 34 | 0.5 | 34 | ECOENERGIA
50 | HORIA | 7.5 | 7.5 | 7.446 | 0 | 7.5 | HORIA GREEN
51 | DUDESTI | 8 | 8 | 7.936 | 0 | 8 | KELAVENT CHARLIE
52 | TOPDOR | 84 | 84 | 84 | 0 | 84 | LAND POWER
53 | MIHBRV | 6 | 6 | 5.94 | 0 | 6 | EOL ENERGY
54 | FRUMUSITA1 | 6 | 6 | 5.92 | 0 | 6 | SMARTBREEZE
55 | CERNA | 17.5 | 17.5 | 13.79 | 0.5 | 17 | ENERGIA VERDE VENTUNO
56 | POGO | 8 | 8 | 7.936 | 0 | 8 | KELAVENT ECHO
57 | PANT | 7.5 | 7.5 | 4.8 | 2.7 | 4.8 | EOLIAN PROJECT
58 | BESTEPE2 | 6.15 | 6.15 | 6.136 | 0 | 6.15 | SC BLUE LINE ENERGY
59 | ORAV | 9 | 9 | 9 | 0 | 9 | LC BUSINESS
60 | MIREASA1 | 50 | 50 | 48.8 | 0 | 50 | MIREASA ENERGIES
61 | NALB | 13.75 | 13.75 | 13.4 | 0 | 13.75 | ENEX
62 | CRUCEA | 108 | 108 | 108 | 0 | 108 | CRUCEA WIND FARM
63 | FACAENI | 132 | 132 | 132 | 0 | 132 | IALOMITA POWER
64 | VANATORI | 10 | 10 | 8.97 | 1 | 9 | CATALAN ELECTRIC
65 | CASIMCEA 1 | 10 | 10 | 10 | 0 | 10 | ELECTRICOM
66 | Curcubata Mare | 15 | 15 | 11.5 | 3.5 | 11.5 | ENERGO PROIECT
67 | BABG3 | 30 | 30 | 30 | 0 | 30 | Ground Investment Corp
68 | FANTE | 85 | 85 | 84.1 | 0 | 85 | MW TEAM INVEST
69 | FANTV | 262.5 | 262.5 | 259.72 | 0 | 262.5 | SC TOMIS
70 | Total | 2951.7 | 2951.7 | 2899.286 | 13 | 2938.7

## Biomass
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2016-10-01
Index | UdName | PI | Ci | Pneta | Rpp | Pd | Gestionar | Observation
1 | BIOENERGY SUCEAVA | 29.65 | 29.65 | 27.65 | 0 | 29.65 | BIOENERGY SUCEAVA
2 | Total | 29.65 | 29.65 | 27.65 | 0 | 29.65

## Solar Power
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2016-10-01
Index | UdName | PI | Ci | Pneta | Rpp | Pd | Gestionar
1 | PAUL2 | 6.824 | 6.824 | 6.6 | 0 | 6.824 | BLUE SAND INVESTMENT
2 | STANESTI | 7.5 | 7.5 | 6.8 | 0 | 7.5 | LONG BRIDGE MILENIUM
3 | RA-RA | 8.749 | 8.749 | 7.7 | 1.049 | 7.7 | RA-RA PARC
4 | UIESTI | 9.46 | 9.46 | 8.99 | 0.47 | 8.99 | TINMAR GREEN ENERGY
5 | IZVORU | 8.8 | 8.8 | 7.81 | 0.99 | 7.81 | POWER L.I.V.E. ONE
6 | VIERU | 6.45 | 6.45 | 5.6 | 0.85 | 5.6 | SIMICO PROD FACTORY
7 | CORABIA | 7 | 7 | 6 | 1 | 6 | CORABIA SOLAR
8 | DABULENI | 7.5 | 7.5 | 6.5 | 1 | 6.5 | POTELU SOLAR
9 | GROJDIBODU | 9.96 | 9.96 | 8.7 | 1.16 | 8.8 | STUDINA SOLAR
10 | CUJMIR1 | 6 | 6 | 5.2 | 0.75 | 5.25 | CUJMIR SOLAR
11 | CUJMIR2 | 6 | 6 | 5.2 | 0.75 | 5.25 | CUJMIR SOLAR
12 | VANJUMARE | 9.36 | 9.36 | 7.8 | 1.56 | 7.8 | VANJU MARE SOLAR
13 | SLOB | 38.4 | 38.4 | 38.4 | 0 | 38.4 | LJG GREEN SOURCE ENERGY
14 | FRASI2 | 8.3 | 8.3 | 6.553 | 1.7 | 6.6 | SOLAR ELECTRIC FRASINET
15 | UIESTI II | 8.03 | 8.03 | 7.63 | 0.4 | 7.63 | MARTIN SOLAR ENERGY
16 | COSTESTI | 8.004 | 8.004 | 8.004 | 0 | 8.004 | ECOSFER ENERGY
17 | PANTAZI | 6 | 6 | 5.9 | 0 | 6 | TEHNOINSTRUMENT SOLUTIONS
18 | FIZVO | 17.28 | 17.28 | 17.28 | 0 | 17.28 | LJG GREEN SOURCE ENERGY
19 | OSICA | 7.5 | 7.5 | 6.8 | 0.7 | 6.8 | ARINNA DEVELOPMENT
20 | TGCARB | 9.9877 | 9.9877 | 9.8 | 0.14 | 9.8477 | EYE MALL
21 | TG CARBUNESTI 2 - SUD | 9.9877 | 9.9877 | 9.8 | 0.14 | 9.8477 | EYE MALL
22 | SIMN | 7.92 | 7.92 | 7.5 | 0.39 | 7.53 | SOLPRIM
23 | GOGOSARI | 7.8 | 7.8 | 7 | 0 | 7.8 | SPECTRUM TECH
24 | BURILA | 7.491 | 7.491 | 6.6 | 0.867 | 6.624 | FOTON EPSILON
25 | SEBIS2 | 7.5 | 7.5 | 6.5 | 0.96 | 6.54 | GAMA ENERGY
26 | FIZVO2 | 42.5 | 42.5 | 42.5 | 0 | 42.5 | LJG GREEN SOURCE ENERGY
27 | BERCENI1 | 9.8 | 9.8 | 9.6 | 0 | 9.8 | ENEL GREEN POWER
28 | BERCENI2 | 9.4 | 9.4 | 9.3 | 0 | 9.4 | ENEL GREEN POWER
29 | COLIBASI | 6.5 | 6.5 | 5.9 | 0 | 6.5 | ENEL GREEN POWER
30 | PODARI | 10 | 10 | 10 | 0 | 10 | ENEL GREEN POWER MANAGEMENT BUILDINGS COMPANY
31 | CARACAL | 6.4 | 6.4 | 6.3 | 0 | 6.4 | CARACAL SOLAR ALPHA
32 | BUTI | 6.09 | 6.09 | 6.09 | 0.69 | 5.4 | KENTAX ENERGY
33 | FCIUP | 44.8 | 44.8 | 44 | 0 | 44.8 | GPSB SOLARIS 48
34 | UCEA1 | 28 | 28 | 28 | 0 | 28 | GREEN VISION SEVEN
35 | UCEA2 | 18 | 18 | 18 | 0 | 18 | GREEN VISION SEVEN
36 | ARICESTI6 | 8 | 8 | 7.818 | 0 | 8 | CASA CRANG
37 | ARICESTI4 | 8 | 8 | 7.818 | 0 | 8 | FORT GREEN ENERGY
38 | ARICESTI5 | 8 | 8 | 7.818 | 0 | 8 | SOLAR FUTURE ENERGY
39 | ARAH3 | 9.457 | 9.457 | 9.457 | 2.457 | 7 | VAROKUB ENERGY DEVELOPMENT
40 | BOBIC | 9.54 | 9.54 | 9 | 0 | 9.54 | ROMKUMULO
41 | GOIESTI | 5.24 | 5.24 | 4.7 | 0.43 | 4.81 | IZVOR DE LUMINA
42 | HARMAN | 6.923 | 6.923 | 6.923 | 0 | 6.923 | CLUE SOLAR
43 | MSIBIU | 23.09 | 23.09 | 23 | 0 | 23.09 | XPV
44 | HOGHIZ | 16.772 | 16.772 | 15.6 | 2.222 | 14.55 | VIS SOLARIS 2011
45 | LEHL3 | 9.196 | 9.196 | 9.196 | 0 | 9.196 | VRISH PRO IVESTMENTS
46 | FUNDULEA | 6.285 | 6.285 | 5.85 | 0 | 6.285 | WDP DEVELOPMENT RO
47 | CHIRIACU | 6 | 6 | 6 | 0 | 6 | LEMAR GRUP
48 | BANA | 7.4 | 7.4 | 6.5 | 0.9 | 6.5 | GREENLIGHT SOLUTIONS
49 | PETROTEL | 9 | 9 | 9 | 0 | 9 | S.C. LUKOIL ENERGY & GAS ROMANIA S.R.L.
50 | LEU | 5.44 | 5.44 | 4.3 | 0 | 5.44 | XALADINE ENERGY
51 | SEBIS1 | 7.5 | 7.5 | 7.49 | 0 | 7.5 | DELTA ENERGY
52 | MOZACENI 1 | 9 | 9 | 6 | 2.6 | 6.4 | SUN EVOLUTION COMPLETE
53 | IZVIN | 6 | 6 | 6 | 0 | 6 | URDEL ENERGY
54 | URZICUTA 1 | 7.6704 | 7.6704 | 6.3 | 1.3704 | 6.3 | SOLARIA GREEN ENERGY
55 | Total | 587.8067 | 587.8067 | 559.127 | 25.5454 | 562.2613

## Nuclear Fuels
C.N.T.E.E. TRANSELECTRICA S.A.
Uno-DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY FOR EACH DISPATCHABLE UNIT, PER PRIMARY SOURCES OF ENERGY
Synthetic data on 2016-10-01
Index | UdName | PI | Ci | Pneta | Rpp | Pd | Gestionar | Observation
1 | U 1 | 706.5 | 706.5 | 650 | 0 | 706.5 | Sucursala CNE CERNAVODA
2 | U 2 | 706.5 | 706.5 | 650 | 0 | 706.5 | Sucursala CNE CERNAVODA
3 | Total | 1413 | 1413 | 1300 | 0 | 1413