## Raport
C.N.T.E.E. TRANSELECTRICA S.A.
DEN
TOTAL AND AVAILABLE INSTALLED GENERATION CAPACITY AGGREGATED FOR ALL UNITS, PER PRIMARY SOURCES OF ENERGY, ESPECIALLY UNITS OF CATEGORY A AND B
Synthetic data on 01.06.2025
Index | Combustible | Total Groups | Pi NRA license | Pnet | Rpp | Pd
1 | Fossil Fuels-Coal | 0 | 0 | 0 | 0 | 0
2 | Fossil Fuels-Natural Gas | 50 | 115.14 | 100.79 | 8.58 | 106.9
3 | Hydro Power | 614 | 501.03 | 461.84 | 34.8 | 475.13
4 | Wind Power | 43 | 60.51 | 53.93 | 2.99 | 57.52
5 | Biomass/Biogas/Others | 50 | 39.32 | 35.4 | 2.24 | 37.49
6 | Solar Power | 719 | 1009.73 | 981.47 | 17 | 996.91
7 | Geotermal Power | 1 | 0.05 | 0 | 0.05 | 0
| Total | 1477 | 1725.78 | 1633.43 | 65.66 | 1673.95

## Prosumers
Total installed capacity of prosumers connected to the distribution networks of distribution systems operators for all units on 01.04.2025
| Distribution systems operators | Prosumers | Pi
|  | Nr. | [MW]
| ALLIANSO PARK MANAGEMENT | 7 | 3.54
| DELGAZ GRID | 28815 | 340.21
| DISTRIBUTIE ENERGIE OLTENIA | 36568 | 419.47
| OMV PETROM | 28 | 0.62
| DEER MUNTENIA NORD | 25060 | 282.69
| DEER TRANSILVANIA NORD SA | 31086 | 377.15
| DEER TRANSILVANIA SUD | 29942 | 326.28
| TETAROM | 29 | 11.07
| RETELE ELECTRICE ROMANIA | 62307 | 805.59
| Total | 213842 | 2566.62

## Definitions
DEFINITIONS
Pi NRA license= Installed power specified in the technical documentation from NRA license.
Pneta = Net Active Power – the unit active power delivered to the electricity network.It’s the difference between the available power and: the auxiliary services consumption plus the unit transformer losses.
Rpp = Permanent unavailable power – difference between installed capacity (Pi) of power plants and available power (Pd), if this reduction in power can not be eliminated in a shorter period of one year. For mothballed units the reduction in power is equal with installed power (Pi).
Pd = Available power – gross lasting maximum active power that a generating unit can provide under safe mechanical and electric conditions. Pd = Pi - Rpp
For EMFIP site https://transparency.entsoe.eu Installed net generation capacity (EMFIP definition) is the maximum ouput, expressed in MW, that a generation unit would be able to supply to the system verified by the system operator (TSO and DSO). Based on the need for coherence of terms that have similar definitions and are used in EMFIP and Transelectrica Transparency platforms, Installed net generation capacity is equivalent with Net Generation Capacity.