## JANUARY 2011
AUCTION DATE and deadline for bidding |  | 16.12.2010, 13 hour (RO), except for the border with BULGARIA |  | EET,RO = CET+ 1
IMPORTANT !!! NTC and ATC values represent only Transelectrica allocation rights, namely 50% from the total NTC and ATC of the line, except for the HUNGARIAN si BULGARIAN border, where values represent 100 % from the line values.
ATC JANUARY 2011
Available transfer capacity on the tie-lines of Romanian Power System with neighbouring Systems
Section |  | OHL | PERIOD | TTC | TRM | NTC | AAC | ATC
IMPORT | Bulgaria --> Romania common auction for 100% of the ATC, held by ESO-EAD | OHL 400 kV Isaccea – Dobrudja | 01-31.01.2011 | 400 | 100 | 300 |  | 300
OHL d.c. 400 kV Ţânţăreni – Kozlodui
OHL 750 kV Isaccea – Varna* (after commissioning at 400 kV)
| Serbia --> Romania | OHL 400 kV Porţile de Fier – Djerdap | 01-31.01.2011 | 400 | 100 | 150 | 50 | 100
|  | OHL 110 kV Ostrovul Mare – Kusjak |  | - | - | - |  | -
|  | OHL 110 kV Gura Văii – Şip |  | - | - | - |  | -
|  | OHL 110 kV Jimbolia – Kikinda |  | - | - | - |  | -
| Hungary --> Romania (HU-RO) common auction for 100% of the ATC | OHL 400 kV Arad – Sandorfalva | 01-31.01.2011 | 600 | 100 | 500 | 150 | 350
OHL 400 kV Nadab – Bekescsaba
| Ukraine --> Romania* (UA-RO) | OHL 400 kV Roşiori – Mukacevo | 01-31.01.2011 | 200 | 100 | 100 | 50 | 50
| Moldova --> Romania | OHL 400 kV Isaccea – Vulcăneşti |  | - | - | - |  | -
|  | OHL 110 kV Stânca – Costeşti |  | - | - | - | - | -
|  | OHL 110 kV Cioara – Huşi |  | - | - | - | - | -
|  | OHL 110 kV Ţuţora – Ungheni |  | - | - | - | - | -
EXPORT | Romania --> Bulgaria common auction for 100% of the ATC, held by ESO-EAD | OHL 400 kV Isaccea – Dobrudja | 01-31.01.2011 | 400 | 100 | 300 |  | 300
OHL d.c. 400 kV Ţânţăreni – Kozlodui
OHL 750 kV Isaccea – Varna * (după punerea în funcţiune la 400 kV)
| Romania --> Serbia | OHL 400 kV Porţile de Fier – Djerdap | 01-31.01.2011 | 650 | 100 | 275 | 75 | 200
|  | OHL 110 kV Ostrovul Mare – Kusjak |  | - | - | - |  | -
|  | OHL 110 kV Gura Văii – Şip |  | - | - | - |  | -
|  | OHL 110 kV Jimbolia – Kikinda |  | - | - | - |  | -
| Romania --> Hungary (RO - HU) common auction for 100% of the ATC | OHL 400 kV Arad – Sandorfalva | 01-31.01.2011 | 550 | 100 | 450 | 200 | 250
OHL 400 kV Nadab – Bekescsaba
| Romania -->Ukraine * (RO -UA) | OHL 400 kV Roşiori – Mukacevo | 01-31.01.2011 | 200 | 100 | 100 | 50 | 50
| Romania --> Moldova | OHL 400 kV Isaccea – Vulcăneşti |  | - | - | - | - | -
|  | OHL 110 kV Stânca – Costeşti |  | - | - | - | - | -
|  | OHL 110 kV Cioara – Huşi |  | - | - | - | - | -
|  | OHL 110 kV Ţuţora – Ungheni |  | - | - | - | - | -
* Pentru a putea utiliza capacitatea obtinuta prin licitatie, participantii trebuie sa detina acordul scris al TSO din Ucraina.