## SEPTEMBER 2012
AUCTION DATE and deadline for bidding |  | 13.08.2012, 13 hour (RO), except for the border with BULGARIA and HUNGARY |  | EET,RO = CET+ 1
IMPORTANT !!! Valorile NTC si ATC reprezinta doar dreptul de alocare al Transelectrica, respectiv 50% din NTC si ATC total al liniei, cu exceptia granitei cu UNGARIA si BULGARIA , unde valorile reprezinta 100 % din valorile liniei.
ATC SEPTEMBER 2012
Available transfer capacity on the tie-lines of Romanian Power System with neighbouring Systems
Section |  | LEA | PERIOD | TTC | TRM | NTC | AAC | ATC
IMPORT | Bulgaria --> Romania common auction for 100% of the ATC, held by ESO-EAD | LEA 400 kV Isaccea – Dobrudja | 01-23.09.2012 | 400 | 100 | 300 | 150 | 150
LEA d.c. 400 kV Ţânţăreni – Kozlodui
LEA 750 kV Isaccea – Varna* (după punerea în funcţiune la 400 kV)
|  | LEA 400 kV Isaccea – Dobrudja | 24-30.09.2012 | 350 | 100 | 250 | 150 | 100
LEA d.c. 400 kV Ţânţăreni – Kozlodui
LEA 750 kV Isaccea – Varna* (după punerea în funcţiune la 400 kV)
| Serbia --> Romania auction for 50% of the ATC, TEL allocation rights | LEA 400 kV Porţile de Fier – Djerdap | 01-30.09.2012 | 350 | 100 | 125 | 45 | 80
LEA 110 kV Ostrovul Mare – Kusjak
LEA 110 kV Gura Văii – Şip
LEA 110 kV Jimbolia – Kikinda
| Hungary --> Romania (HU-RO) common auction for 100% of the ATC, held by MAVIR | LEA 400 kV Arad – Sandorfalva | 01-30.09.2012 | 350 | 100 | 250 | 145 | 105
LEA 400 kV Nadab – Bekescsaba
| Ukraine --> Romania (UA-RO) | LEA 400 kV Roşiori – Mukacevo | 01-30.09.2012 | 200 | 100 | 100 | 50 | 50
| Moldavia --> Romania | LEA 400 kV Isaccea – Vulcăneşti
LEA 110 kV Stânca – Costeşti
LEA 110 kV Cioara – Huşi
LEA 110 kV Ţuţora – Ungheni
EXPORT | Romania --> Bulgaria common auction for 100% of the ATC, held by ESO-EAD | LEA 400 kV Isaccea – Dobrudja | 01-30.09.2012 | 350 | 100 | 250 | 190 | 60
LEA d.c. 400 kV Ţânţăreni – Kozlodui
LEA 750 kV Isaccea – Varna * (după punerea în funcţiune la 400 kV)
| Romania --> Serbia auction for 50% of the ATC, TEL allocation rights | LEA 400 kV Porţile de Fier – Djerdap | 01-07.09.2012 | 500 | 100 | 200 | 75 | 125
LEA 110 kV Ostrovul Mare – Kusjak
LEA 110 kV Gura Văii – Şip
LEA 110 kV Jimbolia – Kikinda
|  | LEA 400 kV Porţile de Fier – Djerdap | 08-23.09.2012 | 450 | 100 | 175 | 75 | 100
LEA 110 kV Ostrovul Mare – Kusjak
LEA 110 kV Gura Văii – Şip
LEA 110 kV Jimbolia – Kikinda
|  | LEA 400 kV Porţile de Fier – Djerdap | 24-27.09.2012 | 400 | 100 | 150 | 75 | 75
LEA 110 kV Ostrovul Mare – Kusjak
LEA 110 kV Gura Văii – Şip
LEA 110 kV Jimbolia – Kikinda
|  | LEA 400 kV Porţile de Fier – Djerdap | 28-30.09.2012 | 450 | 100 | 175 | 75 | 100
LEA 110 kV Ostrovul Mare – Kusjak
LEA 110 kV Gura Văii – Şip
LEA 110 kV Jimbolia – Kikinda
| Romania --> Hungary (HU-RO) common auction for 100% of the ATC, held by MAVIR | LEA 400 kV Arad – Sandorfalva | 01-07.09.2012 | 500 | 100 | 400 | 195 | 205
LEA 400 kV Nadab – Bekescsaba
|  | LEA 400 kV Arad – Sandorfalva | 08-23.09.2012 | 450 | 100 | 350 | 195 | 155
LEA 400 kV Nadab – Bekescsaba
|  | LEA 400 kV Arad – Sandorfalva | 24-27.09.2012 | 400 | 100 | 300 | 195 | 105
LEA 400 kV Nadab – Bekescsaba
|  | LEA 400 kV Arad – Sandorfalva | 28-30.09.2012 | 450 | 100 | 350 | 195 | 155
LEA 400 kV Nadab – Bekescsaba
| Romania -->Ukraine (RO -UA) | LEA 400 kV Roşiori – Mukacevo | 01-30.09.2012 | 150 | 100 | 50 | 50 | 0
|  | LEA 400 kV Roşiori – Mukacevo |  | 100 | 100 |  |  | 0
| Romania --> Moldavia | LEA 400 kV Isaccea – Vulcăneşti
LEA 110 kV Stânca – Costeşti
LEA 110 kV Cioara – Huşi
LEA 110 kV Ţuţora – Ungheni
* Pentru a putea utiliza capacitatea obtinuta prin licitatie, participantii trebuie sa detina acordul scris al TSO din Ucraina.
Note on H14: raluca.david: - 5 MW revocare KORLEA AS
Note on H25: Ana.Nicolescu: -10 MW - suspendare TINMAR