## Ianuarie
Detalii ex-Post privind iesirile din functiune programate si accidentale ale liniilor de interconexiune imediat dupa aparitie
Ex-Post information regarding scheduled and emergency outages of Interconnection Power Lines with ENTSO - E neighbors
Data actualizarii\ Actualised on: 29.01.2025
Denumire linie* | Zona | Data \ Date** | Data \ Date ** | Motiv | Impact asupra ATC ATC Impact [MW] | Observatii
Line Name | Area | Inceput\ Start | Sfarsit\ Stop | Reason | Import/Export | Observations
OHL 400 kV Medgidia Sud - Varna | RO - BG | 23.01 / 09:25 | 23.01 / 15:40 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Resita - Pancevo ck. 2 | RO - RS | 24.01 / 08:50 | 24.01 / 18:08 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Resita - Pancevo ck. 2 | RO - RS | 27.01 / 07:50 | 27.01 / 18:36 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Resita - Pancevo ck. 2 | RO - RS | 28.01 / 10:26 | 28.01 / 18:25 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
*Informations will be actualised only when changes in the schedule occur
**Ora Romaniei \ Local time

## Februarie
Detalii ex-Post privind iesirile din functiune programate si accidentale ale liniilor de interconexiune imediat dupa aparitie
Ex-Post information regarding scheduled and emergency outages of Interconnection Power Lines with ENTSO - E neighbors
Data actualizarii\ Actualised on: 22.02.2025
Denumire linie* | Zona | Data \ Date** | Data \ Date ** | Motiv | Impact asupra ATC ATC Impact [MW] | Observatii
Line Name | Area | Inceput\ Start | Sfarsit\ Stop | Reason | Import/Export | Observations
OHL 400 kV Resita - Pancevo ck. 1 | RO - RS | 17.02 / 17:37 | 17.02 / 18:14 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Resita - Pancevo ck. 2 | RO - RS | 18.02 / 08:43 | 18.02 / 23:59 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Resita - Pancevo ck. 2 | RO - RS | 19.02 / 00:00 | 19.02 / 10:08 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Resita - Pancevo ck. 1 | RO - RS | 19.02 / 10:11 | 19.02 / 13:52 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Isaccea - Vulcanesti | RO - MD | 21.02 / 16:31 | 21.02 / 16:49 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati
*Informations will be actualised only when changes in the schedule occur
**Ora Romaniei \ Local time

## Martie
Detalii ex-Post privind iesirile din functiune programate si accidentale ale liniilor de interconexiune imediat dupa aparitie
Ex-Post information regarding scheduled and emergency outages of Interconnection Power Lines with ENTSO - E neighbors
Data actualizarii\ Actualised on: 02.04.2025
Denumire linie* | Zona | Data \ Date** | Data \ Date ** | Motiv | Impact asupra ATC ATC Impact [MW] | Observatii
Line Name | Area | Inceput\ Start | Sfarsit\ Stop | Reason | Import/Export | Observations
OHL 400 kV Portile de Fier - Djerdap | RO - RS | 16.03 / 08:41 | 16.03 / 17:41 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Portile de Fier - Djerdap | RO - RS | 17.03 / 09:00 | 17.03 / 19:00 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Portile de Fier - Djerdap | RO - RS | 18.03 / 09:17 | 18.03 / 18:46 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Portile de Fier - Djerdap | RO - RS | 19.03 / 09:20 | 19.03 / 17:44 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Portile de Fier - Djerdap | RO - RS | 20.03 / 08:28 | 20.03 / 17:51 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Portile de Fier - Djerdap | RO - RS | 21.03 / 08:29 | 21.03 / 16:40 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Resita - Pancevo ck. 2 | RO - RS | 28.03 / 09:53 | 28.03 / 14:40 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Medgidia Sud - Varna | RO - BG | 31.03 / 07:40 | 31.03 / 16:50 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
*Informations will be actualised only when changes in the schedule occur
**Ora Romaniei \ Local time

## Aprilie
Detalii ex-Post privind iesirile din functiune programate si accidentale ale liniilor de interconexiune imediat dupa aparitie
Ex-Post information regarding scheduled and emergency outages of Interconnection Power Lines with ENTSO - E neighbors
Data actualizarii\ Actualised on: 01.05.2025
Denumire linie* | Zona | Data \ Date** | Data \ Date ** | Motiv | Impact asupra ATC ATC Impact [MW] | Observatii
Line Name | Area | Inceput\ Start | Sfarsit\ Stop | Reason | Import/Export | Observations
OHL 400 kV Medgidia Sud - Varna | RO - BG | 01.04 / 07:59 | 01.04 / 17:24 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Varna | RO - BG | 02.04 / 08:12 | 02.04 / 16:11 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Varna | RO - BG | 03.04 / 08:15 | 03.04 / 16:14 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Varna | RO - BG | 04.04 / 07:37 | 04.04 / 16:08 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Resita - Pancevo ck. 1 | RO - RS | 04.04 / 08:43 | 04.04 / 15:02 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | L 400 kV Resita - Pancevo ck.2 in functiune. L 400 kV Resita - Pancevo ck.2 in operation.
OHL 400 kV Arad - Sandorfalva | RO - HU | 08.04 / 08:32 | 08.04 /09:14 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Medgidia Sud - Varna | RO - BG | 09.04 / 08:25 | 09.04 / 18:32 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Varna | RO - BG | 10.04 / 08:01 | 10.04 / 16:32 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Varna | RO - BG | 11.04 / 08:33 | 11.04 / 15:11 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Varna | RO - BG | 14.04 / 09:19 | 14.04 / 15:48 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Varna | RO - BG | 15.04 / 10:30 | 15.04 / 13:51 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Varna | RO - BG | 16.04 / 08:23 | 16.04 / 17:33 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Varna | RO - BG | 17.04 / 10:25 | 17.04 / 14:32 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Isaccea - Vulcanesti | RO - MD | 23.04 / 09:06 | 25.04 / 23:05 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Isaccea - Vulcanesti | RO - MD | 28.04 / 08:45 | 28.04 / 17:14 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Resita - Pancevo ck. 2 | RO - RS | 28.04 / 09:15 | 28.04 / 15:08 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | L 400 kV Resita - Pancevo ck.1 in functiune. L 400 kV Resita - Pancevo ck.1 in operation.
OHL 400 kV Isaccea - Vulcanesti | RO - MD | 29.04 / 08:51 | 30.04 / 17:16 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Rosiori - Mukacevo | RO - UA | 30.04 / 18:22 | 30.04/ 20:07 | Lucrari neplanificare / Unplanned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
*Informations will be actualised only when changes in the schedule occur
**Ora Romaniei \ Local time

## Mai
Detalii ex-Post privind iesirile din functiune programate si accidentale ale liniilor de interconexiune imediat dupa aparitie
Ex-Post information regarding scheduled and emergency outages of Interconnection Power Lines with ENTSO - E neighbors
Data actualizarii\ Actualised on: 31.05.2025
Denumire linie* | Zona | Data \ Date** | Data \ Date ** | Motiv | Impact asupra ATC ATC Impact [MW] | Observatii
Line Name | Area | Inceput\ Start | Sfarsit\ Stop | Reason | Import/Export | Observations
OHL 400 kV Tantareni-Kozlodui ck. 2 | RO - BG | 09.05 / 12:35 | 09.05 / 14:09 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 19.05 / 11:09 | 19.05 / 18:22 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 20.05 / 11:44 | 20.05 / 18:52 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 21.05 / 09:54 | 21.05 / 17:31 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 22.05 / 08:32 | 22.05 / 17:49 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 23.05 / 07:37 | 23.05 / 17:37 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 28.05 / 09:26 | 28.05 / 15:41 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 30.05 / 08:13 | 30.05 / 14:32 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
*Informations will be actualised only when changes in the schedule occur
**Ora Romaniei \ Local time

## Iunie
Detalii ex-Post privind iesirile din functiune programate si accidentale ale liniilor de interconexiune imediat dupa aparitie
Ex-Post information regarding scheduled and emergency outages of Interconnection Power Lines with ENTSO - E neighbors
Data actualizarii\ Actualised on: 28.06.2025
Denumire linie* | Zona | Data \ Date** | Data \ Date ** | Motiv | Impact asupra ATC ATC Impact [MW] | Observatii
Line Name | Area | Inceput\ Start | Sfarsit\ Stop | Reason | Import/Export | Observations
OHL 400 kV Rosiori - Mukacevo | RO - UA | 02.06 / 07:17 | 02.06/ 23:59 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Rosiori - Mukacevo | RO - UA | 03.06 / 00:00 | 03.06/ 23:59 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Rosiori - Mukacevo | RO - UA | 04.06 / 00:00 | 04.06/ 18:15 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Rosiori - Mukacevo | RO - UA | 05.06 / 07:55 | 05.06/ 18:00 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Rosiori - Mukacevo | RO - UA | 06.06 / 07:28 | 06.06/ 15:00 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Rosiori - Mukacevo | RO - UA | 10.06 / 08:02 | 10.06/ 17:24 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Rosiori - Mukacevo | RO - UA | 11.06 / 07:56 | 11.06/ 17:10 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Rosiori - Mukacevo | RO - UA | 12.06 / 07:44 | 12.06/ 17:32 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Rosiori - Mukacevo | RO - UA | 13.06 / 08:00 | 13.06/ 17:56 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Resita - Pancevo ck. 1 | RO - RS | 19.06 / 08:59 | 19.06 / 18:03 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | L 400 kV Resita - Pancevo ck.2 in functiune. L 400 kV Resita - Pancevo ck.2 in operation.
OHL 400 kV Resita - Pancevo ck. 1 | RO - RS | 20.06 / 08:47 | 20.06 / 14:03 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | L 400 kV Resita - Pancevo ck.2 in functiune. L 400 kV Resita - Pancevo ck.2 in operation.
OHL 400 kV Resita - Pancevo ck. 2 | RO - RS | 21.06 / 07:43 | 21.06 / 17:24 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | L 400 kV Resita - Pancevo ck.1 in functiune. L 400 kV Resita - Pancevo ck.1 in operation.
OHL 400 kV Resita - Pancevo ck. 2 | RO - RS | 22.06 / 07:59 | 22.06 / 13:20 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | L 400 kV Resita - Pancevo ck.1 in functiune. L 400 kV Resita - Pancevo ck.1 in operation.
OHL 400 kV Nadab - Bekescaba | RO - HU | 23.06 / 08:17 | 27.06/ 12:46 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 2025-05-19 | 2025-05-30 | Lucrari neplanificate / Unplanned works | Transparenta Cap 4.1/ Prognoza lunara a NTC si ATC, defalcata pe saptamani, valori medii lunare la ore de varf si la ore de gol, pe graniţa si directie. | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
*Informations will be actualised only when changes in the schedule occur
**Ora Romaniei \ Local time

## Iulie
Detalii ex-Post privind iesirile din functiune programate si accidentale ale liniilor de interconexiune imediat dupa aparitie
Ex-Post information regarding scheduled and emergency outages of Interconnection Power Lines with ENTSO - E neighbors
Data actualizarii\ Actualised on: 01.08.2025
Denumire linie* | Zona | Data \ Date** | Data \ Date ** | Motiv | Impact asupra ATC ATC Impact [MW] | Observatii
Line Name | Area | Inceput\ Start | Sfarsit\ Stop | Reason | Import/Export | Observations
OHL 400 kV Resita - Pancevo ck. 1 | RO - RS | 03.07 / 09:27 | 03.07 / 16:10 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | L 400 kV Resita - Pancevo ck.2 in functiune. L 400 kV Resita - Pancevo ck.2 in operation.
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 03.07 / 15:10 | 03.07 / 20:58 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Resita - Pancevo ck. 1 | RO - RS | 04.07 / 09:12 | 04.07 / 13:55 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | L 400 kV Resita - Pancevo ck.2 in functiune. L 400 kV Resita - Pancevo ck.2 in operation.
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 04.07 / 11:58 | 04.07 / 16:42 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Resita - Pancevo ck. 1 | RO - RS | 07.07 / 07:58 | 07.07 / 17:17 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | L 400 kV Resita - Pancevo ck.2 in functiune. L 400 kV Resita - Pancevo ck.2 in operation.
OHL 400 kV Resita - Pancevo ck. 2 | RO - RS | 08.07 / 08:43 | 08.07 / 13:16 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | L 400 kV Resita - Pancevo ck.1 in functiune. L 400 kV Resita - Pancevo ck.1 in operation.
OHL 400 kV Isaccea - Vulcanesti | RO - MD | 08.07 / 15:33 | 08.07 / 18:34 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 11.07 / 08:38 | 11.07 / 15:58 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 14.07 / 08:30 | 14.07 / 14:32 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 15.07 / 08:05 | 15.07 / 14:31 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 16.07 / 07:44 | 16.07 / 14:44 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Medgidia Sud - Dobrudja | RO - BG | 17.07 / 08:08 | 17.07 / 14:40 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Isaccea - Vulcanesti | RO - MD | 21.07 / 05:37 | 21.07 / 16:40 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Isaccea - Vulcanesti | RO - MD | 22.07 / 06:13 | 22.07 / 17:21 | Lucrari planificate / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Arad - Sandorfalva | RO - HU | 28.07 / 08:32 | 28.07 /15:38 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Arad - Sandorfalva | RO - HU | 29.07 / 08:23 | 29.07 /15:19 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Arad - Sandorfalva | RO - HU | 30.07 / 08:08 | 30.07 /16:07 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Arad - Sandorfalva | RO - HU | 31.07 / 08:06 | 31.07 /15:10 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
*Informations will be actualised only when changes in the schedule occur
**Ora Romaniei \ Local time

## August
Detalii ex-Post privind iesirile din functiune programate si accidentale ale liniilor de interconexiune imediat dupa aparitie
Ex-Post information regarding scheduled and emergency outages of Interconnection Power Lines with ENTSO - E neighbors
Data actualizarii\ Actualised on: 30.08.2025
Denumire linie* | Zona | Data \ Date** | Data \ Date ** | Motiv | Impact asupra ATC ATC Impact [MW] | Observatii
Line Name | Area | Inceput\ Start | Sfarsit\ Stop | Reason | Import/Export | Observations
OHL 400 kV Arad - Sandorfalva | RO - HU | 01.08 / 08:24 | 01.08 / 12:51 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Porti de Fier - Djerdap | RO - RS | 05.08 / 08:34 | 05.08 / 17:08 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Porti de Fier - Djerdap | RO - RS | 06.08 / 08:26 | 06.08 / 17:28 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Porti de Fier - Djerdap | RO - RS | 07.08 / 07:40 | 07.08 / 18:03 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Porti de Fier - Djerdap | RO - RS | 08.08 / 07:34 | 08.08 / 16:17 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati | Ambele circuite L 400 kV Tantareni - Kozloduy in functiune. Both circuit L 400 kV Tantareni - Kozloduy in operation.
OHL 400 kV Tantareni-Kozlodui ck. 1 | RO - BG | 18.08 / 05:14 | 18.08 / 23:59 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Tantareni-Kozlodui ck. 1 | RO - BG | 19.08 / 08:33 | 19.08 / 15:51 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Tantareni-Kozlodui ck. 1 | RO - BG | 20.08 / 08:22 | 20.08 / 14:51 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Tantareni-Kozlodui ck. 1 | RO - BG | 21.08 / 08:14 | 21.08 / 15:25 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Tantareni-Kozlodui ck. 1 | RO - BG | 22.08 / 09:10 | 22.08 / 13:54 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Tantareni-Kozlodui ck. 2 | RO - BG | 25.08 / 05:15 | 25.08 / 15:54 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Tantareni-Kozlodui ck. 2 | RO - BG | 26.08 / 09:27 | 28.08 / 16:19 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Tantareni-Kozlodui ck. 2 | RO - BG | 29.08 / 08:12 | 29.08 / 14:18 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
*Informations will be actualised only when changes in the schedule occur
**Ora Romaniei \ Local time

## Septembrie
Detalii ex-Post privind iesirile din functiune programate si accidentale ale liniilor de interconexiune imediat dupa aparitie
Ex-Post information regarding scheduled and emergency outages of Interconnection Power Lines with ENTSO - E neighbors
Data actualizarii\ Actualised on: 30.09.2025
Denumire linie* | Zona | Data \ Date** | Data \ Date ** | Motiv | Impact asupra ATC ATC Impact [MW] | Observatii
Line Name | Area | Inceput\ Start | Sfarsit\ Stop | Reason | Import/Export | Observations
OHL 400 kV Isaccea - Vulcanesti | RO - MD | 03.09 / 13:17 | 03.09 / 18:15 | Lucrari neplanificate / Unplanned works | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Tantareni-Kozlodui ck. 2 | RO - BG | 16.09 / 08:40 | 18.09 / 17:46 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Tantareni-Kozlodui ck. 1 | RO - BG | 24.09 / 12:15 | 24.09 / 15:14 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Medgidia Sud - Varna | RO - BG | 29.09 / 10:42 | 29.09 / 16:19 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
*Informations will be actualised only when changes in the schedule occur
**Ora Romaniei \ Local time

## Octombrie
Detalii ex-Post privind iesirile din functiune programate si accidentale ale liniilor de interconexiune imediat dupa aparitie
Ex-Post information regarding scheduled and emergency outages of Interconnection Power Lines with ENTSO - E neighbors
Data actualizarii\ Actualised on: 07.10.2025
Denumire linie* | Zona | Data \ Date** | Data \ Date ** | Motiv | Impact asupra ATC ATC Impact [MW] | Observatii
Line Name | Area | Inceput\ Start | Sfarsit\ Stop | Reason | Import/Export | Observations
OHL 400 kV Medgidia Sud - Varna | RO - BG | 01.10 / 08:18 | 01.10 / 17:04 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
OHL 400 kV Medgidia Sud - Varna | RO - BG | 06.10 / 08:42 | 06.10 / 16:26 | Lucrari planificare / Planned maintenance | http://www.transelectrica.ro/web/tel/prognoza-capacitati
*Informations will be actualised only when changes in the schedule occur
**Ora Romaniei \ Local time