Damas Transelectrica

New Damas system

Market Participant User Guide for BRPs

Damas Transelectrica

New Damas system

Market Participant User Guide for BRPs

# Revision history

| Version | Date | Change description |
| --- | --- | --- |
| 0.01 | 01.09.2023 | Initial version |

# Executive Summary

This document contains a description of the basic features and procedures for the Damas Market Management System deployed by the TSO Transelectrica in the Romanian Control Area. It aims to familiarize market participants with how to operate in the (new) Damas environment with a focus on the BRP’s agenda, specifically:

- Cross-Border Capacity Nomination

- Domestic Nominations

- Power Resource Declarations

  - Availability Declarations

  - Generation / Load Scheduling

- Settlement

For more information about the basic features of the system, refer to the “Market Participant User Guide for General Features” document.

Note that the cases below assume that the user is logged in and has sufficient user rights. If you are not registered yet in the system, refer to the “Market Participant User Guide for General Features” document. If you believe you don’t have user rights which you should have, contact a Transelectrica representative.

# Content

1. 	Revision history	3

2. 	Executive Summary	4

3. 	Content	5

4. 	Cross-Border Capacity Allocation	7

4.1 	Display Transmission Rights	7

4.1.1 	Description	7

4.1.2 	Step by step	8

5. 	Cross-Border Capacity Nomination	9

5.1 	Display cross-border schedules	9

5.1.1 	Description	9

5.1.2 	Step by step	9

5.2 	Nominate capacity rights (create a cross-border schedule)	9

5.2.1 	Description	9

5.2.2 	Step by step	10

5.3 	Display CAS Matching results	10

5.3.1 	Description	10

5.3.2 	Step by step	11

5.4 	Display cross-border balance	11

5.4.1 	Description	11

5.4.2 	Step by step	12

6. 	Internal Nominations (Domestic Scheduling)	13

6.1 	Display domestic schedule	13

6.1.1 	Description	13

6.1.2 	Step by step	13

6.2 	Create domestic schedule	13

6.2.1 	Description	13

6.2.2 	Step by step	14

6.3 	Display domestic matching detail	14

6.3.1 	Description	14

6.3.2 	Step by step	15

6.4 	Display editable intraday intervals	15

6.4.1 	Description	15

6.4.2 	Step by step	16

7. 	Power resource declarations	17

7.1 	Display resource availability	17

7.1.1 	Description	17

7.1.2 	Step by step	17

7.2 	Declare resource availability	17

7.2.1 	Description	17

7.2.2 	Step by step	18

7.3 	Display resource schedule	18

7.3.1 	Description	18

7.3.2 	Step by step	19

7.4 	Declare resource schedule	19

7.4.1 	Description	19

7.4.2 	Step by step	20

7.5 	Display BRP’s total balance	20

7.5.1 	Description	20

7.5.2 	Step by step	21

8. 	Settlement	22

8.1 	Display FCR Coefficients	22

8.1.1 	Description	22

8.1.2 	Step by step	22

8.2 	Set resource’s FCR Coefficient	22

8.2.1 	Description	22

8.2.2 	Step by step	23

8.3 	Download Settlement Report	23

8.3.1 	Description	23

8.3.2 	Step by step	24

# Cross-Border Capacity Allocation

## Display Transmission Rights

### Description

As a result of the transmission capacity allocation process organized either by TSO(s) or allocation office(s), transmission rights are created. This authorizes market participants to declare cross-border electricity transportation, (i.e. nominations).

To display transmission rights, go into the system and unpack the “Allocation Results & Rights” in the main menu, then click “Transmission Rights List”, select and confirm the filtering criteria you desire and see the detail by the detail button.

Figure 1 - Transmission Rights List screenshot from the system

Figure 2 - Transmission Rights Detail screenshot from the system

### Step by step

- In the main menu, unpack “Allocation Results & Rights”, then click the “Transmission Rights Overview”

- On the screen, select the appropriate filters.

- If you wish to display detailed values per MTU of given transmission rights, click the detail button.

# Cross-Border Capacity Nomination

## Display cross-border schedules

### Description

The cross-border schedules are the results of the nomination process of capacity rights. It is a declaration of intention to transport electricity to the target control area (inArea). If you are authorized, to display cross-border schedules, unpack the “Cross-border Scheduling” category in the main menu and then click on the “Cross-border Schedule Overview”. On the screen, you may also select filter criteria.

In case the appropriate gate is open, the existing schedules can also be updated via the pencil button.

Figure 3 - Cross-border schedules overview screenshot from the system

### Step by step

- In the main menu, unpack the “Cross-border Scheduling” category

- Click the “Cross-border Schedule Overview”

- On the screen, select the appropriate filters

## Nominate capacity rights (create a cross-border schedule)

### Description

Authorized users may nominate capacity rights in order to create a cross-border schedule (i.e. to declare an intention to transport electricity). To do this via a visual interface, go to the Cross-border schedule Overview and click “Create cross-border schedule”. A modal window will open, prompting the user to enter the parameters of the schedule. After the parameters are entered, the user clicks the “Start entering schedules” button, where he/she will be asked to enter values for each MTU of the selected delivery day. Confirm creation by clicking the “Create” button.

Figure 4 - Create cross-border schedule screenshot

### Step by step

- Go to the Cross-border schedule overview

- Click the “Create cross-border schedule” button

- Fill in the modal form and press the “Start entering schedules” button

- Fill in the time series

- Confirm by pressing the “create” button

## Display CAS Matching results

### Description

After the gate closure of the cross-border scheduling gate, the control area schedules are compared for the two bordering control areas. After the system is finished with the comparison, a matched or mismatched state is visible next to each cross-border schedule on the Cross-border schedule overview screen. Also, a button (with a magnifying glass icon), appears next to each schedule, and clicking that will display matching detail, comparing domestic and foreign schedule information.

Figure 5 - Matching detail screenshot

### Step by step

- Go to the  Cross-border schedule overview

- Click the magnifying glass icon next to each schedule

## Display cross-border balance

### Description

BRPs can see their cross-border balance on the “Cross-border Balance” screen under the “Cross-border Scheduling”. The screen can display either aggregated CB balance or balance for the selected border(s) and/or capacity contract type(s) (i.e. monthly, day-ahead etc.).

Figure 6 - Cross-border Balance screenshot

### Step by step

- Go to the “Cross-border Balance” screen under the “Cross-border Scheduling”

- Select desired filtering criteria.

# Internal Nominations (Domestic Scheduling)

## Display domestic schedule

### Description

Similarly to cross-border scheduling, in domestic scheduling, the market participants can create and display nominations, in this case within the Romania control area.

Domestic schedules can be displayed via the “Domestic Schedule Overview” screen under “Domestic Scheduling”.

In case the appropriate gate is open, the existing schedules can also be updated via the pencil button.

Figure 7 - Domestic Schedule Overview screenshot

### Step by step

- In the main menu, unpack the “Domestic Scheduling” category

- Click the “Domestic Schedules Overview”

- On the screen, select the appropriate filters

## Create domestic schedule

### Description

The domestic schedule can be created via the Domestic Schedule Overview screen when the appropriate day-ahead or intraday gate is open (note that only some MTUs in a day may be modified in case of intraday). This is indicated by the blue button on the said screen “Create new domestic schedule”, which is visible only when the gate is open.

By clicking the blue button on this screen, a new modal window “Create Domestic Schedule” will open. In that window, the user can fill in the desired parameters of the new domestic schedule, such as time interval, seller, buyer etc. After the basic attributes are filled in, the participant will press the blue button “Start entering schedules” which will allow them to enter specific values per MTU. After the confirmation, the window will either be closed and the schedule created or it will display a list of the failed business validations.

Figure 8 - Create Domestic Schedule screenshot

### Step by step

- Go to Domestic Schedule Overview.

- Click the “Create new domestic schedule” button.

- Fill in the basic attributes and press the “Start entering schedules” button.

- Fill in the values per MTU and press the “Create” button.

## Display domestic matching detail

### Description

The domestic matching detail provides information on whether the domestic schedule entered matches the domestic schedule entered by its counterpart. Unlike in cross-border scheduling, the matching in domestic scheduling is done only for a specific schedule (and its counterpart) immediately when the schedule is entered or updated.

The result of the matching can be displayed from the Domestic Schedule Overview screen by clicking the magnifying glass button next to the schedule.

Figure 9 - Domestic Schedule Matching Detail screenshot

### Step by step

- Go to Domestic Schedule Overview.

- Click the magnifying glass button next to the schedule of which the matching detail should be displayed.

## Display editable intraday intervals

### Description

Market participants can display which intraday intervals are still open for the adjustment of the domestic schedules (and also availability declarations and generation schedules). This can be seen on the “Domestic Intraday Interval Overview” screen under “Domestic Scheduling”.

Figure 10 - Domestic Intraday Interval Overview screenshot

### Step by step

- Go to the “Domestic Intraday Interval Overview” screen.

- Select the desired delivery day.

# Power resource declarations

## Display resource availability

### Description

Market Participants responsible for the power unit must provide an availability declaration of that unit. The declaration can be displayed via the “Availability Declaration Overview” screen under the “Domestic Scheduling”.

Figure 11 - Availability Declaration Overview

### Step by step

- Open the “Availability Declaration Overview” screen under the “Domestic Scheduling”

- Select desired filtering criteria.

## Declare resource availability

### Description

To declare the availability of a power unit, the participant needs to click the “Create Availability Declaration” button, which is visible on the Availability Declaration Overview screen when the appropriate gate is open. After clicking the button, a new modal window is opened, prompting the market participant to fill in the attributes of the declaration and desired values per MTU.

Figure 12 - Create Availability Declaration screenshot

### Step by step

- Go to the “Availability Declaration Overview” screen under the “Domestic Scheduling”

- Press the “Create Availability Declaration” button

- Fill in the attributes of the new declaration

- Press the “Start entering schedules declaration” button.

- Fill in values for desired MTUs and confirm by the “Create” button.

## Display resource schedule

### Description

Market participants responsible for a power unit need to declare the generation/load schedule of the unit. Already existing generation/load schedules can be seen on the “Generation Schedules Overview” screen under “Domestic Scheduling”.

Figure 13 - Generation Schedules Overview screenshot

### Step by step

- Go to “Generation Schedules Overview” under “Domestic Scheduling”

- Select desired filtering criteria

## Declare resource schedule

### Description

In order to declare the Generation/Load schedule of a power unit, the participant needs to go to the Generation Schedule Overview screen. On the screen, if the appropriate gate is open, they will see the “Create new generation schedule” button. Upon clicking it, a new modal window “Create Generation/Load Schedule” will open. There, participants need to select basic parameters of the schedule, such as time interval and units in question. Then they click on the “Start entering schedules” button, which will allow the participant to enter schedules per unit and MTU. Confirmation is done via the “Create” button.

Figure 14 - Create Generation/Load Schedule screenshot

### Step by step

- Go to the Generation Schedules Overview screen.

- Click the “Create new generation schedule” button.

- Fill in the parameters of the schedule.

- Start entering values per MTU by clicking the “Start entering schedules” button.

- Confirm by the “Create” button.

## Display BRP’s total balance

### Description

The BRPs (as well as the TSO) may want to check whether their total production/import is equal to their consumption/export. This can be easily done via the “Schedule Overview in EET” screen under “Domestic Scheduling". Participants simply need to select a desired delivery day in the filter criteria. Similarly to previous versions of the Damas system, the participants can see internal exchanges, cross-border/external exchanges and their aggregated production and consumption declared via the Generation Schedule.

Note that the cross-border schedules tend to be entered in the CET timezone, while this screen displays data in the EET timezone.

Figure 15 - Schedule Overview in EET screenshot

### Step by step

- Go to the “Schedule Overview in EET” screen under Domestic Scheduling

- Select desired filtering criteria

# Settlement

## Display FCR Coefficients

### Description

To display the FCR coefficient, the market participant will go to the “FCR Coefficient Overview” screen under Settlement. There the participant can select filtering criteria, such as the power units that should be displayed.

Figure 16 - FCR Coefficient Overview screenshot

### Step by step

- Go to the “FCR Coefficient Overview” screen under “Settlement”

- Select desired filtering criteria

## Set resource’s FCR Coefficient

### Description

To update the FCR Coefficient for a specific unit, the authorized participant needs to click the pencil button next to the power unit on the “FCR Coefficient Overview” screen. This will open a new modal window “Update FCR Coefficient” which will allow the participant to enter coefficients per MTU.

In case the FCR coefficient is not set for a given MTU by a participant, the “default” coefficient from the TEL registry will be used.

Figure 17 - Update FCR Coefficient screenshot

### Step by step

- Go to the “FCR Coefficients Overview”

- Select the desired unit(s) in the filter section

- In the timeseries table, click the pencil button next to the unit’s name

- Fill in coefficients per MTU and confirm by the “Update” button.

## Download Settlement Report

### Description

Authorized participants can download settlement report(s). To do that, go to the “Settlement” in the left main menu, then “Settlement Report Overview”. There you can select desired filtering criteria and you will see reports available for download to you.

Figure 18 - Settlement Reports Overview screenshot

### Step by step

- Go to the “Settlement” – “Settlement Report Overview” in the main menu.

- Select desired filtering criteria.

- Download the desired report by clicking on the “Download” button. Next to it.